## P-3 Berhampur
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Berhampur Circle | category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year (10/13 to 03/14) |  | First six months of the current year (04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
220/132/33kV GRID S/s Narendrapur
1 | Auto Transformer | AUTO
(i) | 160MVA Auto 1 | AUTO |  |  | 3 | 0.1625 | 8 | 0.32014 |  |  | 0.48264
(ii) | 160MVA Auto 2 | AUTO |  |  | 9 | 1899-12-31 21:13 | 11 | 0.35278 |  |  | 1900-01-01 05:41
(iii) | 100MVA Auto3 | AUTO |  |  | 12 | 0.7 | 8 | 0.23681 |  |  | 0.93681
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 1 | 22:27 | 6 | 0.14375 | 6 | 0.20069 |  |  |  | 1899-12-31 06:43
(ii) | 40 MVA Transformer-2 | POWER | 1 | 1:08 | 5 | 0.18264 | 4 | 0.16111 |  |  |  | 0.39097
(iii) | 40 MVA Transformer-1 | POWER |  |  | 7 | 0.18403 | 13 | 0.38472 |  |  |  | 0.56875
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
(i) | 220kV Theruvali-Narendrapur Ckt-1 | FEEDER |  |  | 5 | 2:24 | 8 | 3:58 | [5 empty] | 0.26528
(ii) | 220kV Theruvali-Narendrapur Ckt-2 | FEEDER |  |  | 6 | 1:45 | 7 | 2:05 | [5 empty] | 0.15972
(iii) | 220kV Narendrapur-Mendhasal Ckt-1 | FEEDER
(iv) | 220kV Narendrapur-Mendhasal Ckt-2 | FEEDER |  |  | 8 | 1:53 | [7 empty] | 0.078472
(v) | 132 kv Berhampur feeder- 1 | FEEDER | 7 | 0.39722 | 29 | 0.16875 | 9 | 0.097222 | [5 empty] | 0.66319
(vi) | 133 kv Berhampur feeder -2 | FEEDER |  |  | 4 | 0.043056 | 9 | 0.090278 | [5 empty] | 0.13333
(vii) | 132 kv Chatrapur Feeder 1 | FEEDER | 3 | 1899-12-31 00:51 | 6 | 0.063889 | 8 | 0.14514 | [5 empty] | 1899-12-31 05:52
(viii) | 132 kv chatrapur ckt -2 | FEEDER | 5 | 1899-12-31 10:45 | 8 | 0.073611 | 16 | 0.15347 | [5 empty] | 1899-12-31 16:12
(ix) | 132 kv Khurda Feeder | FEEDER | 11 | 0.41597 | 11 | 0.11736 | [7 empty] | 0.53333
(x) | 132 kv Railway Traction Feeder | FEEDER | [11 empty] | 0
132/33KV Grid S/s Berhampur
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 1 | 0:37 | 1 | 0.0069444 | 4 | 0.0875 |  |  |  | 0.12014
(ii) | 20 MVA Transformer-2 | POWER | 3 | 1:44 |  |  | 2 | 0.046528 |  |  |  | 0.11875
(iii) | 40 MVA Transformer-3 | POWER | 5 | 2:14 | 5 | 0.04375 | 4 | 0.73403 |  |  |  | 0.87083
0
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132 KV Berhampur-Digaphandi S/C line | FEEDER | 19 | 5:00 | 44 | 0.26389 | 19 | 0.12986 | [5 empty] | 0.60208
132/33KV Grid S/s Chatrapur
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 18 | 1899-12-31 11:30 | 6 | 1900-01-20 19:11 | 10 | 1899-12-31 17:32 |  |  |  | 1900-01-24 00:13
(ii) | 20 MVA Transformer-2 | POWER | 22 | 1899-12-31 22:03 | 10 | 1900-01-09 06:31 | 12 | 1899-12-31 06:43 |  |  |  | 1900-01-12 11:17
(iii) | 20 MVA Transformer-3 | POWER | 11 | 1899-12-31 01:43 | 8 | 1900-01-05 02:34 | 7 | 0.51389 |  |  |  | 1900-01-06 16:37
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132 KV IRE-1 | FEEDER | 5 | 1899-12-31 02:00 | 5 | 1900-01-23 14:30 | 9 | 0.76944 | [5 empty] | 1900-01-25 10:58
(ii) | 132 KV IRE-2 | FEEDER | 7 | 0.88333 | 3 | 1900-01-18 15:11 | 3 | 0.086111 | [5 empty] | 1900-01-19 14:27
(iii) | 132 KV Ganjam | FEEDER | 8 | 1899-12-31 18:59 | 9 | 1900-01-05 08:27 | 6 | 0.61389 | [5 empty] | 1900-01-07 18:10
(iv) | 132 KV Rambha traction | FEEDER | 5 | 1899-12-31 00:11 | 3 | 1900-01-04 13:25 | 11 | 0.20764 | [5 empty] | 1900-01-05 18:35
(v) | 132 KV Balugaon | FEEDER | 14 | 1900-01-01 09:42 | 22 | 1900-01-09 16:14 | 28 | 1899-12-31 10:55 | [5 empty] | 1900-01-13 12:51
132/33KV Grid S/s Dighapahandi
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 18 | 1899-12-31 11:30 | 2 | 2:00 | 6 | 12:49 |  |  |  | 1900-01-01 02:19
(ii) | 20 MVA Transformer-2 | POWER | 22 | 1899-12-31 22:03 | 4 | 10:49 | 7 | 4:28 |  |  |  | 1900-01-01 13:20
(iii) | 12.5 MVA Transformer-3 | POWER | 11 | 1899-12-31 01:43 | 4 | 3:02 | 1 | 1:32 |  |  |  | 1899-12-31 06:17
2 | Bus Fault | BUS |  |  |  |  | 1 | 2:35 |  |  |  |  | 0.10764
3 | EHT Feeder fault | FEEDER
(i) | 132KV Mohana Digaphandi SC line | FEEDER | 8 | 3:06 | 1 | 0:12 | 5 | 1899-12-31 13:42 | [5 empty] | 1899-12-31 17:00
132/33KV Grid S/s Ganjam
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER
(ii) | 12.5 MVA Transformer-2 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 KV JCL FEEDER | FEEDER | 2 | 4:10 | 13 | 1900-01-14 20:06 | 21 | 0.26736 | [5 empty] | 1900-01-15 06:41
132/33KV Grid S/s Balugaon
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 2 | 0:10 | 0 | 0:00 | 1 | 0:07 |  |  |  | 0.011806
(ii) | 20 MVA Transformer-2 | POWER | 2 | 0:38 | 0 | 0:00 | 0 | 0:00 |  |  |  | 0.026389
(iii) | 12.5 MVA Transformer-3 | POWER | 3 | 6:53 | 1 | 14:33 | 2 | 0:26 |  |  |  | 0.91111
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132KV Solari Traction line | FEEDER |  |  | 1 | 1:51 | 1 | 0:05 | [5 empty] | 0.080556
132/33KV Grid S/s Mohana
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER |  |  | 1 | 1899-12-31 05:00 | [5 empty] | 1899-12-31 05:00
(ii) | 12.5 MVA Transformer-2 | POWER |  |  | 1 | 1899-12-31 05:00 | [5 empty] | 1899-12-31 05:00
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
| 132KV Mohana- Akhusing line | FEEDER
132/33KV Grid S/s Purusottampur
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER |  |  | 18 | 1900-01-03 11:18 | 17 | 0.19097 | Transformer trippings are due to absence of 33 KV incoming VCB at Southco structure.Fault at their side is reflected at our end.The matter has been informed to Southco |  |  | 1900-01-03 15:53
(ii) | 12.5 MVA Transformer-2 | POWER |  |  | 5 | 0.26042 | 14 | 0.76389 |  |  |  | 1899-12-31 00:35
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
| 132 KV Purushottampur-Chatrapur feeder | FEEDER |  |  | 19 | 1900-01-03 13:02 | 14 | 1899-12-31 00:33 | [5 empty] | 1900-01-04 13:35
220/132/33kV GRID S/s Bhanjanagar
1 | Auto Transformer | AUTO
(i) | 160MVA Auto 1 | AUTO | 2 | 0.12778 | 4 | 1900-01-01 13:05 | 5 | 0.095833 |  |  | 1900-01-01 18:27
(ii) | 160MVA Auto 2 | AUTO | 1 | 0.014583 | 2 | 0.45069 | 4 | 0.12292 |  |  | 0.58819
2 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER |  |  | 5 | 0.027778 | 1 | 0.020833 |  |  |  | 0.048611
(ii) | 16 MVA Transformer-2 | POWER | 2 | 1:07 | 9 | 0.14792 | 3 | 0.13958 |  |  |  | 0.33403
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
(i) | 220 kv Bhanjanagar-Theruvali-1 | FEEDER | 16 | 0.14375 | 4 | 1900-01-03 09:57 | 16 | 0.15 | [5 empty] | 1900-01-03 17:00
(ii) | 220 kv Bhanjanagar-Theruvali-2 | FEEDER | 10 | 0.077778 | 6 | 1899-12-31 02:30 | 13 | 0.13889 | [5 empty] | 1899-12-31 07:42
(iii) | 220 kv Bhanjanagar-Meramundali-1 | FEEDER | 14 | 0.28542 | 4 | 0.68125 | 21 | 0.21319 | [5 empty] | 1899-12-31 04:19
(iv) | 220 kv Bhanjanagar-Meramundali-2 | FEEDER | 17 | 0.26667 | 3 | 0.22431 | 12 | 0.12778 | [5 empty] | 0.61875
(v) | 220 kv Bhanjanagar-Nayagarh | FEEDER | 3 | 7:10 | 1 | 0.014583 | 1 | 0.011111 | [5 empty] | 0.32431
(vi) | 220 kv Bhanjanagar-Mendhasala | FEEDER | 1 | 1899-12-31 14:06 | 0 | 0 | 3 | 0.040278 | [5 empty] | 1899-12-31 15:04
(vii) | 132 kv Bhanjanagar-Aska-1 | FEEDER | 1 | 0:16 | 3 | 0.059028 | 1 | 0.011111 | [5 empty] | 0.08125
(viii) | 132 kv Bhanjanagar-Aska-2 | FEEDER | 2 | 8:46 | 3 | 0.033333 | 2 | 0.03125 | [5 empty] | 0.42986
(ix) | 132 kv Bhanjanagar-Phulabani | FEEDER | 9 | 1899-12-31 23:12 | 3 | 1900-01-02 06:53 | 2 | 0.024306 | [5 empty] | 1900-01-04 06:40
132/33KV Grid S/s Aska
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 3 | 0:48 | 2 | 0.040972 | 7 | 0.32153 |  |  |  | 0.39583
(ii) | 40 MVA Transformer-2 | POWER | 2 | 0:35 | 5 | 0.78958 | 4 | 0.054167 |  |  |  | 0.86806
(iii) | 40 MVA Transformer-3 | POWER | 9 | 8:29 | 5 | 1899-12-31 01:33 | 6 | 1900-01-01 06:07 |  |  |  | 1900-01-02 16:09
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132kV Aska-Bhanjanagar 1 | FEEDER | 7 | 0.80486 | 3 | 0.059028 | 1 | 0.011111 | [5 empty] | 0.875
(ii) | 132kV Aska-Bhanjanagar 2 | FEEDER | 8 | 1899-12-31 05:21 | 3 | 0.033333 | 2 | 0.03125 | [5 empty] | 1899-12-31 06:54
(iii) | 132kV Aska-Purusottampur | FEEDER | [11 empty] | 0
(iv) | 132kV Aska-Chatrapur 2 | FEEDER | [11 empty] | 0
(v) | 132kV Aska- Berhampur | FEEDER | 15 | 1900-01-08 11:08 | 12 | 1900-01-31 16:40 | 4 | 0.16806 | [5 empty] | 1900-02-10 07:50
132/33KV Grid S/s Phulabani
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 4 | 4:20 | 4 | 1899-12-31 01:44 | 5 | 1899-12-31 05:35 |  |  |  | 1900-01-01 11:39
(ii) | 12.5 MVA Transformer-2 | POWER | 6 | 1899-12-31 15:46 | 1 | 0.35764 | 1 | 0.40694 |  |  |  | 1900-01-01 10:07
(iii) | 12.5 MVA Transformer-3 | POWER | 2 | 0:55 | 8 | 1899-12-31 01:04 | 9 | 1899-12-31 13:10 |  |  |  | 1900-01-01 15:09
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132kV Bhanjanagar-Phulabani SC Line | FEEDER | 9 | 0.96667 | 3 | 1900-01-02 06:53 | 2 | 0.024306 | [5 empty] | 1900-01-03 06:40
|  |  |  | 1900-02-09 08:19 |  | 1900-07-09 14:31 |  | 1900-01-20 23:07
[5 empty] | 1900-09-10 21:57 |  |  |  |  | 0 | 1900-01-06 00:19 | 1900-03-17 08:16 | 0.10764 | 1900-06-18 10:47 | 1900-09-10 21:57
Total
Formulas:
Auto Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Bus Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Duration of Trippings (Hr:Mn) = SUM(E6:[Duration of Trippings (Hr:Mn), row above])
Duration of Trippings (Hr:Mn) = SUM(G7:[Duration of Trippings (Hr:Mn), row above])
FORM P-3 = SUM(I7:[FORM P-3, row above])

## P-3 Burla
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Burla Circle | Category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year(10/13 to 03/14) |  | First six months of the current year(04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
220/132/33kV GRID S/s Budhipadar
1 | Auto Transformer | AUTO
(i) | 160MVA Auto 1 | AUTO |  |  | 02 | 0.064583 | 10 | 0.40139 |  |  | 0.46597
(ii) | 160MVA Auto 2 | AUTO |  |  | NIL | 00:00 | 04 | 0.33958 |  |  | 0.33958
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 8 | 0.16181 | 01 | 0.0027778 | 01 | 0.015972 |  |  |  | 0.18056
(ii) | 12.5 MVA Transformer-2 | POWER | 8 | 0.16111 | 01 | 0.0090278 | 02 | 0.43542 |  |  |  | 0.60556
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
(i) | 220 KV Tarkera-I | FEEDER | 8 | 0.10556 | 02 | 0.039583 | 22 | 1899-12-31 09:54 | [5 empty] | 1899-12-31 13:23
(ii) | 220 KV Tarkera-II | FEEDER | 4 | 0.068056 | 02 | 0.052778 | 12 | 1899-12-31 04:17 | [5 empty] | 1899-12-31 07:11
(iii) | 220 KV Korba-I | FEEDER | 7 | 1899-12-31 11:35 | NIL | 0 | 02 | 0.31597 | [5 empty] | 1899-12-31 19:10
(iv) | 220 KV Korba-II | FEEDER | 6 | 1899-12-31 00:46 | 05 | 0.51181 | 08 | 0.88125 | [5 empty] | 1900-01-01 10:12
(v) | 220 KV Korba-III | FEEDER | 4 | 1899-12-31 12:00 | 02 | 0.44514 | 07 | 0.83542 | [5 empty] | 1900-01-01 18:44
(vi) | 220 KV IB-I | FEEDER | 5 | 0.31667 | 03 | 0.18194 | 01 | 0.052083 | [5 empty] | 0.55069
(vii) | 220 KV IB-II | FEEDER |  |  | 02 | 0.23056 | 01 | 0.37569 | [5 empty] | 0.60625
(viii) | 220 KV IB-III | FEEDER | 4 | 1899-12-31 17:34 | 01 | 0.071528 | 03 | 1899-12-31 12:53 | [5 empty] | 1900-01-02 08:10
(ix) | 220 KV IB-IV | FEEDER | 4 | 1899-12-31 02:16 | NIL | 0 | 01 | 0.19583 | [5 empty] | 1899-12-31 06:58
(x) | 220 KV Bhushan-I | FEEDER | 2 | 0.19375 | 04 | 0.077778 | 06 | 0.75833 | [5 empty] | 1899-12-31 00:43
(xi) | 220 KV Bhushan-II | FEEDER | 2 | 0.2375 | 01 | 0.033333 | 04 | 0.61875 | [5 empty] | 0.88958
(xii) | 220 KV Katapali-I | FEEDER | 7 | 0.097917 | 07 | 0.11528 | 11 | 1900-01-01 03:03 | [5 empty] | 1900-01-01 08:10
(xiii) | 220 KV Katapali-II | FEEDER | 10 | 0.65347 | 06 | 0.085417 | 12 | 0.48681 | [5 empty] | 1899-12-31 05:25
(xiv) | 220 KV SPS-I | FEEDER |  |  | 02 | 0.085417 | 03 | 0.41667 | [5 empty] | 0.50208
(xv) | 220 KV VAL-I | FEEDER | 1 | 0.028472 | 04 | 0.1625 | 04 | 0.33889 | [5 empty] | 0.52986
(xvi) | 220 KV VAL-II | FEEDER | 4 | 0.1 | 02 | 0.05625 | 03 | 0.32847 | [5 empty] | 0.48472
(xvii) | 220 KV Basundhara | FEEDER | 2 | 1899-12-31 07:38 | 01 | 0.027778 | 02 | 0.76736 | [5 empty] | 1900-01-01 02:43
(xix) | 132 KV Tarkera-I | FEEDER | 22 | 1899-12-31 08:13 | 03 | 0.12431 | 22 | 0.53264 | [5 empty] | 1899-12-31 23:59
(xx) | 132 KV Rajgangpur | FEEDER | 37 | 0.57778 | 03 | 0.05625 | 25 | 1899-12-31 11:33 | [5 empty] | 1900-01-01 02:46
(xxi) | 132 KV Burla-I | FEEDER | 5 | 0.19444 | 02 | 0.061111 | 13 | 0.26667 | [5 empty] | 0.52222
(xxii) | 132 KV Burla-II | FEEDER | 10 | 0.66667 | 06 | 0.14097 | 09 | 0.13889 | [5 empty] | 0.94653
(xxiii) | 132 KV MCL-I | FEEDER | 9 | 0.31389 | 03 | 0.06875 | 11 | 0.86875 | [5 empty] | 1899-12-31 06:02
(xxiv) | 132 KV MCL-II | FEEDER | 7 | 1899-12-31 21:24 | 01 | 0.030556 | 05 | 0.54931 | [5 empty] | 1900-01-01 11:19
(xxv) | 132 KV Sundergarh-I | FEEDER | 1 | 0.0076389 | 09 | 0.18958 | 56 | 1899-12-31 10:01 | [5 empty] | 1899-12-31 14:45
(xxvi) | 132 KV Sundergarh-II | FEEDER |  |  | 09 | 0.18958 | 55 | 1899-12-31 09:48 | [5 empty] | 1899-12-31 14:21
(xxvii) | 132 KV Jharsuguda-I | FEEDER | 5 | 0.10417 | 02 | 0.024306 | 04 | 0.079861 | [5 empty] | 0.20833
(xxviii) | 132 KV Remja | FEEDER | 2 | 0.018056 | 03 | 0.020833 | 09 | 0.63472 | [5 empty] | 0.67361
(xxix) | 132 KV MSP | FEEDER | 1 | 0.0125 | 01 | 0.071528 | 03 | 0.41806 | [5 empty] | 0.50208
132/33KV Grid S/s Brajarajnagar
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 18 | 0.44792 | 12 | 0.78264 | 28 | 1900-01-02 17:57 |  |  |  | 1900-01-03 23:29
(ii) | 12.5 MVA Transformer-2 | POWER | 12 | 0.17847 | 18 | 1899-12-31 05:16 | 27 | 1899-12-31 07:08 |  |  |  | 1900-01-01 16:41
(iii) | 20 MVA Transformer-3 | POWER | 19 | 0.52222 | 16 | 0.97361 | 25 | 1900-01-01 17:00 |  |  |  | 1900-01-03 04:54
(iv) | 20 MVA Transformer-4 | POWER | 19 | 0.8125 | 14 | 0.80625 | 25 | 1900-01-02 08:52 |  |  |  | 1900-01-03 23:43
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33KV Grid S/s Jharsuguda
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 37 | 0.74028 | 35 | 0.76944 | 28 | 0.21111 |  |  |  | 1899-12-31 17:18
(ii) | 12.5 MVA Transformer-2 | POWER | 81 | 0.98194 | 68 | 0.86111 | 98 | 0.64375 |  |  |  | 1900-01-01 11:41
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132 KV Railway |  | 11 | 0.20139 | 8 | 0.44722 | 9 | 0.37708 | [5 empty] | 1899-12-31 00:37
(ii) | 132 KV L&T |  | 16 | 0.34653 | 12 | 0.50972 | 8 | 0.35625 | [5 empty] | 1899-12-31 05:06
132/33KV Grid S/s Rairakhol
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 6 | 0.0083333 | 04 | 0.0069444 | 08 | 0.10417 |  |  |  | 0.11944
(ii) | 12.5 MVA Transformer-2 | POWER | 4 | 0.0069444 | 10 | 0.015278 | 18 | 0.13056 |  |  |  | 0.15278
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
| 132 KV Burla-Rairakhol | FEEDER | 35 | 0.88889 | NIL | 0 | 07 | 0.11806 | [5 empty] | 1899-12-31 00:10
| 132 KV Rairakhol-Boinda | FEEDER | 15 | 0.41667 | 06 | 0.035417 | 03 | 0.054167 | [5 empty] | 0.50625
132/33KV Grid S/s Sambalpur
1 | Power Transformer | POWER
(i) | 31.5 MVA Transformer-1 | POWER | 13 | 0.25903 | 21 | 1900-01-02 20:26 | 07 | 0.57222 |  |  |  | 1900-01-03 16:23
(ii) | 31.5 MVA Transformer-2 | POWER | 7 | 0.25972 | 17 | 1899-12-31 21:41 | 07 | 0.63056 |  |  |  | 1900-01-01 19:03
(iii) | 40 MVA Transformer-3 | POWER | 9 | 1900-01-15 00:24 | 07 | 0.33819 | 07 | 0.34931 |  |  |  | 1900-01-15 16:54
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
| 132 KV Burla-Sambalpur | FEEDER | 24 | 1900-01-03 06:54 | 12 | 0.99028 | 17 | 0.38889 | [5 empty] | 1900-01-04 16:00
220/132/33kV GRID S/s Katapali
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | [8 empty] | 0
(ii) | 100MVA Auto 2 | AUTO | 1 | 0.010417 | [6 empty] | 0.010417
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 1 | 0.055556 | 03 | 0.040278 | [5 empty] | 0.095833
(ii) | 20 MVA Transformer-2 | POWER | 1 | 0.0083333 | 03 | 0.027778 | [5 empty] | 0.036111
(iii) | 40 MVA Transformer-3 | POWER
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
(i) | 220 KV Budhipadar- Burla- I | FEEDER | 14 | 0.77083 | 03 | 0.056944 | 02 | 0.024306 | [5 empty] | 0.85208
(ii) | 220 KV Budhipadar- Burla-II | FEEDER | 9 | 0.73681 | 03 | 0.050694 | 02 | 0.017361 | [5 empty] | 0.80486
(iii) | 220 KV New Bolangir I | FEEDER | 9 | 1899-12-31 13:33 | 04 | 0.43472 | 03 | 0.13194 | [5 empty] | 1900-01-01 03:09
(iv) | 220 KV New Bolangir II | FEEDER | 11 | 1900-01-01 00:40 | 02 | 0.038889 | 03 | 0.086806 | [5 empty] | 1900-01-01 03:41
(v) | 132 KV Bargarh | FEEDER | 5 | 0.62292 | 03 | 0.21319 | 02 | 0.025694 | [5 empty] | 0.86181
(vi) | 132 KV Chiplima | FEEDER | 5 | 0.55556 | 03 | 0.27431 | 03 | 0.15625 | [5 empty] | 0.98611
(vii) | 132 KV Bolangir | FEEDER
(viii) | 132 KV Burla Power house | FEEDER | 10 | 0.41667 | 04 | 0.20625 | 01 | 0.095833 | [5 empty] | 0.71875
(ix) | 132 KV Rairakhol | FEEDER | 12 | 1900-01-02 18:11 | 07 | 1899-12-31 16:12 | 05 | 0.42917 | [5 empty] | 1900-01-04 20:41
132/33/25kv S/S, Rourkela
1 | Power Transformer | POWER
(i) | 35MVA 132/33kv Transformer No-I | POWER | 9 | 0.99444 | 13 | 1899-12-31 01:37 | 10 | 0.16111 |  |  |  | 1900-01-01 05:21
(ii) | 35MVA 132/33kv Transformer No-II | POWER | 19 | 1899-12-31 07:10 | 18 | 0.59444 | 11 | 0.18125 |  |  |  | 1900-01-01 01:47
(iii) | 35MVA 132/33kv Transformer No-III | POWER | 14 | 0.41319 | 14 | 0.52222 | 13 | 0.14722 |  |  |  | 1899-12-31 01:59
(iv) | 35MVA 132/33kv Transformer No-IV | POWER | 20 | 1900-01-01 19:20 | 16 | 0.37361 | 16 | 0.16528 |  |  |  | 1900-01-02 08:16
(v) | 12.5MVA 132/25kv Rly Traction | POWER | 215 | 1900-01-08 17:26 | 113 | 0.36389 | 66 | 1899-12-31 09:08 |  |  |  | 1900-01-10 11:18
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kv Rourkela-Tarkera ckt-I | FEEDER | 13 | 0.28889 | 8 | 0.24097 | 9 | 0.083333 |  |  |  | 0.61319
(ii) | 132kv Rourkela-Tarkera ckt-II | FEEDER | 3 | 0.49514 | 6 | 0.22292 | 4 | 0.14306 |  |  |  | 0.86111
(iii) | 132kv Rourkela-Tarkera ckt-III | FEEDER | 4 | 0.28889 | 13 | 1899-12-31 01:37 | 13 | 1899-12-31 01:37 |  |  |  | 1900-01-01 10:10
(iv) | 132kv Rourkela-Joda (Nalda) feeder | FEEDER | 6 | 0.058333 | 5 | 0.27083 | 5 | 0.06875 |  |  |  | 0.39792
(v) | 132kv Goelkera feeder | FEEDER
132/33kv Grid S/S, Chhend
1 | Power Transformer | POWER
(i) | 40MVA Power Transformer No-I | POWER |  |  | 10 | 0.83542 | 7 | 0.18542 |  |  |  | 1899-12-31 00:30
(ii) | 40MVA Power Transformer No-II | POWER |  |  | 11 | 1899-12-31 04:03 | 5 | 0.0625 |  |  |  | 1899-12-31 05:33
(iii) | 40MVA Power Transformer No-III | POWER |  |  | 14 | 1899-12-31 11:57 | 5 | 0.12639 |  |  |  | 1899-12-31 14:59
2 | Bus Fault | BUS |  |  |  |  | 1 | 0.027083 |  |  |  |  | 0.027083
3 | EHT Feeder Fault | FEEDER
(i) | 132kv Chhend-Tarkera ckt-I | FEEDER | 10 | 0.2 | 2 | 0.034028 | 6 | 0.20486 | [5 empty] | 10:32
(ii) | 132kv Chhend-Tarkera ckt-II | FEEDER | 31 | 0.54861 | 3 | 0.042361 | 6 | 0.045833 | [5 empty] | 15:17
(iii) | 132kv Adhunik Metallik | FEEDER | 4 | 0.070833 | 2 | 0.0375 | 5 | 0.15694 | [5 empty] | 6:22
(iv) | 132kv Nuagaon Traction | FEEDER | 9 | 0.11181 | 2 | 0.029167 | 5 | 0.085417 | [5 empty] | 5:26
220/33kv Grid S/S Barkote
1 | Power Transformer | POWER
(i) | 40MVA Power Transformer No-I | POWER | 1 | 0.036111 | 2 | 0.15486 | 3 | 0.064583 |  |  |  | 0.25556
(ii) | 20MVA Power Transformer No-II | POWER | 2 | 0.44028 | 3 | 0.023611 | 2 | 0.030556 |  |  |  | 0.49444
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 220kv Barkote-Rengali feeder | FEEDER | 1 | 0.020833 | [9 empty] | 0.020833
(ii) | 220kv Barkote-Tarkera feeder | FEEDER | 4 | 0.40764 | 2 | 0.0375 | [7 empty] | 0.44514
132/33kv Grid S/S, Sundargarh
1 | Power Transformer | POWER
(i) | 40MVA Power Transformer No-I | POWER |  |  | 8 | 0.025 | 6 | 0.043056 |  |  |  | 0.068056
(ii) | 20MVA Power Transformer No-II | POWER |  |  | 10 | 0.030556 | 7 | 0.047917 |  |  |  | 0.078472
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | Budhipadar Ckt-I | FEEDER | 4 | 0.40972 | 0 | 0 | 6 | 0.17014 | [5 empty] | 0.57986
(ii) | Budhipadar Ckt-II | FEEDER | 4 | 0.40972 | 1 | 0.35625 | 0 | 0 | [5 empty] | 0.76597
220/132kv Grid S/S Tarkera
1 | Auto Transformer | AUTO
(i) | 100MVA Auto Transformer No-I | AUTO | 1 | 0.46528 |  |  | 1 | 1899-12-31 04:15 |  |  | 1899-12-31 15:25
(ii) | 100MVA Auto Transformer No-II | AUTO | 2 | 0.023611 | 1 | 0.0076389 | 2 | 0.045833 |  |  | 0.077083
(iii) | 100MVA Auto Transformer No-III | AUTO | 1 | 0.0125 | [6 empty] | 0.0125
(iv) | 100MVA Auto Transformer No-IV | AUTO | 1 | 0.0625 | 1 | 0.049306 | 1 | 1900-01-02 15:09 |  |  | 1900-01-02 17:50
2 | Bus Fault | BUS | [10 empty] | 0
3 | EHT Feeder Fault | FEEDER
(i) | 220kv Budhipadar-I | FEEDER | 9 | 1899-12-31 01:47 | 1 | 0.011806 | 12 | 1899-12-31 13:41 | [5 empty] | 1900-01-01 15:45
(ii) | 220kv Budhipadar-II | FEEDER | 7 | 0.06875 | 1 | 0.0020833 | 8 | 0.18958 | [5 empty] | 0.26042
(iii) | 220kv Rengali-I | FEEDER | 2 | 0.40972 |  |  | 2 | 0.017361 | [5 empty] | 0.42708
(iv) | 220kv Rengali-II | FEEDER |  |  |  |  | 12 | 0.078472 | [5 empty] | 0.078472
(v) | 220kv RSP-I | FEEDER | 3 | 0.015278 |  |  | 2 | 0.014583 | [5 empty] | 0.029861
(vi) | 220kv RSP-II | FEEDER | 4 | 0.11806 | [9 empty] | 0.11806
(vii) | 220kv PGCIL-I | FEEDER | 1 | 0.058333 | [9 empty] | 0.058333
(viii) | 220kv PGCIL-II | FEEDER | 1 | 0.083333 |  |  | 1 | 0.016667 | [5 empty] | 0.1
(ix) | 132kv Rajgangpur-I | FEEDER | 38 | 0.99931 | 1 | 0.0027778 | 21 | 0.12431 | [5 empty] | 1899-12-31 03:02
(x) | 132kv Rajgangpur-II | FEEDER | 24 | 0.20556 | 8 | 0.10139 | 25 | 0.25556 | [5 empty] | 0.5625
(xi) | 132kv Rourkela-I | FEEDER | 0 | 0:0 | 4 | 0.19167 | [7 empty] | 0.19167
(xii) | 132kv Rourkela-II | FEEDER | 2 | 0.90347 | 4 | 0.27292 | 3 | 0.029167 | [5 empty] | 1899-12-31 04:56
(xiii) | 133kv Rourkela-III | FEEDER | 1 | 0.025 | 5 | 0.23056 | 2 | 0.078472 | [5 empty] | 0.33403
(xiv) | 132kv Budhipadar | FEEDER
(xv) | 132kv Chhend-I | FEEDER | 1 | 0.0090278 |  |  | 3 | 0.031944 | [5 empty] | 0.040972
(xvi) | 132kv Chhend-II | FEEDER | 3 | 0.017361 |  |  | 5 | 0.0375 | [5 empty] | 0.054861
(xvii) | 132kv RSP-I | FEEDER | 1 | 0.011806 | [9 empty] | 0.011806
(xviii) | 132kv RSP-II | FEEDER
(xix) | 132kv RSP-III | FEEDER
132/33kv Grid S/S, Rajgangpur
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 7 | 0.1625 | 12 | 0.05625 | 8 | 0.11181 |  |  |  | 0.33056
(ii) | 40 MVA Transformer-2 | POWER | 7 | 0.15486 | 12 | 0.070139 | 6 | 0.14792 |  |  |  | 0.37292
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kv Rajgangpur-Aryan Ispat ckt-III | FEEDER | 38 | 0.69375 | 6 | 0.025694 | 17 | 0.24306 | [5 empty] | 0.9625
(ii) | 132kv Rajgangpur-Tarkera ckt-I | FEEDER | 46 | 0.32639 | 6 | 0.036111 | 26 | 0.32639 | [5 empty] | 0.68889
(iii) | 132kv OCL | FEEDER | 26 | 0.31111 | 1 | 0.00625 | 11 | 0.39028 | [5 empty] | 0.70764
(iv) | 132kv Rajgangpur Traction-I | FEEDER | 6 | 0.055556 | 5 | 0.011806 | 0 | 0 | [5 empty] | 0.067361
(v) | 132kv Rajgangpur Traction-II | FEEDER | 4 | 0.01875 | 0 | 0 | 0 | 0 | [5 empty] | 0.01875
(vi) | 132kv Rajgangpur-Tarkera ckt-II | FEEDER | 28 | 1899-12-31 10:34 | 4 | 0.033333 | 12 | 0.48472 | [5 empty] | 1899-12-31 23:00
(vii) | 132kv Rajgangpur-Budhipadar | FEEDER | 37 | 1899-12-31 09:56 | 1 | 0.014583 | 26 | 1899-12-31 06:19 | [5 empty] | 1900-01-01 16:36
132/33KV Grid S/s Baragrh
1 | Power Transformer | POWER
(i) | 40MVA Transformer 1 | POWER | 4 | 0.059028 | 1 | 0.0055556 | [5 empty] | 0.064583
(ii) | 40MVA Transformer 2 | POWER | 3 | 0.018056 | [7 empty] | 0.018056
(iii) | 40MVA Transformer 3 | POWER | 1 | 0.014583 | [7 empty] | 0.014583
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kV Katapalli - Bargarh | FEEDER | 8 | 0.084028 | 20 | 0.25 | 21 | 0.375 | [5 empty] | 0.70903
(ii) | 132 kV Bargarh - ACC-I | FEEDER | 2 | 0.055556 | 3 | 0.058333 | 2 | 0.058333 | [5 empty] | 0.17222
(iii) | 132 kV Bargarh - ACC-II | FEEDER | 2 | 0.055556 | 2 | 0.054167 | 2 | 0.054167 | [5 empty] | 0.16389
132/33kV Grid S/S, Bolangir
1 | Power Transformer | POWER
(i) | 40 MVA Transformer 1 | POWER | 6 | 0.059028 | 1 | 0.0625 | 1 | 0.016667 |  |  |  | 0.13819
(ii) | 40 MVA Transformer 2 | POWER | 6 | 0.059028 | 0 | 0 | 1 | 0.016667 |  |  |  | 0.075694
(iii) | 12.5 MVA Transformer 3 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kV Bolangir new - Bolangir | FEEDER | 6 | 0.043056 | 6 | 0 | 5 | 0.125 | [5 empty] | 0.16806
(ii) | 132 kV Bolangir - Saintala | FEEDER | 7 | 0.076389 | 7 | 0.0875 | 4 | 0.0875 | [5 empty] | 0.25139
(iii) | 132 kV Bolangir new - Bolangir | FEEDER | 6 | 0.0625 | 4 | 0.11667 | 4 | 0.10833 | [5 empty] | 0.2875
132/33kV Grid S/S, Patnagarh
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer 1 | POWER | 3 | 0.017361 | 1 | 0.036111 | 1 | 0.016667 |  |  |  | 0.070139
(ii) | 20 MVA Transformer 2 | POWER | 3 | 0.017361 | 1 | 0.036111 | 1 | 0.016667 |  |  |  | 0.070139
(iii) | 12.5 MVA Transformer 3 | POWER | 3 | 0.013889 | 1 | 0.25 | 3 | 0.05 |  |  |  | 0.31389
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kV Bolangir new – Patnagarh | FEEDER
|  |  | 6 | 0.086111 | 10 | 0.2 | 12 | 0.35 | [5 empty] | 0.63611
132/33kV Grid S/S, Sonepur
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer 1 | POWER | 12 | 0.058333 | 1 | 0.043056 | 2 | 0.058333 |  |  |  | 0.15972
(ii) | 20 MVA Transformer 2 | POWER | 13 | 0.058333 | 4 | 0.043056 | 2 | 0.061111 |  |  |  | 0.1625
(iii) | 20 MVA Transformer 3 | POWER | 12 | 0.058333 | 2 | 0.043056 | 2 | 0.058333 |  |  |  | 0.15972
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kB Bolangir – Sonepur | FEEDER |  |  | 10 | 0.16736 | 9 | 0.16736 | [5 empty] | 0.33472
132/33kV Grid S/S, Barapalli
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer 1 | POWER | 1 | 0.020833 | [7 empty] | 0.020833
(ii) | 12.5 MVA Transformer 2 | POWER | 1 | 0.020833 | [7 empty] | 0.020833
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kv Bolangir New- Barapalli | FEEDER |  |  | 4 | 0.10417 | 5 | 0.38333 | [5 empty] | 0.4875
(ii) | 132kv Baragrh-Barpali | FEEDER |  |  | 4 | 0.1375 | 3 | 0.35 | [5 empty] | 0.4875
220/132kv Grid S/S New Bolangir
1 | Auto Transformer | AUTO
(i) | 100MVA Auto Transformer No-I | AUTO | 1 | 0.036111 | 1 | 0.039583 | 2 | 0.043056 |  |  | 0.11875
(ii) | 100MVA Auto Transformer No-II | AUTO | 1 | 0.036111 | 1 | 0.039583 | 2 | 0.20903 |  |  | 0.28472
2 | Power Transformer | POWER
(i) | 12.5 MVA Transformer 1 | POWER
3 | Bus Fault | BUS | [10 empty] | 0
3 | EHT Feeder Fault | FEEDER
| 220KV Katapali-Boalngir new ckt-I | FEEDER | 6 | 0.055556 | 7 | 0.125 | 8 | 0.8375 | [5 empty] | 1899-12-31 00:26
| 220KV Katapali-Boalngir new ckt-II | FEEDER | 6 | 0.055556 | 8 | 0.16667 | 9 | 0.8375 | [5 empty] | 1899-12-31 01:26
|  |  |  | 1900-03-21 14:26 |  | 1900-01-30 22:43 |  | 1900-02-24 20:03 |  | 0 | 1900-01-05 16:40 | 1900-03-17 16:49 | 0.027083 | 1900-03-25 23:04 | 1900-06-18 09:12
Total
1900-06-18 09:12
Formulas:
Auto Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Auto Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Bus Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Bus Fault = [Duration of Trippings (Hr:Mn)]
Duration of Trippings (Hr:Mn) = SUM(E6:[Duration of Trippings (Hr:Mn), row above])
Duration of Trippings (Hr:Mn) = SUM(G6:[Duration of Trippings (Hr:Mn), row above])
FORM P-3 = SUM(I6:[FORM P-3, row above])

## P-3Chainpal
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Chainpal Circle | Category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year (10/13 to 03/14) |  | First six months of the current year (04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
132/33kV GRID S/s CHAINPAL
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 2 | 0.13542 |  |  | 2 | 1899-12-31 03:41 |  |  |  | 1899-12-31 06:56
(ii) | 40 MVA Transformer-2 | POWER | 5 | 0.11736 | 1 | 0:49 | 2 | 1:05 |  |  |  | 0.19653
(iii) | 20 MVA Transformer-3 | POWER |  |  |  |  | 3 | 1:34 |  |  |  | 0.065278
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kV TTPS - Chainpal - I | FEEDER | 1 | 0.011111 | [9 empty] | 0.011111
(ii) | 132 kV TTPS - Chainpal - II | FEEDER | 1 | 0.015278 | [9 empty] | 0.015278
(iii) | 132 kV Chainpal - Angul | FEEDER | 4 | 0.022917 | 3 | 0:20 | 5 | 0:41 | [5 empty] | 0.065278
(iv) | 132 kV Chainpal - Meramundali -I | FEEDER |  |  | 3 | 0:28 | [7 empty] | 0.019444
(v) | 133 kV Chainpal - Meramundali -II | FEEDER | [11 empty] | 0
(vi) | 132 kV Chainpal - FCI | FEEDER | 2 | 0.019444 | [9 empty] | 0.019444
132/33KV Grid S/s Angul
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER |  |  |  |  | 2 | 0.055556 |  |  |  | 0.055556
(ii) | 40 MVA Transformer-2 | POWER | [9 empty] | 0
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER | 10 | 0.075694 | 13 | 0.13681 | 16 | 0.32847 | [5 empty] | 0.54097
132/33KV Grid S/s Boinda
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 12 | 17:27 | 5 | 1:26 | [5 empty] | 0.78681
(ii) | 12.5 MVA Transformer-2 | POWER | 8 | 13:55 | 5 | 19:01 | [5 empty] | 1899-12-31 08:56
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132KV Boinda-Angul | FEEDER | 5 | 0:55 |  |  | 1 | 0:05 | [5 empty] | 0.041667
(ii) | 132KV Boinda-Rirakhol | FEEDER | 17 | 1899-12-31 15:17 | 4 | 1900-01-01 08:29 | 10 | 18:17 | [5 empty] | 1900-01-03 18:03
132/33KV Grid S/s KamakhyaNagar
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 6 | 20:39 | 5 | 14:45 | 3 | 9:00 |  |  |  | 1899-12-31 20:24
(ii) | 12.5 MVA Transformer-2 | POWER | 1 | 4:28 | 5 | 1899-12-31 00:40 | 3 | 0.92014 |  |  |  | 1900-01-01 03:13
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kV TTPS - Kamakhyanagar | FEEDER | 12 | 11:21 | 1 | 1899-12-31 08:14 | 2 | 0:25 | [5 empty] | 1899-12-31 20:00
(ii) | 132kV Kamakhyanagar - Duburi | FEEDER | 8 | 3:52 | 2 | 10:55 | 6 | 13:03 | [5 empty] | 1899-12-31 03:50
| 132KV Switching station, KharagPrasad | FEEDER
1 | EHT Feeder Fault | FEEDER
(i) | 132KV NBVL-I | FEEDER | 21 | 4:29 | 4 | 0.065278 | 3 | 0.024306 | [5 empty] | 0.27639
(ii) | 132KV NBVL-II | FEEDER | 33 | 4:40 | 4 | 0.065972 | 3 | 0.025 | [5 empty] | 0.28542
(iii) | 132KV MRDL-I | FEEDER | 7 | 1:40 | 3 | 0.96528 | 1 | 0.026389 | [5 empty] | 1899-12-31 01:28
(iv) | 132KV MRDL-II | FEEDER | 5 | 1:27 | 4 | 0.063194 | 2 | 0.019444 | [5 empty] | 0.14306
(v) | 132KV MRDL-RTSS | FEEDER | 6 | 1:28 | 10 | 0.039583 | 4 | 0.039583 | [5 empty] | 0.14028
(vi) | 132KV HMIL | FEEDER
(vii) | 132KV SMPL | FEEDER
(viii) | 132KV SGEL | FEEDER
400/220/132kV Grid S/S, Meramundali
1 | ICT | ICT
(i) | 315 MVA ICT-1 | ICT | 8 | 0.34583 | 2 | 1900-01-01 13:04 | 1 | 0.039583 |  | 1900-01-01 22:19
(ii) | 315 MVA ICT-2 | ICT | 5 | 0.13611 | 3 | 0.06875 | 3 | 0.12639 |  | 0.33125
2 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | 1 | 0:33 | 2 | 0.022917 | 2 | 0.63889 |  |  | 16:26
(ii) | 100MVA Auto 2 | AUTO | 1 | 0:41 | 2 | 0.025694 | 3 | 1899-12-31 01:32 |  |  | 26:50
(iii) | 100MVA Auto 3 | AUTO |  |  | 2 | 0.16389 | 5 | 0.078472 |  |  | 5:49
(iv) | Station Trf. (132/33 KV, 12.5MVA) | POWER
3 | EHT Feeder Fault | FEEDER
(i) | 400 KV Angul | FEEDER | 18 | 1899-12-31 05:27 | 10 | 1899-12-31 20:38 | 4 | 0.21597 | [5 empty] | 1900-01-02 07:16
(ii) | 400 KV Mendhasal | FEEDER | 18 | 1899-12-31 09:22 | 8 | 0.17639 | 12 | 1899-12-31 17:25 | [5 empty] | 1900-01-02 07:01
(iii) | 400 KV GMR (RSTPS I) | FEEDER | 11 | 14:35 | 1 | 0.020833 | 1 | 0.37014 | [5 empty] | 0.99861
(iv) | 400 KV RSTPS II | FEEDER | 6 | 0.18542 | 1 | 1899-12-31 15:18 | 2 | 0.079861 | [5 empty] | 1899-12-31 21:40
(v) | 400 KV JSPL I | FEEDER | 6 | 0.65347 | 4 | 0.15347 | [7 empty] | 0.80694
(vi) | 400 KV JSPL II | FEEDER | 3 | 10:31 | 4 | 1900-01-02 15:16 | 1 | 0.044444 | [5 empty] | 1900-01-03 02:51
(vii) | 220 KV Kaniha FDR I | FEEDER | 9 | 4:23 | 2 | 0.054861 | [7 empty] | 0.2375
(viii) | 220 KV Kaniha FDR II | FEEDER | 6 | 4:17 | 2 | 0.054861 | 4 | 0.58333 | [5 empty] | 0.81667
(ix) | 220 KV TTPS FDR I | FEEDER | 5 | 2:31 |  |  | 3 | 0.10972 | [5 empty] | 0.21458
(x) | 220 KV TTPS FDR II | FEEDER | 3 | 3:19 |  |  | 3 | 0.10972 | [5 empty] | 0.24792
(xi) | 220 KV NALCO FDR I | FEEDER | 1 | 1:29 | [9 empty] | 0.061806
(xii) | 220 KV NALCO FDR II | FEEDER | 1 | 0:59 | [9 empty] | 0.040972
(xiii) | 220 KV BSL FDR I | FEEDER | 9 | 4:53 | 1 | 0.0055556 | 1 | 0.0076389 | [5 empty] | 0.21667
(xiv) | 220 KV BSL FDR II | FEEDER | 10 | 6:21 | 1 | 0.0055556 | 2 | 0.0076389 | [5 empty] | 0.27778
(xv) | 220 KV Bhanjanagar FDR I | FEEDER | 32 | 9:47 | 2 | 0.08125 | 1 | 0.00625 | [5 empty] | 0.49514
(xvi) | 220 KV Bhanjanagar FDR II | FEEDER | 14 | 14:12 | 2 | 0.75139 | 1 | 0.00625 | [5 empty] | 1899-12-31 08:23
(xvii) | 220 KV Bidanasi FDR | FEEDER | 3 | 8:47 | 1 | 0.0048611 | 2 | 0.051389 | [5 empty] | 0.42222
(xviii) | 220 KV Duburi FDR I | FEEDER | 11 | 35:13 | 1 | 0.0027778 | 5 | 0.0625 | [5 empty] | 1899-12-31 12:47
(xix) | 220 KV Duburi FDR II | FEEDER | 7 | 2:36 | 1 | 0.0027778 | 7 | 0.067361 | [5 empty] | 0.17847
(xx) | 132 KV BRG FDR | FEEDER | 2 | 0:18 |  |  | 3 | 0.23056 | [5 empty] | 0.24306
(xxi) | 132 KV OPTCL S/S FDR I | FEEDER | 2 | 0:16 |  |  | 1 | 0.010417 | [5 empty] | 0.021528
(xxii) | 133 KV OPTCL S/S FDR II | FEEDER | 1 | 1:00 |  |  | 1 | 0.010417 | [5 empty] | 0.052083
(xxiii) | 132 KV Aarti FDR | FEEDER | 19 | 1899-12-31 05:04 | 7 | 0.45208 | 13 | 0.63542 | [5 empty] | 1900-01-01 07:10
(xxiv) | 132 KV Dhenkanal FDR | FEEDER | 6 | 17:54 | 4 | 0.55833 | 4 | 0.020833 | [5 empty] | 1899-12-31 07:48
(xxv) | 132 KV MLR FDR | FEEDER |  |  |  |  | 1 | 0.010417 | [5 empty] | 0.010417
132/33KV Grid s/s Dhenkanal
1 | Power Transformer | POWER
(i) | 40MVA Transformer 1 | POWER | 20 | 6:08 | 9 | 0.14167 | 6 | 0.047222 |  |  |  | 0.44444
(ii) | 40MVA Transformer 2 | POWER | 16 | 20:23 | 7 | 1899-12-31 03:49 | 5 | 0.025694 |  |  |  | 1900-01-01 00:49
(iii) | 40MVA Transformer 3 | POWER | 11 | 7:14 | 5 | 1900-01-03 09:11 | 7 | 0.090278 |  |  |  | 1900-01-03 18:35
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132KV DKL-MRDL | FEEDER | 19 | 1899-12-31 15:06 | 6 | 0.71111 | 4 | 0.028472 | [5 empty] | 1900-01-01 08:51
(ii) | 132KV DKL-ICCL | FEEDER | 24 | 1899-12-31 09:55 | 10 | 0.34028 | 3 | 0.65 | [5 empty] | 1900-01-01 09:41
(iii) | 132KV DKL-RLY | FEEDER | 18 | 21:03 | 12 | 0.35694 | 4 | 0.046528 | [5 empty] | 1899-12-31 06:44
220/33kV Grid S/s, Rengali
1 | Power Transformer | POWER
(i) | 20 MVA Transformer 1 | POWER |  |  | 5 | 0.04375 | 4 | 1:15 |  |  |  | 0.095833
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
|  |  | 4 | 1900-01-01 08:57 | 18 | 1900-01-01 23:08 | 34 | 1900-01-01 21:49 | [5 empty] | 1900-01-07 05:54
|  |  |  | 1900-01-23 12:06 |  | 1900-01-29 10:23 |  | 1900-01-13 14:17 | Total | 1900-01-02 06:16 | 1900-01-01 01:05 | 1900-01-14 02:21 | 0 | 1900-02-17 03:04 | 1900-03-09 12:46
[10 empty] | ICT | AUTO | POWER TRF |  | Feeder Fault
1900-03-09 12:46
Formulas:
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
ICT = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]

## P-3 Cuttack
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Cuttack Circle | Category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year (10/13 to 03/14) |  | First six months of the current year (04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
220/132/33kV GRID S/s Chandaka
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | [8 empty] | 0
(ii) | 160MVA Auto 2 | AUTO
(iii) | 100MVA Auto 3 | AUTO
(iv) | 100MVA Auto 4 | AUTO |  |  | 1 | 1:15 | 1 | 0:17 |  |  | 1:32
2 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 2 | 0.13542 | 2 | 0:06 | 4 | 0:35 |  |  |  | 0.16389
(ii) | 63 MVA Transformer-2 | POWER | 5 | 0.11736 | 2 | 0:07 | 4 | 0:20 |  |  |  | 0.13611
(iii) | 63 MVA Transformer-3 | POWER |  |  | 5 | 0:36 | 14 | 1:35 |  |  |  | 0.090972
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Bhubaneswar
1 | Power Transformer | POWER
(i) | 63 MVA Transformer-1 | POWER |  |  |  |  | 1 | 0:15 |  |  |  | 0.010417
(ii) | 63 MVA Transformer-2 | POWER |  |  | 1 | 0:35 | 1 | 0:30 |  |  |  | 0.045139
(iii) | 63 MVA Transformer-3 | POWER |  |  | 1 | 0:35 | 1 | 0:19 |  |  |  | 0.0375
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33KV Grid S/s Khurda
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER
(ii) | 40 MVA Transformer-2 | POWER
(iii) | 40 MVA Transformer-3 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER | [11 empty] | 0
132/33KV Grid S/s Puri
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 4 | 0:29 | 2 | 9:18 | 1 | 0:12 |  |  |  | 0.41597
(ii) | 31.5 MVA Transformer-2 | POWER | 4 | 0:29 | 2 | 0:14 | 1 | 0:12 |  |  |  | 0.038194
(iii) | 31.5 MVA Transformer-3 | POWER | 4 | 0:29 | 4 | 6:27 | 2 | 0:46 |  |  |  | 0.32083
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Nimapara
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER |  |  | 1 | 0:15 | 1 | 0:04 |  |  |  | 0.013194
(ii) | 40 MVA Transformer-2 | POWER |  |  | 1 | 0:25 | [5 empty] | 0.017361
(iii) | 12.5 MVA Transformer-3 | POWER |  |  | 1 | 0:21 | [5 empty] | 0.014583
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER | 1 | 0:13 |  |  | 1 | 0:13 | [5 empty] | 0.018056
132/33KV Grid S/s Ranasinghpur
1 | Power Transformer | POWER
(i) | 63 MVA Transformer-1 | POWER |  |  | 4 | 1:03 | 4 | 0:33 |  |  |  | 0.066667
(ii) | 63 MVA Transformer-2 | POWER |  |  |  |  | 2 | 0:30 |  |  |  | 0.020833
(iii) | 40 MVA Transformer-3 | POWER |  |  | 4 | 0:30 | [5 empty] | 0.020833
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
220/33KV Grid S/s Nayagarh
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 1 | 16:14 | 18 | 1900-01-01 02:58 | 9 | 0.0875 |  |  |  | 1900-01-01 21:18
(ii) | 20 MVA Transformer-2 | POWER |  |  | 12 | 1900-01-02 22:01 | 12 | 0.30278 |  |  |  | 1900-01-03 05:17
(iii) | 20 MVA Transformer-3 | POWER | 1 | 3:52 | 18 | 1900-01-01 04:52 | 28 | 1899-12-31 17:15 |  |  |  | 1900-01-03 01:59
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(viii) | 220 KV Kaniha FDR II | FEEDER
132/33KV Grid S/s Kesura
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 15 | 1:35 | 14 | 1:04 | 9 | 0:45 |  |  |  | 0.14167
(ii) | 63 MVA Transformer-2 | POWER | 7 | 1:15 | 4 | 0:35 | 1 | 0:08 |  |  |  | 0.081944
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
400/220 KV Grid S/s Mendhasal
1 | ICT | ICT
(i) | 315 MVA ICT-1 | ICT | 1 | 1:11 | 1 | 1899-12-31 21:09 | 2 | 1900-01-03 03:54 |  | 1900-01-05 02:14
(ii) | 315 MVA ICT-2 | ICT | 1 | 1:11 | 1 | 1900-01-01 00:09 | 2 | 1900-01-03 03:54 |  | 1900-01-05 05:14
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER |  |  |  |  | 16 | 1900-01-06 14:05 |  |  |  | 1900-01-06 14:05
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
220/132/33kV GRID S/s Bidanasi
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | 1 | 0:14 | 1 | 0.0097222 | 3 | 1900-01-01 11:28 | Higher duration failure due to OSR Relay |  | 1900-01-01 11:56
(ii) | 100MVA Auto 2 | AUTO | 1 | 0:14 | 3 | 0.49861 | 2 | 0.125 |  |  | 0.63333
(iii) | 160MVA Auto 3 | AUTO |  |  | 3 | 0.027778 | 2 | 0.010417 |  |  | 0.038194
2 | Power Transformer | POWER
(i) | 63 MVA Transformer-1 | POWER |  |  |  |  | 2 | 0.0083333 |  |  |  | 0.0083333
(ii) | 63 MVA Transformer-2 | POWER | 1 | 1:59 |  |  | 3 | 0.013889 |  |  |  | 0.096528
(iii) | 40 MVA Transformer-3 | POWER |  |  |  |  | 2 | 0.0083333 |  |  |  | 0.0083333
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER | 9 | 3:49 | 19 | 0.5375 | 11 | 0.079167 | [5 empty] | 18:37
132/33KV Grid S/s Pattamundai
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 1 | 0:05 | 1 | 0.011111 | Nil |  |  |  |  | 0.014583
(ii) | 20 MVA Transformer-2 | POWER | 2 | 0:10 | 1 | 0.03125 | 2 | 0.013889 |  |  |  | 0.052083
(iii) | 12.5 MVA Transformer-3 | POWER | 17 | 1:25 | 2 | 0.033333 | 1 | 0.0034722 |  |  |  | 0.095833
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER | 104 | 1899-12-31 22:06 | 55 | 1899-12-31 02:11 | 102 | 1899-12-31 07:49 | [5 empty] | 1900-01-03 08:06
132/33KV Grid S/s Nuapatna
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 26 | 1900-01-01 07:33 | 2 | 0.040278 | 7 | 0.125 |  |  |  | 1900-01-01 11:31
(ii) | 40 MVA Transformer-2 | POWER | 26 | 1900-01-01 07:33 |  | 0 | 6 | 0.065278 |  |  |  | 1900-01-01 09:07
(iii) | 12.5 MVA Transformer-3 | POWER | 26 | 1900-01-01 07:33 | 2 | 0.14514 | 9 | 0.26944 |  |  |  | 1900-01-01 17:30
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER | 26 | 1900-01-01 07:33 | 15 | 1899-12-31 10:51 | 20 | 0.22986 | [5 empty] | 1900-01-02 23:55
132/33KV Grid S/s Kendrapara
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER |  |  |  |  | 1 | 0.10486 |  |  |  | 0.10486
(ii) | 40 MVA Transformer-2 | POWER |  |  | 1 | 0.34236 | 1 | 0.011806 |  |  |  | 0.35417
(iii) | 40 MVA Transformer-4 | POWER |  |  |  |  | 7 | 0.12083 |  |  |  | 0.12083
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER | 97 | 1899-12-31 16:28 | 51 | 1899-12-31 02:05 | 74 | 1899-12-31 05:17 | [5 empty] | 1900-01-02 23:50
132/33KV Grid S/s J.Singhpur
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 3 | 0:14 | 1 | 0.21528 | 2 | 0.075 |  |  |  | 0.3
(ii) | 20 MVA Transformer-2 | POWER | 3 | 0:29 | 1 | 0.5 | 1 | 0.041667 |  |  |  | 0.56181
(iii) | 20 MVA Transformer-3 | POWER | 5 | 4:02 |  |  | 1 | 0.041667 |  |  |  | 0.20972
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Phulanakhara
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER |  |  | 1 | 0:17 | 2 | 1:56 |  |  |  | 0.092361
(ii) | 20 MVA Transformer-2 | POWER |  |  | 1 | 1:30 | 1 | 4:59 |  |  |  | 0.27014
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Cuttack
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 3 | 1:12 | 3 | 0.0097222 | 3 | 0.22639 |  |  |  | 0.28611
(ii) | 40 MVA Transformer-2 | POWER | 8 | 5:09 | 3 | 0.19028 | 3 | 0.026389 |  |  |  | 0.43125
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
| 132 KV Cuttack- Phulnakhara Fdr | FEEDER | 7 | 4:23 | 2 | 0.05 | [7 empty] | 0.23264
| 132 KV Cuttack – Jagatsinghpur Fdr | FEEDER |  |  | 2 | 0.015278 | 6 | 0.045139 | [5 empty] | 0.060417
132/33KV Grid S/s Choudwar
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER | 1 | 0:15 | 2 | 0.0055556 | [5 empty] | 0.015972
(ii) | 20 MVA Transformer-2 | POWER | [9 empty] | 0
(iii) | 40 MVA Transformer-1 | POWER | [9 empty] | 0
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Chandikhole
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 1 | 0:23 | 48:00 | 0:40 | 24:00 | 0:38 |  |  |  | 0.070139
(ii) | 20 MVA Transformer-2 | POWER | 1 | 0:16 | 48:00 | 18:09 | 24:00 | 0:25 |  |  |  | 0.78472
(iii) | 20 MVA Transformer-3 | POWER | 2 | 0:25 | 48:00 | 41:00 | 24:00 | 0:38 |  |  |  | 1899-12-31 18:03
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Salipur
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 3 | 1899-12-31 08:19 | [7 empty] | 1899-12-31 08:19
(ii) | 20 MVA Transformer-2 | POWER | 2 | 0:37 | [7 empty] | 0.025694
(iii) | 12.5 MVA Transformer-3 | POWER | 1 | 0:36 | [7 empty] | 0.025
2 | Bus Fault | BUS
3 | EHT Feeder Fault |  | 20 | 15:16 | [6 empty] | 15:16
220/132/33kV GRID S/s Paradeep
1 | Auto Transformer | AUTO | [9 empty] | 0
(i) | 160MVA Auto 1 | AUTO |  |  | 5 | 0.11042 | 8 | 0.90486 |  |  |  | 1899-12-31 00:22
(ii) | 100MVA Auto 2 | AUTO |  |  | 2 | 0.041667 | 4 | 0.066667 |  |  |  | 0.10833
(iii) | 50MVA Auto 3 | AUTO | 03 | 0.055556 | 2 | 0.10278 | 3 | 0.16458 |  |  |  | 0.32292
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 09 | 0.0625 | 9 | 0.041667 | 4 | 0.027778 |  |  |  | 0.13194
(ii) | 20 MVA Transformer-2 | POWER | 09 | 0.038194 | 9 | 0.12014 | 5 | 0.65278 |  |  |  | 0.81111
(iii) | 12.5 MVA Transformer-3 | POWER | 9 | 0.0625 | 9 | 0.041667 | 2 | 0.010417 |  |  |  | 0.11458
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 220kv NewDubri-Paradeep DC line ckt-I | FEEDER | 8 | 1900-01-02 23:21 | 8 | 1900-01-03 18:25 | 10 | 1899-12-31 07:53 |  |  |  | 1900-01-09 01:39
(ii) | 220kv NewDubri-Paradeep DC line ckt-II | FEEDER | 7 | 1900-01-01 06:06 | 14 | 1900-01-04 13:42 | 10 | 1900-01-02 05:39 |  |  |  | 1900-01-10 01:27
(iii) | 220kv ESSAR DC line ckt- I | FEEDER | 6 | 1900-01-04 05:34 | 1 | 0.0097222 | 0 | 0 |  |  |  | 1900-01-04 05:48
(iv) | 220kv ESSAR DC line ckt- II | FEEDER | 3 | 1900-01-02 23:56 | 1 | 0.063889 | 1 | 0.098611 |  |  |  | 1900-01-03 03:50
| 220kv IOCL SC Line | FEEDER | 0 | 0 | 0 | 0 | 3 | 1899-12-31 02:26 |  |  |  | 1899-12-31 02:26
| 132KV PPL DC Line ckt-I | FEEDER | 11 | 0.42222 | 4 | 0.61319 | 18 | 1900-01-05 00:35 |  |  |  | 1900-01-06 01:26
| 132KV PPL DC Line ckt-II | FEEDER | 8 | 1900-01-04 02:23 | 6 | 0.88472 | 22 | 1900-01-08 09:44 |  |  |  | 1900-01-14 09:21
| 132KV PPT DC Line ckt-I | FEEDER | 1 | 1900-01-02 | 2 | 0.28681 | 19 | 0.81806 |  |  |  | 1900-01-03 02:31
| 132KV PPT DC Line ckt-II | FEEDER | 3 | 0.020833 | 1 | 0.027778 | 14 | 1899-12-31 03:40 |  |  |  | 1899-12-31 04:50
| 132KV IFFCO DC Line ckt-I | FEEDER | 3 | 0.6375 | 26 | 1900-01-03 01:18 | 0 | 0 |  |  |  | 1900-01-03 16:36
| 132KV IFFCO DC Line ckt-II | FEEDER | 1 | 0.21875 | 21 | 1900-01-04 00:54 | 3 | 0.0090278 |  |  |  | 1900-01-04 06:22
| 132KV Kendrapara DC Line ckt-I | FEEDER | 7 | 0.19514 | 5 | 1899-12-31 18:24 | 3 | 0.15417 |  |  |  | 1900-01-01 02:47
| 132KV Kendrapara DC Line ckt-II | FEEDER | 1 | 0.21597 | 3 | 0.80139 | 2 | 1900-01-14 05:46 |  |  |  | 1900-01-15 06:11
| 132KV Jagatsinghpur SC Line | FEEDER | 0 | 0 | 0 | 0 | 1 | 1900-01-03 08:38 |  |  |  | 1900-01-03 08:38
|  |  |  | 1900-02-10 18:58 |  | 1900-02-14 07:26 |  | 1900-03-10 02:31 |  | 1900-01-11 07:28 | 1900-01-02 20:51 | 1900-05-08 14:40 | 0 | 1900-01-12 09:56 | 1900-06-07 04:55
[9 empty] | Total | ICT | AUTO | POWER TRF |  | Feeder Fault
1900-06-07 04:55
Formulas:
Auto Trf = [Duration of Trippings (Hr:Mn)]
Auto Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Power Trf = SUM(M4:[Power Trf, row above])
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = SUM(O4:[EHT Feeder Fault, row above])
ICT = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
ICT = SUM(K4:[ICT, row above])
Duration of Trippings (Hr:Mn) = SUM(E4:[Duration of Trippings (Hr:Mn), row above])
Duration of Trippings (Hr:Mn) = SUM(G4:[Duration of Trippings (Hr:Mn), row above])
FORM P-3 = SUM(I4:[FORM P-3, row above])
Bus Fault = SUM(N4:[Bus Fault, row above])

## P-3 Jajpur Road
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Jajpur Road Circle | Category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year (10/13 to 03/14) |  | First six months of the current year (04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
220/132/33kV GRID S/s Joda
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | 8 | 10:23 | [6 empty] | 0.43264
(ii) | 100MVA Auto 2 | AUTO | 5 | 14:30 | [6 empty] | 0.60417
(iii) | 100MVA Auto 3 | [5 empty] | 2 | 0.60833 |  |  | 0.60833
2 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER |  |  | 6 | 0.011806 | 7 | 0.070833 |  |  |  | 0.082639
(ii) | 20 MVA Transformer-2 | POWER | 30 | 1:40 | 19 | 0.036111 | 10 | 0.041667 |  |  |  | 0.14722
(iii) | 20 MVA Transformer-1 | POWER | 9 | 5:48 | 2 | 0.014583 | 2 | 0.019444 |  |  |  | 0.27569
(iv) | 40 MVA Transformer-1 | POWER | 2 | 0:44 | 2 | 0.014583 | 1 | 0.43542 |  |  |  | 0.48056
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
132/33KV Grid S/s Polasponga
1 | Power Transformer | POWER | [9 empty] | 0
(i) | 20 MVA Transformer-1 | POWER | 2 | 0:12 |  |  | 1 | 0.0069444 |  |  |  | 0.015278
(ii) | 20 MVA Transformer-2 | POWER |  |  | 2 | 0.0069444 | 2 | 0.083333 |  |  |  | 0.090278
(iii) | 40 MVA Transformer-3 | POWER |  |  | 1 | 0.040278 | [5 empty] | 0.040278
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33KV Grid S/s Bolani
1 | Power Transformer | POWER
(i) | 10 MVA Transformer-1 | POWER
(ii) | 10 MVA Transformer-2 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
220/132/33 kV Grid S/S, Duburi
1 | Auto Transformer | AUTO
(i) | 100 MVA Auto Transformer - I | AUTO | 12 | 0.096528 | 1 | 0:09 | 3 | 0.069444 |  |  | 0.17222
(ii) | 100 MVA Auto Transformer - II | AUTO | 13 | 0.14306 |  |  | 4 | 0.078472 |  |  | 0.22153
(iii) | 100 MVA Auto Transformer - III | AUTO | 9 | 0.070139 |  |  | 15 | 0.070139 |  |  | 0.14028
2 | Power Transformer | POWER
(i) | 40 MVA Power Transformer | POWER | 5 | 0.020833 | 11 | 0.044444 | 3 | 0.036111 |  |  |  | 0.10139
3 | Bus fault (220 KV) | BUS
4 | Bus fault (132 KV) | BUS
5 | EHT Feeder Fault | FEEDER
(i) | 220 KV Meramundali -Duburi - l feeder | FEEDER | 5 | 0.175 |  |  | 4 | 0.053472 | [5 empty] | 0.22847
(ii) | 220 KV Meramundali -Duburi - ll feeder | FEEDER | 7 | 0.090278 | 2 | 0:08 | 2 | 0.034722 | [5 empty] | 0.13056
(iii) | 220 KV Duburi- New Duburi - I fdr | FEEDER | 9 | 0.21389 | 3 | 0:18 | [7 empty] | 0.22639
(iv) | 220 KV Duburi- New Duburi - ll fdr | FEEDER | 17 | 0.13681 | 17 | 12:54 | 2 | 0.15208 | [5 empty] | 0.82639
(v) | 220 KV Duburi - NINL feeder | FEEDER | 4 | 0.031944 | 2 | 0:58 | [7 empty] | 0.072222
(vi) | 132 KV Duburi - J. Road Ckt - l | FEEDER | 29 | 0.27569 | 15 | 4:29 | 19 | 0.28264 | [5 empty] | 0.74514
(vii) | 132 KV Duburi - J. Road Ckt - l l | FEEDER | 21 | 0.21458 | 15 | 4:33 | 16 | 0.26736 | [5 empty] | 0.67153
(viii) | 132 KV TTPS-Duburi Ckt - l | FEEDER | 7 | 0.088194 | 2 | 0:49 | 3 | 0.06875 | [5 empty] | 0.19097
(ix) | 132 KV TTPS-Duburi Ckt - ll | FEEDER | 13 | 0.91667 | 1 | 1:58 | [7 empty] | 0.99861
(x) | 132 KV Duburi - MESCO- l l | FEEDER | 7 | 0.069444 | 1 | 0:10 | [7 empty] | 0.076389
(xi) | 132 KV Duburi - MESCO - Bdk-J.Town | FEEDER | [11 empty] | 0
(xii) | 132 KV Duburi - Bamnipal | FEEDER | 12 | 0.077083 |  |  | 1 | 0.0027778 | [5 empty] | 0.079861
(xiii) | 132 KV Duburi - Jakhapura RTSS feeder | FEEDER | 15 | 0.12708 | 3 | 0:17 | 6 | 0.011806 | [5 empty] | 0.15069
(xiv) | 132 KV Mishrilal | FEEDER | 2 | 0.040972 |  |  | 2 | 0.0055556 | [5 empty] | 0.046528
132/33 kV Grid S/S, Jajpur Road
1 | Power Transformer | POWER
(i) | 40 MVA Power Transformer - I | POWER | 2 | 0.082639 | 1 | 0.0069444 | [5 empty] | 0.089583
(ii) | 40 MVA Power Transformer - II | POWER | 3 | 0.026389 | 4 | 0.055556 | 2 | 0.0069444 |  |  |  | 0.088889
(iii) | 20 MVA Power Transformer - III | POWER | 11 | 0.095833 | 6 | 0.0375 | [5 empty] | 0.13333
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kV Jajpur Road-Kendrapara Ckt-II | FEEDER | 2 | 0.021528 | 2 | 0.01875 | 4 | 0.015278 | [5 empty] | 0.055556
(ii) | 132kV Jajpur Road-Ch.Khole Ckt-I | FEEDER | 2 | 0.01875 | 3 | 0.0375 | 8 | 0.047222 | [5 empty] | 0.10347
(iii) | 132kV Jajpur Road-Jajpur Town | FEEDER | 5 | 0.061111 | 2 | 0.0076389 | 2 | 0.01875 | [5 empty] | 0.0875
(iv) | 132 KV J.Road - Anandapur fdr | FEEDER | 1 | 0.0041667 | 5 | 0.036806 | 11 | 0.054167 | [5 empty] | 0.095139
132/33 kV Grid S/S, Jajpur Town
1 | Power Transformer | POWER
(i) | 40 MVA Power Transformer - I | POWER | 2 | 0.014583 |  |  | 1 | 0:11 |  |  |  | 0.022222
(ii) | 20 MVA Power Transformer - II | POWER | 2 | 0.016667 | 1 | 1:02 | 2 | 0:17 |  |  |  | 0.071528
(iii) | 40 MVAPower Transformer - lll | POWER | 2 | 0.082639 | [7 empty] | 0.082639
2 | Bus fault | BUS
3 | EHT Feeder Fault | FEEDER
132/33 kV Grid S/S, Kalarangi
1 | Power Transformer | POWER
(i) | 12.5 MVA Power Transformer - I | POWER | 27 | 0.059028 | 7 | 0.35 | 17 | 0.51 | 17 |  |  | 0.91903
(ii) | 12.5 MVA Power Transformer - II | POWER | 1 | 0.0020833 | 1 | 0:03 | 4 | 0.12 | 4 |  |  | 0.12417
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kV Incoming No-1 | FEEDER | 11 | 0.15625 | 4 | 11:25 | 13 | 0.57292 | [5 empty] | 1899-12-31 04:55
400/220 kV Grid S/S, New Duburi
1 | EHT Feeder Fault | FEEDER
(i) | 220KV Duburi feeder-l | FEEDER | 10 | 0.46458 | 1 | 0.45486 | 0 | 0 | [5 empty] | 0.91944
(ii) | 220KV Duburi feeder – ll | FEEDER | 10 | 0.11875 | 2 | 0.010417 | 3 | 0.15486 | [5 empty] | 0.28403
(iii) | 220KV Balasore - l feeder | FEEDER | 13 | 1900-01-06 13:12 | 2 | 1899-12-31 10:40 | 1 | 0.68264 | [5 empty] | 1900-01-08 16:15
(iv) | 220 KV Bhadrak feeder | FEEDER | 8 | 0.84931 | 0 | 0 | 0 | 0 | [5 empty] | 0.84931
(v) | 220KVJindal - l feeder | FEEDER | 6 | 0.025 | 3 | 0.033333 | 1 | 0.0069444 | [5 empty] | 0.065278
(vi) | 220KV Jindal - ll feeder | FEEDER | 6 | 0.025 | 3 | 0.061111 | 2 | 0.99236 | [5 empty] | 1899-12-31 01:53
(vii) | 220KV Paradeep - l feeder | FEEDER | 14 | 1900-01-03 01:09 | 6 | 0.06875 | 8 | 1900-01-01 15:02 | [5 empty] | 1900-01-05 17:50
(viii) | 220KV Paradeep - ll feeder | FEEDER | 13 | 1900-01-01 04:32 | 12 | 1900-01-02 08:21 | 7 | 0.82014 | [5 empty] | 1900-01-05 08:34
(ix) | 220KV Rohit feeder | FEEDER | 6 | 0.025694 | 0 | 0 | 0 | 0 | [5 empty] | 0.025694
(x) | 220KV VISA feeder | FEEDER | 5 | 0.016667 | 0 | 0 | 0 | 0 | [5 empty] | 0.016667
(xi) | 220 KV Maithan fdr | FEEDER | 5 | 0.016667 | 1 | 0.025 | 2 | 0.42222 | [5 empty] | 0.46389
132/33 kV Grid S/S, Anand Pur
1 | Power Transformer | POWER
(i) | 12.5 MVA Power Transformer - I | POWER | 8 | 0.48681 | 2 | 1899-12-31 01:00 | 10 | 1900-01-01 18:44 |  |  |  | 1900-01-03 07:25
(ii) | 12.5 MVA Power Transformer - II | POWER | 10 | 0.96458 | [7 empty] | 0.96458
2 | Bus fault | BUS
3 | EHT Feeder Fault | FEEDER
| 132KV INCOMER-1 | FEEDER | 3 | 0.031944 | 1 | 0.75 | [7 empty] | 0.78194
220/132/33 kV Grid S/S, Balasore
1 | Auto Transformer | AUTO
(i) | 160 MVA Auto 1 | AUTO | 10 | 5:39 | 6 | 0.72778 | 9 | 0.25833 |  |  | 1899-12-31 05:19
(ii) | 160 MVA Auto 2 | AUTO | 11 | 10:06 | 4 | 1899-12-31 21:40 | 12 | 0.96528 |  |  | 1900-01-02 06:56
2 | Power Transformer | POWER
(i) | 63 MVA Transformer-1 | POWER | 16 | 1900-01-01 03:27 | 6 | 0.6 | 12 | 1900-01-01 07:57 |  |  |  | 1900-01-04 01:48
(ii) | 63 MVA Transformer-2 | POWER | 13 | 1899-12-31 07:28 | 7 | 0.88542 | 9 | 0.3625 | 1:40 |  |  | 1900-01-01 13:25
(iii) | 40 MVA Transformer-1 | POWER | 12 | 0.51319 | 10 | 1900-01-02 00:30 | 11 | 0.58958 | 5:48 |  |  | 1900-01-03 02:58
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
(i) | 220 KV Balasore-Duburi | FEEDER | 31 | 1900-01-12 18:06 | 19 | 1900-01-08 17:41 | 28 | 1900-01-07 11:27 | [5 empty] | 1900-01-30 23:14
(ii) | 220 KV Balasore-Bhadrak | FEEDER | 11 | 1900-01-02 11:14 | 1 | 1899-12-31 03:28 | 14 | 1900-01-05 12:18 | [5 empty] | 1900-01-10 03:00
(iii) | 220 KV Balasore-PGCIL-1 | FEEDER | 9 | 1899-12-31 22:42 | 2 | 0.46875 | 8 | 1900-01-02 23:37 | [5 empty] | 1900-01-05 09:34
(iv) | 220 KV Balasore-PGCIL-2 | FEEDER | 7 | 1899-12-31 06:07 | 2 | 1899-12-31 07:04 | 3 | 0.49167 | [5 empty] | 1900-01-02 00:59
(v) | 132 KV Balasore-Baripada | FEEDER | 13 | 1900-01-01 03:39 | 10 | 1900-01-07 08:48 | 3 | 1899-12-31 12:51 | [5 empty] | 1900-01-11 01:18
(vi) | 132 KV Balasore-Jaleswar | FEEDER | 7 | 0.47431 | 6 | 1899-12-31 12:24 | 13 | 0.58958 | [5 empty] | 1900-01-01 13:56
(vii) | 132 KV Balasore-Soro | FEEDER | 23 | 0.85278 | 12 | 1900-01-01 05:01 | 22 | 1899-12-31 11:06 | [5 empty] | 1900-01-03 12:35
(viii) | 132 KV Balasore-Balasore Alloys | FEEDER | 9 | 0.38333 | 9 | 1899-12-31 00:55 | 10 | 0.44236 | [5 empty] | 1899-12-31 20:44
(ix) | 132 KV Balasore-Birla Tyres | FEEDER | 9 | 0.34792 | 4 | 0.69583 | 5 | 0.45625 | [5 empty] | 1899-12-31 12:00
(x) | 132 KV Balasore-Traction | FEEDER | 4 | 0.10347 | 5 | 0.40764 | 9 | 0.24236 | [5 empty] | 0.75347
(xi) | 132 KV Balasore-Emami | FEEDER | 3 | 0.26736 | 3 | 0.30972 | 9 | 0.95417 | [5 empty] | 1899-12-31 12:45
132/33 kV Grid S/S, Baripada
1 | Power Transformer | POWER
(i) | 40 MVA Power Transformer - I | POWER | 1 | 0:31 | 3 | 0.16667 | 1 | 0.038194 |  |  |  | 0.22639
(ii) | 40 MVA Power Transformer - II | POWER |  |  | 3 | 0.16667 | 1 | 0.038889 |  |  |  | 0.20556
(iii) | 40 MVA Power Transformer - III | POWER | 2 | 0:34 | 3 | 0.16667 | 1 | 0.0375 |  |  |  | 0.22778
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132Kv Baripada-PGCIL | FEEDER |  |  |  |  | 1 | 0.15903 | [5 empty] | 0.15903
(ii) | 132Kv PGCIL-Rairangpur | FEEDER | 3 | 14:06 |  |  | 5 | 1899-12-31 10:10 | [5 empty] | 1900-01-01 00:16
(iii) | 132Kv Baripada-Balasore | FEEDER | 3 | 1900-01-01 06:36 | 10 | 1900-01-04 23:12 | 2 | 1899-12-31 12:26 | [5 empty] | 1900-01-08 18:14
132/33 kV Grid S/S, Basta
1 | Power Transformer | POWER
(i) | 20 MVA Power Transformer - I | POWER | 4 | 7:57 | 3 | 4:32 | 5 | 7:16 |  |  |  | 0.82292
(ii) | 40 MVA Power Transformer - II | POWER | 2 | 6:04 | 4 | 5:47 | 3 | 4:22 |  |  |  | 0.67569
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
| 132 KV Balasore Incoming Feeder | FEEDER | 20 | 23:28 | 7 | 1899-12-31 12:14 | 17 | 0.57639 | [5 empty] | 1900-01-02 01:32
220/132/33 kV Grid S/S, Bhadrak
1 | Auto Transformer | AUTO
(i) | 100 MVA Auto 1 | AUTO | 2 | 0:38 |  |  | 2 | 0.083333 |  |  | 2:38
(ii) | 100 MVA Auto 2 | AUTO | 2 | 0:35 | [6 empty] | 0:35
2 | Power Transformer | POWER
(i) | 63 MVA Transformer-1 | POWER | 6 | 0:31 | 10 | 0.067361 | 6 | 0.086111 |  |  |  | 0.175
(ii) | 63 MVA Transformer-2 | POWER | 6 | 0:28 |  |  |  |  | 1:40 |  |  | 0.019444
(iii) | 40 MVA Transformer-1 | POWER | 7 | 0:33 |  |  |  |  | 5:48 |  |  | 0.022917
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER |  |  | 12 | 0.41806 | 27 | 0.22292 | 0.22292 |  |  |  |  | 0.64097
(i) | 220KV Bhadrak-Balasore | FEEDER | 2 | 3:44 | [9 empty] | 0.15556
(ii) | 220KV Bhadrak-NewDuburi | FEEDER | 4 | 0:34 | [9 empty] | 0.023611
(iii) | 132KV J.Town | FEEDER
(iv) | 132KV SORO | FEEDER
(v) | 132KV FACCOR | FEEDER
(vi) | 132KV Railway | FEEDER
(vii) | 132KVINCOM(OLD) | FEEDER | 4 | 0:42 | [9 empty] | 0.029167
(viii) | 132KV INCOM(NEW) | FEEDER | 7 | 1:27 | [9 empty] | 0.060417
(IX) | 132KV DPCL-1 | FEEDER | 3 | 0:29 | [9 empty] | 0.020139
(X) | 132KV DPCL-11 | FEEDER | 9 | 1:25 | [9 empty] | 0.059028
132/33 kV Grid S/S, Jaleswar
1 | Power Transformer | POWER
(i) | 20 MVA Power Transformer - I | POWER | 12 | 0.37917 | 5 | 0.12986 | 7 | 0.83889 |  |  |  | 1899-12-31 08:21
(ii) | 20 MVA Power Transformer - II | POWER | 12 | 0.35069 | 6 | 1899-12-31 06:09 | 3 | 0.12153 |  |  |  | 1899-12-31 17:29
(iii) | 12.5 MVA Power Transformer - III | POWER | 18 | 1899-12-31 10:51 | 10 | 0.62986 | 9 | 0.26667 |  |  |  | 1900-01-01 08:22
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 KV BLS/BASTA Incoming | FEEDER | 13 | 7:48 | 4 | 0.020139 | 11 | 0.46528 | [5 empty] | 0.81042
(ii) | 132 KV Traction Jaleswar | FEEDER | 7 | 7:00 | 5 | 0.025694 | 19 | 0.28542 | [5 empty] | 0.60278
132/33 kV Grid S/S, Karanjia
1 | Power Transformer | POWER
(i) | 12.5 MVA Power Transformer - I | POWER | 3 | 5:11 | 2 | 0.0069444 | 4 | 0.013889 |  |  |  | 0.23681
(ii) | 12.5 MVA Power Transformer - II | POWER | 1 | 0:09 | 2 | 0.0069444 | 4 | 0.013889 |  |  |  | 0.027083
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132kV Rairangpur - Karanjia | FEEDER | 1 | 0:26 |  |  | 4 | 0.092361 | [5 empty] | 0.11042
(ii) | 132kV Polasponga - Karanjia | FEEDER |  |  | 2 | 0.045139 | 7 | 0.014583 | [5 empty] | 0.059722
132/33 kV Grid S/S, Rairangpur
1 | Power Transformer | POWER |  |  | 2 | 1899-12-31 03:41 | 1 | 0.15833 |  |  |  | 1899-12-31 07:29
(i) | 20 MVA Power Transformer - I | POWER
(ii) | 12.5 MVA Power Transformer - II | POWER
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER |  |  | 0 | 0 | 8 | 1899-12-31 12:12 | [5 empty] | 1899-12-31 12:12
(i) | 132 kV Rairangpur - Karanjia | FEEDER | 7 | 4:21 | [9 empty] | 0.18125
(ii) | 132kV PGCIL - Rairangpur | FEEDER | 5 | 17:13 |  |  |  |  | Total |  |  |  |  | 0.71736
132/33 kV Grid S/S, Soro
1 | Power Transformer | BUS
(i) | 20 MVA Power Transformer - I | POWER | 2 | 1:32 | 20 | 1899-12-31 04:44 | 21 | 1899-12-31 02:02 |  |  |  | 1900-01-01 08:18
(ii) | 20 MVA Power Transformer - II | POWER | 9 | 2:43 | 22 | 1899-12-31 21:08 | 28 | 0.90139 |  |  |  | 1900-01-01 21:29
(iii) | 40 MVA Power Transformer - III | POWER | 16 | 3:53 | 23 | 1899-12-31 04:05 | 19 | 0.15764 |  |  |  | 1899-12-31 11:45
2 | Bus Fault | BUS
3 | EHT Feeder Fault | FEEDER
(i) | 132 kV Soro - Balasore | FEEDER | 25 | 9:58 | 4 | 0.040972 | 14 | 0.17778 | [5 empty] | 0.63403
(ii) | 132 kV Soro - Bhadrak | FEEDER |  |  | 3 | 0.091667 | 4 | 0.083333 | [5 empty] | 0.175
|  |  |  | 1900-02-28 21:08 |  | 1900-02-28 11:06 |  | 1900-02-20 18:11
[5 empty] | 1900-06-22 02:25 |  |  |  |  | 0 | 1900-01-05 19:46 | 1900-02-03 21:40 | 0 | 1900-05-10 08:59 | 0 | 1900-06-22 02:25
Formulas:
Auto Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Duration of Trippings (Hr:Mn) = SUM(E6:[Duration of Trippings (Hr:Mn), row above])
Duration of Trippings (Hr:Mn) = SUM(G6:[Duration of Trippings (Hr:Mn), row above])
FORM P-3 = SUM(I6:[FORM P-3, row above])

## P-3 Jeypore
Licencee : OPTCL |  |  | OERC |  |  |  |  | FORM P-3
Sl. No. | Jeypore Circle | Category | First six months of the previous year (04/13 to 09/13) |  | Last six months of the previous year (10/13 to 03/14) |  | First six months of the current year (04/14 to 09/14) |  | Steps proposed to reduce such trippings | ICT | Auto Trf | Power Trf | Bus Fault | EHT Feeder Fault
|  |  | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn) | No. of Trippings | Duration of Trippings (Hr:Mn)
Jeypore CIRCLE
220/132/33 kV Grid S/S, Jayanagar
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | 1 | 19:26 | 2 | 0.01875 |  |  |  |  | 19:53
(ii) | 100MVA Auto 2 | AUTO |  |  | 2 | 0.011806 | 1 | 0.011111 |  |  | 0:33
2 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 3 | 1899-12-31 17:09 | 3 | 1:07 | 1 | 0.0041667 |  |  |  | 1899-12-31 18:22
(ii) | 20 MVA Transformer-2 | POWER | 3 | 5:36 | 1 | 0.022917 |  |  | 10:23 |  |  | 0.25625
(iii) | 12.5 MVA Transformer-1 | POWER | 5 | 17:47 | 3 | 0.043056 | 1 | 0.0034722 | 14:30 |  |  | 0.7875
3 | Bus Fault | BUS
1:40
4 | EHT Feeder Fault | FEEDER | [6 empty] | 5:48
(i) | 220 kV Jayanagar - Balimela-I | FEEDER | 2 | 0:25 |  |  |  |  | 0:44 |  |  |  |  | 0:25
(ii) | 220 kV Jayanagar - Balimela-II | FEEDER | 2 | 0:55 |  |  | 2 | 1900-01-04 03:34 | [5 empty] | 124:29
(iii) | 220 kV Jayanagar - Balimela-III | FEEDER | 3 | 1:25 | [9 empty] | 1:25
(iv) | 220 kV Jayanagar - Upper Kolab-I | FEEDER | 1 | 0:16 | 5 | 13:09 | [7 empty] | 13:25
(v) | 220 kV Jayanagar - Upper Kolab-II | FEEDER | 4 | 1899-12-31 13:03 | [9 empty] | 37:03
(vi) | 220 kV Jayanagar - PGCIL-I | FEEDER | 1 | 10:50 | 1 | 0:48 | 5 | 1899-12-31 12:08 | [5 empty] | 47:46
(vii) | 220 kV Jayanagar - PGCIL-II | FEEDER | 2 | 11:05 | 1 | 0:20 | 4 | 0.33681 | [5 empty] | 19:30
(viii) | 220 kV Jayanagar - Theruvalli-I | FEEDER | 14 | 1900-01-03 08:50 | 7 | 1899-12-31 18:03 | [7 empty] | 146:53
(ix) | 220 kV Jayanagar - Theruvalli-II | FEEDER | 4 | 2:06 | 3 | 0.049306 | 4 | 0.30556 | 0:12 |  |  |  |  | 10:37
(x) | 220 kV Jayanagar - Theruvalli-III | FEEDER | [11 empty] | 0:00
(xi) | 132 kV Jayanagar - Rayagada | FEEDER | 6 | 2:27 | 1 | 0.0097222 | 5 | 8:34 | [5 empty] | 11:15
(xii) | 132 kV Jayanagar - Tentulikhunti | FEEDER | 4 | 0:39 |  |  | 4 | 3:31 | [5 empty] | 4:10
(xiii) | 132 kV Jayanagar - Machkind | FEEDER | 2 | 0.027083 |  |  | 5 | 1899-12-31 09:05 | [5 empty] | 33:44
(xiv) | 132 kV Jayanagar - Sunabeda | FEEDER | 4 | 0:39 | 1 | 1:12 | 9 | 15:23 | [5 empty] | 17:14
(xv) | 132 kV Jayanagar - Damonjodi | FEEDER | 2 | 1:33 | 2 | 4:52 | 4 | 1:23 | [5 empty] | 7:48
(xvi) | 132 kV Jayanagar Traction | FEEDER | 6 | 3:42 | 5 | 1:33 | 7 | 1:32 | [5 empty] | 6:47
(xvii) | 132 kV Jayanagar- Meenakshi | FEEDER | 4 | 1:11 | 1 | 0:36 | 5 | 1:38 | [5 empty] | 3:25
132/33kV Grid S/S, Sunabeda
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 71 | 0.46319 | 67 | 0.64653 | 55 | 0.29861 |  |  |  | 1899-12-31 09:48
(ii) | 12.5 MVA Transformer-2 | POWER | 7 | 0.067361 | 10 | 0.42153 | 19 | 0.20972 |  |  |  | 0.69861
(iii) | 12.5 MVA Transformer-3 | POWER | 7 | 0.043056 | 12 | 0.42569 | 20 | 0.8875 |  |  |  | 1899-12-31 08:33
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132KV Incomer | FEEDER |  |  | 5 | 0.49236 | 8 | 0.57708 | [5 empty] | 1899-12-31 01:40
(ii) | 132KV HAL | FEEDER
(iii) | 132KV Damanjodi | FEEDER | 1 | 0.0013889 | 1 | 0.013889 | [7 empty] | 0.015278
132/33kV Grid S/S, Tentulikhunti
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 14 | 4:53 | 9 | 0.12431 | 48 | 1899-12-31 07:39 |  |  |  | 1899-12-31 15:31
(ii) | 20 MVA Transformer-2 | POWER | 7 | 2:53 | 9 | 0.057639 | 9 | 0.49097 |  |  |  | 0.66875
(iii) | 12.5 MVA Transformer-3 | POWER | 13 | 2:22 | 8 | 0.13125 | 11 | 0.45 |  |  |  | 0.67986
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132 kV Jayanagar - Tentulikhunti | FEEDER | 10 | 0.24375 | 17 | 1899-12-31 04:12 | 23 | 0.57222 | More trippings due to Machkund Supply |  |  |  |  | 1899-12-31 23:47
220/33kV Grid S/S, Balimela
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER |  |  | 5 | 2:43 | 22 | 2:05 |  |  |  | 0.2
(ii) | 20 MVA Transformer-2 | POWER |  |  | 2 | 0:50 | 19 | 2:26 |  |  |  | 0.13611
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER |  |  | 1 | 0:39 | 1 | 0:37 | [5 empty] | 0.052778
132/33kV Grid S/S, Bhawanipatna
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER |  |  | 2 | 0.042361 | 1 | 0.58889 |  |  |  | 0.63125
(ii) | 12.5 MVA Transformer-2 | POWER |  |  | 1 | 0.0048611 | 3 | 0.58889 |  |  |  | 0.59375
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER |  |  | 62 | 1899-12-31 17:45 | 50 | 1899-12-31 04:35 | [5 empty] | 1900-01-01 22:20
132/33kV Grid S/S, Junagarh
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER | 1 | 0:15 | 3 | 0.13194 | 5 | 0.061111 |  |  |  | 0.20347
(ii) | 20 MVA Transformer-2 | POWER | 3 | 0:50 | 7 | 0.097222 | 16 | 0.19861 |  |  |  | 0.33056
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER |  |  | 62 | 1899-12-31 17:45 | 50 | 1899-12-31 04:35 | [5 empty] | 1900-01-01 22:20
132/33kV Grid S/S, Kesinga
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER |  |  |  |  | 1 | 0.13333 |  |  |  | 0.13333
(ii) | 40 MVA Transformer-2 | POWER
(iii) | 20 MVA Transformer-3 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER |  |  | 8 | 0.097917 | 14 | 0.36458 | [5 empty] | 0.4625
(i) | 132kV Therubali - Kesinga | FEEDER | 100 | 1900-01-01 02:25 | [9 empty] | 1900-01-01 02:25
(ii) | 132kV Kesinga - Junagarh | FEEDER | 100 | 1900-01-01 02:25 | [9 empty] | 1900-01-01 02:25
(iii) | 132kV Kesinga - Khariar | FEEDER | 67 | 17:43 | [9 empty] | 0.73819
(iv) | 132kV Kesinga - Saintala | FEEDER | 13 | 2:12 | [9 empty] | 0.091667
(v) | 132kV Kesinga - Powmax | FEEDER
132/33kV Grid S/S, Khariar
1 | Power Transformer | POWER
(i) | 40 MVA Transformer-1 | POWER |  |  |  |  | 8 | 0.77153 |  |  |  | 0.77153
(ii) | 40 MVA Transformer-2 | POWER | 12 | 0:59 | [7 empty] | 0.040972
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER |  |  | 49 | 1899-12-31 14:10 | 84 | 1899-12-31 03:13 | [5 empty] | 1900-01-01 17:23
132/33kV Grid S/S, Saintala
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER
(ii) | 10 MVA Transformer-2 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
(i) | 132kV Saintala - Bolangir | FEEDER | 59 | 14:02 | 45 | 0.83958 | 60 | 0.725 | [5 empty] | 1900-01-01 03:35
(ii) | 132KV Kesinga- Saintala Line | FEEDER | 13 | 0.091667 | 8 | 0.084028 | 34 | 0.25833 | [5 empty] | 0.43403
220/132/33 kV Grid S/S, Therubali
1 | Auto Transformer | AUTO
(i) | 100MVA Auto 1 | AUTO | 2 | 0:46 | 0 | 0 | 6 | 1899-12-31 04:48 |  |  | 29:34
(ii) | 100MVA Auto 2 | AUTO | 2 | 0:48 | 0 | 0 | 5 | 0.039583 |  |  | 1:45
2 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 2 | 0:13 | 16 | 0.090278 | 3 | 0.0055556 |  |  |  | 2:31
(iii) | 12.5 MVA Transformer-2 | POWER | 2 | 0:15 | 15 | 0.088889 | 4 | 0.00069444 |  |  |  | 2:24
3 | Bus Fault | BUS
4 | EHT Feeder Fault | FEEDER
132/33kV Grid S/S, Rayagada
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 2 | 0:33 | 0 | 0 | 10 | 0.19444 |  |  |  | 5:13
(ii) | 12.5 MVA Transformer-2 | POWER | 3 | 0:36 | 0 | 0 | 10 | 0.19444 |  |  |  | 5:16
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33kV Grid S/S, Parlakhemundi
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 2 | 0:36 | 1 | 0.17708 | [5 empty] | 4:51
(ii) | 12.5 MVA Transformer-2 | POWER | 1 | 0:37 | 1 | 0.17708 | [5 empty] | 4:52
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33kV Grid S/S, Akhusingh
1 | Power Transformer | POWER
(i) | 12.5 MVA Transformer-1 | POWER | 3 | 0:28 | 7 | 0.13472 | 7 | 1899-12-31 01:15 |  |  |  | 1899-12-31 04:57
(ii) | 12.5 MVA Transformer-2 | POWER | 1 | 0:29 | 7 | 0.13472 | 7 | 1899-12-31 01:15 |  |  |  | 1899-12-31 04:58
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
132/33kV Grid S/S, lAXMIPUR
1 | Power Transformer | POWER
(i) | 20 MVA Transformer-1 | POWER
2 | Bus Fault | BUS
3 | EHT Feeder fault | FEEDER
|  |  |  | 1900-01-17 05:54 |  | 1900-01-12 17:24 |  | 1900-01-24 23:48
[10 empty] | 0 | 1900-01-01 03:45 | 1900-01-14 18:26 | 0 | 1900-02-08 00:55 | 1900-02-25 23:06
1900-02-25 23:06
Formulas:
Power Trf = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
EHT Feeder Fault = [Duration of Trippings (Hr:Mn)]+[Duration of Trippings (Hr:Mn)]+[FORM P-3]
Duration of Trippings (Hr:Mn) = SUM(E6:[Duration of Trippings (Hr:Mn), row above])
Duration of Trippings (Hr:Mn) = SUM(G6:[Duration of Trippings (Hr:Mn), row above])
FORM P-3 = SUM(I6:[FORM P-3, row above])