## BERHAMPUR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year (04/13 to 09/13) |  |  |  | Last six months of the previous year (10/13 to 03/14) |  |  |  | First six months of the current year (04/14 to 09/14)
| BERHAMPUR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 KV Bhanjanagar - Theruvali - I | 1899-12-31 08:33 | 0.34375 | 1899-12-31 16:48 | 99.07% |  | 1900-01-01 02:12 | 1900-01-01 02:12 | 98.85% |  | 0.16667 | 0.16667 | 99.91%
2 | 220 KV Bhanjanagar - Theruvali - II | 1899-12-31 08:34 | 0.175 | 1899-12-31 12:46 | 99.16% | 0.54514 | 1900-01-01 23:30 | 1900-01-02 12:35 | 98.07% |  | 1899-12-31 22:34 | 1899-12-31 22:34 | 98.94%
3 | 220 KV Bhanjanagar - Meramundali - I | 22:00 | 7:41 | 1899-12-31 05:41 | 99.32% | 1900-01-01 21:52 | 0.08125 | 1900-01-01 23:49 | 98.36% | 0.56597 | 0.00625 | 0.57222 | 99.69%
4 | 220 KV Bhanjanagar - Meramundali - II | 1899-12-31 01:41 | 5:06 | 1899-12-31 06:47 | 99.3% | 1900-01-01 05:47 | 0.75139 | 1900-01-01 23:49 | 98.36% | 0.56597 | 0.00625 | 0.57222 | 99.69%
5 | 220 KV Bhanjanagar - Nayagarh |  | 0.30833 | 0.30833 | 99.83% | 1900-01-01 04:03 | 0.014583 | 1900-01-01 04:24 | 98.8% | 0 | 0 | 0 | 100%
6 | 220 KV Bhanjanagar - Mendhashala | 0.575 | 0.15139 | 0.72639 | 99.6% | 1899-12-31 05:06 | 1900-01-03 05:02 | 1900-01-04 10:08 | 98.72% | 1899-12-31 22:40 |  | 1899-12-31 22:40 | 99.67%
7 | 220 kV Mendhasala - Narendrapur - II | 1899-12-31 21:35 | 0.15972 | 1900-01-01 01:25 | 98.87% | 0.56528 | 1899-12-31 21:00 | 1900-01-01 10:34 | 98.66% |  |  |  | 100%
8 | 132 KV Bhanjanagar - Aska Ckt - I |  | 0.011111 | 0.011111 | 99.99% | 0.43611 | 0.059028 | 0.49514 | 99.73% | 0.59722 | 0.011111 | 0.60833 | 99.67%
9 | 132 KV Bhanjanagar - Aska Ckt - II |  | 0.36528 | 0.36528 | 99.8% | 0.21389 | 0.033333 | 0.24722 | 99.86% | 0.59722 | 0.03125 | 0.62847 | 99.66%
10 | 132 KV Bhanjanagar-Phulbani |  | 1899-12-31 23:12 | 1899-12-31 23:12 | 98.92% | 0.35 | 0.28681 | 0.63681 | 99.65% | 1899-12-31 20:44 | 0.024306 | 1899-12-31 21:19 | 98.97%
11 | 132 KV Aska - Chhatrapur Ckt - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
12 | 132 KV Aska - Purusottampur |  |  | 0 | 100% |  | 1900-01-04 15:45 | 1900-01-04 15:45 | 96.9% |  | 1899-12-31 03:42 | 1899-12-31 03:42 | 99.37%
| 132 KV Purusottampur - Chhatrapur |  |  | 0 | 100% |  | 0.10694 | 0.10694 | 99.94% |  | 0.89444 | 0.89444 | 99.51%
13 | 132 KV Aska - Berhampur |  | 1899-12-31 03:08 | 1899-12-31 03:08 | 99.38% | 0.51042 | 1900-01-31 16:40 | 1900-02-01 04:55 | 81.81% | 0.016667 | 0.16806 | 0.18472 | 99.9%
14 | 132 kV Narendarapur - Berhampur Ckt - I | 0.18056 | 0.26806 | 0.44861 | 99.75% | 0.25833 | 1899-12-31 09:00 | 1899-12-31 15:12 | 99.11% | 0.45347 | 1900-01-02 04:45 | 1900-01-02 15:38 | 98%
| 132 kV Narendarapur - Berhampur Ckt - II | 0.16806 | 0.36597 | 0.53403 | 99.71% | 0.66944 | 1900-01-05 19:15 | 1900-01-06 11:19 | 95.91% | 0.29375 | 1900-01-02 01:45 | 1900-01-02 08:48 | 98.16%
15 | 132 kV Narendrapur - Chhatrapur-I | 1899-12-31 11:00 | 1899-12-31 22:00 | 1900-01-02 09:00 | 98.15% | 1900-01-01 06:26 | 1899-12-31 21:15 | 1900-01-03 03:41 | 97.72% | 1900-01-01 16:15 | 1899-12-31 02:02 | 1900-01-02 18:17 | 97.94%
16 | 132 kV Narendrapur - Chhatrapur-II | 1899-12-31 03:45 | 0.77431 | 1899-12-31 22:20 | 98.94% | 1900-01-01 06:02 | 0.58611 | 1900-01-01 20:06 | 98.45% | 1900-01-01 07:58 | 1899-12-31 03:17 | 1900-01-02 11:15 | 98.1%
17 | 132 kV Narendrapur - Traction | 0.33333 |  | 0.33333 | 99.82% |  | 0.051389 | 0.051389 | 99.97% | 0.0055556 | 0.20486 | 0.21042 | 99.88%
18 | 132 kV Narendrapur – Khurda | 1899-12-31 14:00 | 1899-12-31 02:00 | 1900-01-01 16:00 | 98.54% | 1900-01-01 17:28 | 0.70278 | 1900-01-02 10:20 | 98.12% |  |  | 0 | 100%
19 | 132 kV Chhatrapur - IRE-I |  | 1899-12-31 02:00 | 1899-12-31 02:00 | 99.41% |  | 1900-01-23 14:30 | 1900-01-23 14:30 | 86.52% |  | 0.76944 | 0.76944 | 99.58%
20 | 132 kV Chhatrapur - IRE-II |  | 0.88333 | 0.88333 | 99.52% |  | 1900-01-18 15:11 | 1900-01-18 15:11 | 89.24% |  | 0.086111 | 0.086111 | 99.95%
21 | 132 kV Chatarpur - Ganjam |  | 1899-12-31 18:59 | 1899-12-31 18:59 | 99.02% | 1899-12-31 09:20 | 1900-01-03 23:07 | 1900-01-05 08:27 | 96.52% |  | 0.61389 | 0.61389 | 99.66%
22 | 132 kV Chhatrapur - Rambha Traction |  | 1899-12-31 00:11 | 1899-12-31 00:11 | 99.45% |  | 1900-01-04 13:25 | 1900-01-04 13:25 | 96.95% |  | 0.20764 | 0.20764 | 99.89%
23 | 132 kV Chhatrapur - Balugaon |  | 1900-01-01 09:42 | 1900-01-01 09:42 | 98.68% | 0.38125 | 1900-01-09 07:05 | 1900-01-09 16:14 | 94.15% |  | 1899-12-31 10:55 | 1899-12-31 10:55 | 99.2%
24 | 132 kV Balugaon - Solari Traction | 0.035417 |  | 0.035417 | 99.98% | 0.52986 | 0 | 0.52986 | 99.71% | 1900-01-01 03:27 | 0 | 1900-01-01 03:27 | 98.83%
25 | 133 kV JCL Feeder | 1899-12-31 05:50 | 0.43889 | 1899-12-31 16:22 | 99.08% | 1900-01-01 08:32 | 1900-01-03 22:53 | 1900-01-06 07:25 | 96% | 0.53194 | 0.26736 | 0.79931 | 99.56%
26 | 132 kV Berhampur - Digapahandi | 0.68958 |  | 0.68958 | 99.62% | 1900-01-01 02:28 | 1899-12-31 07:33 | 1900-01-02 10:01 | 98.13% | 0.60694 | 0.19236 | 0.79931 | 99.56%
27 | 132 kV Digapahandi - Mohana | 0.87778 |  | 0.87778 | 99.52% | 1900-01-01 08:58 | 0.41458 | 1900-01-01 18:55 | 98.47% | 1899-12-31 22:43 | 0.36875 | 1900-01-01 07:34 | 98.73%
28 | 132 kV Mohana - Akhusingh | 0.54861 |  | 0.54861 | 99.7% |  | 0.95833 | 0.95833 | 99.47% |  |  |  | 100%

## BURLA
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2013-14 04/13 to 09/13 |  |  |  | Last six months of the previous year 2013-14 10/13 to 03/14 |  |  |  | First six months of the current year 2014-15 04/14 to 09/14
| BURLA CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Budhipadar - Tarkera - I |  | 12:51 | 0.53542 | 99.71% | 0.22847 |  | 0.22847 | 99.87% | 0.42847 | 1899-12-31 11:25 | 1899-12-31 21:42 | 98.96%
2 | 220 kV Budhipadar - Tarkera - II |  | 15:54 | 0.6625 | 99.64% | 0.38264 | 0.079167 | 0.46181 | 99.75% | 1899-12-31 21:26 | 1900-01-01 13:39 | 1900-01-03 11:05 | 97.56%
3 | 220 kV Budhipadar - Korba – I |  | 08:14 | 0.34306 | 99.81% | 0.36528 | 0.2875 | 0.65278 | 99.64% |  | 1900-01-05 20:03 | 1900-01-05 20:03 | 96.25%
4 | 220 kV Budhipadar - Korba – II | 00:40 | 63:39 | 1900-01-01 16:19 | 98.53% | 0.57639 | 0.28125 | 0.85764 | 99.53% | 1900-01-01 16:00 |  | 1900-01-01 16:00 | 98.54%
5 | 221 kV Budhipadar - Korba – III | 16:29 | 20:49 | 1899-12-31 13:18 | 99.15% | 1900-01-01 21:41 |  | 1900-01-01 21:41 | 98.41% | 1900-01-01 14:29 | 0.31181 | 1900-01-01 21:58 | 98.4%
6 | 220 kV IB - Budhipadar - I | 28:23 | 94:57 | 1900-01-04 03:20 | 97.18% | 1900-01-01 | 0.43542 | 1900-01-01 10:27 | 98.67% |  |  |  | 100%
7 | 220 kV IB - Budhipadar - II | 24:06 | 00:52 | 1899-12-31 00:58 | 99.43% | 1899-12-31 22:20 | 1900-01-01 01:46 | 1900-01-03 00:06 | 97.81% | 1900-01-08 02:36 |  | 1900-01-08 02:36 | 95.01%
8 | 220 kV IB - Budhipadar - III | 40:04 |  | 1899-12-31 16:04 | 99.09% | 0.74306 | 0.56319 | 1899-12-31 07:21 | 99.28% | 1899-12-31 12:53 | 0.0083333 | 1899-12-31 13:05 | 99.15%
9 | 220 kV IB - Budhipadar - IV | 38:18 | 74:30 | 1900-01-03 16:48 | 97.42% | 1899-12-31 05:00 | 0.77222 | 1899-12-31 23:32 | 98.91% | 1899-12-31 04:18 | 0.079167 | 1899-12-31 06:12 | 99.31%
10 | 220 kV Budhipadar - Katapali - I |  |  | 0 | 100% | 1899-12-31 05:26 | 0.50486 | 1899-12-31 17:33 | 99.05% | 0.14653 |  | 0.14653 | 99.92%
11 | 220 kV Budhipadar - Katapali - II |  |  | 0 | 100% | 1899-12-31 04:04 | 0.064583 | 1899-12-31 05:37 | 99.32% | 0.31111 | 0.24722 | 0.55833 | 99.69%
12 | 220 kV Budhipadar- Bhusan - I |  |  | 0 | 100% |  |  | 0 | 100% | 0.38056 | 0.13194 | 0.5125 | 99.72%
13 | 220 kV Budhipadar- Bhusan - II |  |  | 0 | 100% |  | 0.14306 | 0.14306 | 99.92% |  | 0.45694 | 0.45694 | 99.75%
14 | 220 kV Budhipadar – SPS - I |  |  | 0 | 100% |  | 0.58819 | 0.58819 | 99.68% |  | 0.19653 | 0.19653 | 99.89%
15 | 220 kV Budhipadar- Basundhara |  | 04:25 | 0.18403 | 99.9% |  |  | 0 | 100% |  | 1900-01-02 08:33 | 1900-01-02 08:33 | 98.16%
16 | 220 kV Katapali - New Bolangir - I |  | 45:18 | 1899-12-31 21:18 | 98.97% | 0.083333 | 0.041667 | 0.125 | 99.93% | 0.084028 | 0.75 | 0.83403 | 99.54%
17 | 220 kV Katapali - New Bolangir - II |  | 10:05 | 0.42014 | 99.77% | 0.083333 | 0.083333 | 0.16667 | 99.91% | 0.084028 | 0.75 | 0.83403 | 99.54%
18 | 220 kV Tarkera - PGCIL - I | 0.99677 |  | 0.99677 | 99.45% | 1899-12-31 14:45 |  | 1899-12-31 14:45 | 99.12% | 1900-01-01 03:38 |  | 1900-01-01 03:38 | 98.82%
19 | 220 kV Tarkera - PGCIL - II | 0.99595 |  | 0.99595 | 99.45% | 1899-12-31 16:00 |  | 1899-12-31 16:00 | 99.09% | 1899-12-31 15:54 | 0.016667 | 1899-12-31 16:18 | 99.08%
20 | 220 kV Tarkera - Barkote - I | 1899-12-31 |  | 1899-12-31 | 99.45% | 1899-12-31 01:31 | 0.0375 | 1899-12-31 02:25 | 99.4% |  |  |  | 100%
21 | 220 kV Tarkera - Rengali - II | 0.99289 |  | 0.99289 | 99.46% | 1900-01-01 03:54 |  | 1900-01-01 03:54 | 98.82% |  | 0.078472 | 0.078472 | 99.96%
22 | 220 kV Rengali - Barkote |  |  | 0 | 100% | 1900-01-01 21:48 |  | 1900-01-01 21:48 | 98.41% |  |  |  | 100%
23 | 132 kV Bolangir - Sonepur | 0.090278 | 0.055556 | 0.14583 | 99.92% | 0.084028 | 0.083333 | 0.16736 | 99.91% | 0.084028 | 0.083333 | 0.16736 | 99.91%
24 | 132 kV Bargarh - Bolangir | 0.024306 | 0.054167 | 0.078472 | 99.96% |  |  | 0 | 100% |  |  |  | 100%
25 | 132 kV Bolangir - Saintala | 0.020833 | 0.052083 | 0.072917 | 99.96% | 0.041667 | 0.042361 | 0.084028 | 99.95% | 0.041667 | 0.042361 | 0.084028 | 99.95%
26 | 132 kV New Bolangir - Patnagarh | 0.0625 | 0.045833 | 0.10833 | 99.94% | 0.1 | 0.1 | 0.2 | 99.89% | 0.1 | 0.25 | 0.35 | 99.81%
27 | 132 kV Bargarh - ACC - I | 0.013889 | 0.055556 | 0.069444 | 99.96% | 0.0013889 | 0.043056 | 0.044444 | 99.98% | 0.0013889 | 0.043056 | 0.044444 | 99.98%
28 | 132 kV Bargarh - ACC - II | 0.013889 | 0.055556 | 0.069444 | 99.96% | 0.0013889 | 0.042361 | 0.04375 | 99.98% | 0.0013889 | 0.042361 | 0.04375 | 99.98%
29 | 132 kV New Bolangir - Bolangir - I | 0.0625 | 0.0625 | 0.125 | 99.93% | 0.045139 | 0.045139 | 0.090278 | 99.95% | 0.045139 | 0.045139 | 0.090278 | 99.95%
30 | 132 kV New Bolangir - Bolangir - II | 0.0625 | 0.0625 | 0.125 | 99.93% | 0.045139 | 0.04375 | 0.088889 | 99.95% | 0.045139 | 0.04375 | 0.088889 | 99.95%
31 | 132 kV Burla PH - Budhipadar - I |  | 29:14 | 1899-12-31 05:14 | 99.33% | 1900-01-01 04:22 | 0.44375 | 1900-01-01 15:01 | 98.56% |  | 0.59861 | 0.59861 | 99.67%
32 | 132 kV Burla PH - Budhipadar - II |  | 64:24 | 1900-01-01 16:24 | 98.53% | 1899-12-31 20:32 | 1899-12-31 08:01 | 1900-01-02 04:33 | 98.25% | 0.2 |  | 0.2 | 99.89%
33 | 132 kV Budhipadar - Jharsuguda | 16:16 | 15:25 | 1899-12-31 07:41 | 99.28% | 0.55903 |  | 0.55903 | 99.69% |  |  |  | 100%
34 | 132 kV Budhipadar - Remja |  | 05:43 | 0.23819 | 99.87% | 0.66806 | 0.011806 | 0.67986 | 99.63% |  | 0.23125 | 0.23125 | 99.87%
35 | 132 kV Budhipadar - MCL - I |  |  | 0 | 100% | 0.38472 |  | 0.38472 | 99.79% | 1899-12-31 01:16 | 0.18333 | 1899-12-31 05:40 | 99.32%
36 | 132 kV Budhipadar - MCL - II |  |  | 0 | 100% | 0.35764 |  | 0.35764 | 99.8% | 0.98333 | 0.24792 | 1899-12-31 05:33 | 99.33%
37 | 132 kV Budhipadar - Tarkera - I | 04:57 | 35:09 | 1899-12-31 16:06 | 99.08% | 1900-01-01 02:11 |  | 1900-01-01 02:11 | 98.85% | 0.2375 |  | 0.2375 | 99.87%
38 | 132 kV Budhipadar - Rajgangpur - II |  | 13:34 | 0.56528 | 99.69% | 1900-01-03 06:02 | 0.14028 | 1900-01-03 09:24 | 97.59% |  | 0.16597 | 0.16597 | 99.91%
39 | 132 kV Budhipadar - Sundargarh - I | 06:29 | 04:58 | 0.47708 | 99.74% | 0.72292 | 0.25069 | 0.97361 | 99.47% |  |  |  | 100%
40 | 132 kV Budhipadar - Sundargarh - II | 06:29 | 05:21 | 0.49306 | 99.73% | 0.81597 | 0.33264 | 1899-12-31 03:34 | 99.37% |  |  |  | 100%
41 | 132 kV Budhipadar - MSP | 03:13 | 00:54 | 0.17153 | 99.91% | 0.2 |  | 0.2 | 99.89% |  |  |  | 100%
42 | 132 kV Jharsuguda - L&T | 14:11 | 05:43 | 0.82917 | 99.55% |  |  |  | 100% | 0.21181 | 0.11111 | 0.32292 | 99.82%
43 | 132 kV Jharsuguda - Traction | 01:18 | 03:05 | 0.18264 | 99.9% |  |  |  | 100% | 0.097222 | 0.13889 | 0.23611 | 99.87%
44 | 132 kV Burla PH - Sambalpur | 05:18 | 175:10 | 1900-01-06 12:28 | 95.88% | 1899-12-31 12:08 | 0.99028 | 1900-01-01 11:54 | 98.63% | 0.26736 | 0.38889 | 0.65625 | 99.64%
45 | 132 kV Chiplima - Katapali |  | 00:25 | 0.017361 | 99.99% |  | 0.21319 | 0.21319 | 99.88% |  | 0.025694 | 0.025694 | 99.99%
46 | 132 kV Katapali - Bargarh |  | 01:40 | 0.069444 | 99.96% |  | 0.27431 | 0.27431 | 99.85% |  | 0.15625 | 0.15625 | 99.91%
47 | 132 kV Burla PH - Rairakhole | 29:03 | 29:57 | 1900-01-01 11:00 | 98.65% | 1900-01-02 15:44 | 1900-01-03 07:35 | 1900-01-06 23:19 | 95.63% | 1899-12-31 08:55 | 1899-12-31 13:43 | 1900-01-01 22:38 | 98.39%
48 | 132 kV Rairakhole - Boinda | 06:31 | 33:30 | 1899-12-31 16:01 | 99.09% | 1900-01-01 06:26 | 1899-12-31 21:57 | 1900-01-03 04:23 | 97.71% | 0.0048611 | 0.2625 | 0.26736 | 99.85%
49 | 132 kV Tarkera - RSP - I |  | 12:33 | 0.52292 | 99.71% | 1900-01-03 22:01 |  | 1900-01-03 22:01 | 97.31% |  |  |  | 100%
50 | 132 kV Tarkera - RSP - II |  | 6:35 | 0.27431 | 99.85% | 1900-01-03 22:01 |  | 1900-01-03 22:01 | 97.31% |  |  |  | 100%
51 | 132 kV Tarkera - RSP – III |  |  | 0 | 100% |  |  | 0 | 100% |  |  |  | 100%
52 | 132 kV Tarkera - Rourkela - I |  | 0.37847 | 0.37847 | 99.79% | 0.24097 | 0.64028 | 0.88125 | 99.52% | 0.083333 |  | 0.083333 | 99.95%
53 | 132 kV Tarkera - Rourkela - II |  | 11:24 | 0.475 | 99.74% | 0.22292 | 0.60417 | 0.82708 | 99.55% | 0.125 | 0.99444 | 1899-12-31 02:52 | 99.39%
54 | 132 kV Tarkera - Rourkela - III |  | 0.27361 | 0.27361 | 99.85% | 0.25347 | 0.37014 | 0.62361 | 99.66% | 1900-01-05 |  | 1900-01-05 | 96.71%
55 | 132 kV Rourkela - Joda (Nalda) Feeder | 0.058333 |  | 0.058333 | 99.97% | 0.27083 | 1899-12-31 11:02 | 1899-12-31 17:32 | 99.05% | 0.06875 |  | 0.06875 | 99.96%
56 | 132 kV Tarkera - Chhend - I |  | 14:13 | 0.59236 | 99.68% | 0.045833 |  | 0.045833 | 99.97% | 0.063194 | 0.46 | 0.52319 | 99.71%
57 | 132 kV Tarkera - Chhend - II |  | 16:51 | 0.70208 | 99.62% | 0.041667 |  | 0.041667 | 99.98% | 0.10625 | 0.54 | 0.64625 | 99.65%
58 | 132 kV Tarkera - Rajgangpur - I |  | 15:41 | 0.65347 | 99.64% | 0.78056 | 0.0027778 | 0.78333 | 99.57% | 0.028472 | 1900-01-01 14:10 | 1900-01-01 14:51 | 98.57%
59 | 132 kV Tarkera - Rajgangpur - II |  | 11:20 | 0.47222 | 99.74% | 0.71181 | 0.10139 | 0.81319 | 99.55% | 1899-12-31 02:43 | 1900-01-05 01:55 | 1900-01-06 04:38 | 96.06%
60 | 132 kV Chhend - Adhunik Metallics |  |  | 0 | 100% |  |  | 0 | 100% |  |  |  | 100%
61 | 132 kV Chhend - Nuagaon Traction |  | 2:10 | 0.090278 | 99.95% | 0.29861 | 0.029167 | 0.32778 | 99.82% | 0.098611 | 0.10417 | 0.20278 | 99.89%
62 | 132 kV Rajgangpur - OCL | 4:31 | 7:28 | 0.49931 | 99.73% | 0.41736 | 0.04375 | 0.46111 | 99.75% | 0.33611 | 0.42083 | 0.75694 | 99.59%
63 | 132 kV Rajgangpur - Traction - I |  | 2:20 | 0.097222 | 99.95% |  |  | 0 | 100% |  |  |  | 100%
64 | 132 kV Rajgangpur - Traction - II |  | 0:27 | 0.01875 | 99.99% | 0.33333 | 0.011806 | 0.34514 | 99.81% | 0.061111 | 0.066667 | 0.12778 | 99.93%
65 | 132 kV Rajgangpur - Aryan Viraj Ckt - III | 29:17 | 16:39 | 1899-12-31 21:56 | 98.95% | [7 empty] | 100%

## CHAINPAL
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2013-14 04/13 to 09/13 |  |  |  | Last six months of the previous year 2013-14 10/13 to 03/14 |  |  |  | First six months of the current year 2014-15 04/14 to 09/14
| CHAINPAL CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 kV Meramundali - Mendhasala | 1899-12-31 01:17 | 0.18611 | 1899-12-31 05:45 | 99.32% | 0.82222 | 1899-12-31 12:15 | 1900-01-01 07:59 | 98.72% | 1899-12-31 05:11 | 0.37639 | 1899-12-31 14:13 | 99.67%
2 | 400 kV Meramundali - RSTPS-I | 1899-12-31 02:48 | 0.37361 | 1899-12-31 11:46 | 99.18% | 0.13681 | 0.020833 | 0.15764 | 99.91% | 0.85972 | 0.37014 | 1899-12-31 05:31 | 99.33%
3 | 400 kV Meramundali - RSTPS-II | 1899-12-31 04:39 | 0.17847 | 1899-12-31 08:56 | 99.25% | 0.26736 | 1899-12-31 15:18 | 1899-12-31 21:43 | 98.96% | 1900-01-02 15:40 | 0.079861 | 1900-01-02 17:35 | 97.95%
4 | 400 kV Meramundali - JSPL-I | 0.37986 | 0.62569 | 1899-12-31 00:08 | 99.45% | 0.47292 | 0.15347 | 0.62639 | 99.66% |  |  | 0 | 100%
5 | 400 kV Meramundali - JSPL-II |  | 0.43819 | 0.43819 | 99.76% |  | 1900-01-02 15:16 | 1900-01-02 15:16 | 98.01% |  | 0.044444 | 0.044444 | 99.98%
6 | 220 kV Meramundali -Kaniha - I | 0.35069 | 0.32431 | 0.675 | 99.63% | 0.77917 | 0.054861 | 0.83403 | 99.54% | 1900-01-02 00:32 |  | 1900-01-02 00:32 | 98.34%
7 | 220 kV Meramundali - Kaniha -II | 0.31944 | 0.1125 | 0.43194 | 99.76% | 0.77917 | 0.054861 | 0.83403 | 99.54% | 1900-01-02 00:32 | 0.58333 | 1900-01-02 14:32 | 98.02%
8 | 220 kV Meramundali - TTPS - I |  | 0.10486 | 0.10486 | 99.94% |  |  | 0 | 100% |  | 0.10972 | 0.10972 | 99.94%
9 | 220 kV Meramundali - TTPS - II |  | 0.051389 | 0.051389 | 99.97% |  |  | 0 | 100% |  | 0.10972 | 0.10972 | 99.94%
10 | 220 kV Meramundali – NALCO – I |  | 0.061806 | 0.061806 | 99.97% | 0.35833 |  | 0.35833 | 99.8% |  |  | 0 | 100%
11 | 220 kV Meramundali – NALCO – II |  | 0.041667 | 0.041667 | 99.98% | 0.35833 |  | 0.35833 | 99.8% |  |  | 0 | 100%
12 | 220 kV Meramundali - Duburi - I |  | 0.75486 | 0.75486 | 99.59% |  | 0.0027778 | 0.0027778 | 100% |  | 0.0625 | 0.0625 | 99.97%
13 | 220 kV Meramundali - Duburi - II | 0.32847 | 0.10069 | 0.42917 | 99.76% |  | 0.0027778 | 0.0027778 | 100% |  | 0.067361 | 0.067361 | 99.96%
14 | 220 kV Meramundali - B.Nagar - I | 22:00 | 7:41 | 1899-12-31 05:41 | 99.32% | 1900-01-01 21:52 | 0.08125 | 1900-01-01 23:49 | 98.36% | 0.56597 | 0.00625 | 0.57222 | 99.69%
15 | 220 kV Meramundali - B.Nagar - II | 1899-12-31 01:41 | 5:06 | 1899-12-31 06:47 | 99.3% | 1900-01-01 05:47 | 0.75139 | 1900-01-01 23:49 | 98.36% | 0.56597 | 0.00625 | 0.57222 | 99.69%
16 | 220 kV Meramundali - Bidanasi | 0.16181 | 0.36597 | 0.52778 | 99.71% | 0.83333 | 0.0048611 | 0.83819 | 99.54% | 0.24583 | 0.051389 | 0.29722 | 99.84%
17 | 220 kV Meramundali - BSL-I | 0.16319 | 0.22292 | 0.38611 | 99.79% | 1899-12-31 04:26 | 0.0055556 | 1899-12-31 04:34 | 99.35% |  | 0.0076389 | 0.0076389 | 100%
18 | 220 kV Meramundali - BSL-II | 0.023611 | 0.24306 | 0.26667 | 99.85% | 1899-12-31 04:26 | 0.0055556 | 1899-12-31 04:34 | 99.35% |  | 0.0076389 | 0.0076389 | 100%
19 | 220 kV Rengali - Tarkera - II | 0.53819 | 0.18194 | 0.72014 | 99.61% | 1900-01-01 19:01 |  | 1900-01-01 19:01 | 98.47% |  | 0.090972 | 0.090972 | 99.95%
20 | 220 kV Rengali - Barkote - I | 0.046528 |  | 0.046528 | 99.97% | 1900-01-02 04:22 | 0.37292 | 1900-01-02 13:19 | 98.05% |  | 0.22153 | 0.22153 | 99.88%
21 | 220 kV Rengali - PGCIL - I | 0.043056 |  | 0.043056 | 99.98% | 1899-12-31 11:58 | 1899-12-31 16:04 | 1900-01-02 04:02 | 98.26% | 0.29653 | 0.21389 | 0.51042 | 99.72%
22 | 220 kV Rengali - PGCIL - II | 0.059028 |  | 0.059028 | 99.97% | 1900-01-01 03:14 | 0.19167 | 1900-01-01 07:50 | 98.73% | 0.47986 | 0.62014 | 1899-12-31 02:24 | 99.4%
23 | 220 kV Rengali - Rengali PH - I | 1900-01-01 07:12 | 1899-12-31 13:09 | 1900-01-02 20:21 | 97.89% | 1899-12-31 07:16 | 0.53125 | 1899-12-31 20:01 | 99% | 1899-12-31 14:57 | 0.88333 | 1900-01-01 12:09 | 98.63%
24 | 220 kV Rengali - Rengali PH - II | 0.080556 | 0.64306 | 0.72361 | 99.6% | 1899-12-31 08:56 | 0.19861 | 1899-12-31 13:42 | 99.14% | 1899-12-31 23:43 | 0.87917 | 1900-01-01 20:49 | 98.43%
25 | 132 kV Angul - TTPS | 0 | 0.010417 | 0.010417 | 99.99% | 0.69722 | 0.070833 | 0.76806 | 99.58% | 0.14375 | 0.072222 | 0.21597 | 99.88%
26 | 132 kV Angul - Boinda | 16:00 | 0:55 | 0.70486 | 99.61% | 0.35764 | 43:47 | 1900-01-01 04:22 | 98.8% |  |  | 0 | 100%
27 | 132 kV Angul - MCL - I | 0 | 0.091667 | 0.091667 | 99.95% | 0.90347 | 0.013194 | 0.91667 | 99.5% | 0.51181 | 0.015972 | 0.52778 | 99.71%
28 | 132 kV Angul - MCL - II | 0 | 0.0048611 | 0.0048611 | 100% | 0.96597 |  | 0.96597 | 99.47% | 1899-12-31 01:16 | 0.18542 | 1899-12-31 05:43 | 99.32%
29 | 132 kV Boinda - Rairakhole | 53:47 | 0.62847 | 1900-01-01 20:52 | 98.43% | 52:32 | 59:14 | 1900-01-03 15:46 | 97.45% | 0.17569 | 29:50 | 1899-12-31 10:03 | 99.22%
30 | 132 kV TTPS - Chainpal - I |  |  | 0 | 100% | 0.76667 |  | 0.76667 | 99.58% |  |  | 0 | 100%
31 | 132 kV TTPS - Chainpal - II | 0.14444 |  | 0.14444 | 99.92% | 0.74792 |  | 0.74792 | 99.59% |  | 0.096528 | 0.096528 | 99.95%
32 | 132 kV Chainpal - Angul | 0 | 0.16736 | 0.16736 | 99.91% | 0.40208 |  | 0.40208 | 99.78% |  |  | 0 | 100%
33 | 132 kV Chainpal - FCI |  |  | 0 | 100% | 0.7375 |  | 0.7375 | 99.6% |  |  | 0 | 100%
34 | 132 kV Chainpal - Meramundali - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
35 | 132 kV Chainpal – Meramundali - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
36 | 132 kV Dhenkanal - ICCL |  | 1899-12-31 09:55 | 1899-12-31 09:55 | 99.23% | 1899-12-31 23:34 | 0.34028 | 1900-01-01 07:44 | 98.73% | 0.8875 | 0.65 | 1899-12-31 12:54 | 99.16%
37 | 132 kV Dhenkanal - Nuapatna | 0.86944 | 1899-12-31 09:02 | 1900-01-01 05:54 | 98.77% | 1899-12-31 04:17 | 1899-12-31 10:51 | 1900-01-01 15:08 | 98.56% | 1900-01-01 13:31 | 0.22986 | 1900-01-01 19:02 | 98.47%
38 | 132 kV Dhenkanal - Joranda Trac. |  | 0.87708 | 0.87708 | 99.52% | 0.74722 | 0.35694 | 1899-12-31 02:30 | 99.39% |  | 0.046528 | 0.046528 | 99.97%
39 | 133 kV Kharagprasad - NBVL - I | 0 | 0.18681 | 0.18681 | 99.9% | 1899-12-31 11:19 | 0.065278 | 1899-12-31 12:53 | 99.16% |  | 0.024306 | 0.024306 | 99.99%
40 | 134 kV Kharagprasad - NBVL - II | 0 | 0.19444 | 0.19444 | 99.89% | 1899-12-31 11:20 | 0.065972 | 1899-12-31 12:55 | 99.16% |  | 0.025 | 0.025 | 99.99%
41 | 132 kV Kharagprasad - Traction | 0 | 0.061111 | 0.061111 | 99.97% | 1899-12-31 14:02 | 0.039583 | 1899-12-31 14:59 | 99.11% | 0.11319 | 0.039583 | 0.15278 | 99.92%
42 | 132 kV Kharagprasad - SMPL |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
43 | 132 kV Kharagprasad - SGEL |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
44 | 132 kV Kamakhyanagar - Duburi | 0.061111 | 0.1 | 0.16111 | 99.91% | 0.77847 | 0.48889 | 1899-12-31 06:25 | 99.31% | 0.88611 | 0.1375 | 1899-12-31 00:34 | 99.44%
45 | 132 kV TTPS - Kamakyanagar | 0.325 | 1900-01-02 14:04 | 1900-01-02 21:52 | 97.86% | 0.78125 | 1899-12-31 01:52 | 1899-12-31 20:37 | 98.98% | 1899-12-31 23:41 | 0.086806 | 1900-01-01 01:46 | 98.86%
46 | 132 kV Meramundali – BRG |  |  | 0 | 100% | 0.76736 |  | 0.76736 | 99.58% |  | 0.23056 | 0.23056 | 99.87%
47 | 132 kV Meramundali - K.Prasad - I | 0.035417 | 0.011111 | 0.046528 | 99.97% | 1899-12-31 22:45 | 0.96528 | 1900-01-01 21:55 | 98.4% | 0.063194 | 0.0125 | 0.075694 | 99.96%
48 | 132 kV Meramundali - K.Prasad - II | 0.077778 | 0.11875 | 0.19653 | 99.89% | 1899-12-31 11:40 | 0.063194 | 1899-12-31 13:11 | 99.15% |  | 0.019444 | 0.019444 | 99.99%
49 | 132 kV Meramundali - Arati Steels | 1899-12-31 11:18 | 1899-12-31 05:04 | 1900-01-01 16:22 | 98.53% | 1900-01-01 10:28 | 0.45208 | 1900-01-01 21:19 | 98.42% | 1900-01-01 10:43 | 0.63542 | 1900-01-02 01:58 | 98.31%
50 | 132 kV Meramundali - Dhenkanal | 1899-12-31 07:58 | 0.74583 | 1900-01-01 01:52 | 98.86% | 1899-12-31 05:14 | 0.71111 | 1899-12-31 22:18 | 98.94% | 0.19097 | 0.028472 | 0.21944 | 99.88%
51 | 132 kV Meramundali - ML Rungta | 0.063889 |  | 0.063889 | 99.96% | 0.83125 |  | 0.83125 | 99.54% |  | 0.010417 | 0.010417 | 99.99%
Note on B48: Disconnected by CESU due to non-payment
Note on B49: Disconnected by CESU due to non-payment

## CUTTACK
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2013-14 04/13 to 09/13 |  |  |  | Last six months of the previous year 2013-14 10/13 to 03/14 |  |  |  | First six months of the current year 2014-15 04/14 to 09/14
| CUTTACK CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 kV Meramunduli - Mendhasal - I | 1899-12-31 01:17 | 0.18611 | 1899-12-31 05:45 | 99.32% | 0.82222 | 1899-12-31 12:15 | 1900-01-01 07:59 | 98.72% | 1899-12-31 05:11 | 0.37639 | 1899-12-31 14:13 | 99.67%
2 | 220 kV Chandaka - Bidanasi Ckt-I | 0.094444 | 1900-01-01 13:59 | 1900-01-01 16:15 | 98.53% | 0.75556 | 0.056944 | 0.8125 | 98.72% | 0.29375 | 0.039583 | 0.33333 | 99.67%
3 | 220 kV Chandaka - Mendhasal Ckt - II | 0.12014 | 1899-12-31 21:17 | 1900-01-01 00:10 | 98.9% | 0.35417 | 0.036111 | 0.39028 | 98.72% | 0.32083 | 0.0375 | 0.35833 | 99.67%
4 | 220 kV Chandaka - Mendhasal Ckt - III |  | 1900-01-01 15:58 | 1900-01-01 15:58 | 98.54% | 1900-01-01 05:44 | 1899-12-31 02:45 | 1900-01-02 08:29 | 98.72% | 0.53056 | 0.045139 | 0.57569 | 99.67%
5 | 220 kV Chandaka - Mendhasal Ckt - IV | 0.061111 | 0.2125 | 0.27361 | 99.85% | 1900-01-01 16:12 | 0.063194 | 1900-01-01 17:43 | 98.72% | 0.34722 | 0.026389 | 0.37361 | 99.67%
6 | 220 kV Narendrapur - Mendhasal | 1900-01-01 18:33 | 1899-12-31 23:27 | 1900-01-03 18:00 | 97.4% |  |  | 0 | 98.72% | 1900-01-02 12:29 | 1900-01-01 07:14 | 1900-01-04 19:43 | 99.67%
7 | 220 kV Bhanjanagar - Mendhasal | 0.575 | 0.15139 | 0.72639 | 99.6% | 1899-12-31 05:06 | 1900-01-03 05:02 | 1900-01-04 10:08 | 98.72% | 1899-12-31 22:40 |  | 1899-12-31 22:40 | 99.67%
8 | 220 kV Nayagarh - Mendhasal | 0.95833 | 0.23958 | 1899-12-31 04:45 | 99.34% | 0.40278 | 0.9375 | 1899-12-31 08:10 | 98.72% | 1899-12-31 09:20 | 0.041667 | 1899-12-31 10:20 | 99.67%
9 | 220 kV Meramundali - Bidanasi | 0.16181 | 0.36597 | 0.52778 | 99.71% | 0.83333 | 0.0048611 | 0.83819 | 99.54% | 0.24583 | 0.051389 | 0.29722 | 99.84%
10 | 220 kV New Duburi – Paradeep DC | 0.125 |  | 0.125 | 99.93% | 1900-01-10 09:44 | 1900-01-03 18:25 | 1900-01-15 04:09 | 98.72% | 1900-01-02 06:54 | 1899-12-31 07:53 | 1900-01-03 14:47 | 99.67%
11 | 220 kV Paradeep - Essar Steel DC |  |  | 0 | 100% | 0.24306 | 0.0097222 | 0.25278 | 98.72% | 0 |  | 0 | 99.67%
12 | 220 kV Paradeep - IOCL | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 98.72% | 0 | 1899-12-31 02:26 | 1899-12-31 02:26 | 99.67%
13 | 132 kV Khurda - Puri | 0.061111 |  | 0.061111 | 99.97% | 0.36528 | 0.47292 | 0.83819 | 98.72% | 0.83125 |  | 0.83125 | 99.67%
14 | 132 kV Khurda - Balugaon | 0.16944 | 0.66528 | 0.83472 | 99.54% | 1900-01-02 04:42 | 1900-01-03 11:32 | 1900-01-06 16:14 | 98.72% | 1899-12-31 00:10 | 0.022222 | 1899-12-31 00:42 | 99.67%
15 | 132 kV Chandaka - Ranasinghpur | 0.036111 | 0.072222 | 0.10833 | 99.94% | 1899-12-31 01:29 | 0.32986 | 1899-12-31 09:24 | 98.72% | 0.56319 | 0.57917 | 1899-12-31 03:25 | 99.67%
16 | 132 kV Chandaka - Nimapara |  |  | 0 | 100% | 1900-01-01 00:35 | 1899-12-31 18:34 | 1900-01-02 19:09 | 98.72% | 0.625 | 1899-12-31 02:27 | 1899-12-31 17:27 | 99.67%
17 | 132 kV Chandaka - Khurda | 1900-01-02 14:02 | 1900-01-01 20:48 | 1900-01-05 10:50 | 96.46% | 0.29375 | 0.30069 | 0.59444 | 98.72% | 0.88681 | 1899-12-31 14:54 | 1900-01-01 12:11 | 99.67%
18 | 132 kV Nimapara - Puri |  |  | 0 | 100% | 1899-12-31 07:03 | 0.89097 | 1900-01-01 04:26 | 98.72% | 0.81944 |  | 0.81944 | 99.67%
19 | 132 kV Chandaka - Bhubanewar - I |  |  | 0 | 100% | 0.32639 | 0.0125 | 0.33889 | 98.72% |  | 0.020833 | 0.020833 | 99.67%
20 | 132 kV Chandaka - Bhubanewar - II |  |  | 0 | 100% | 0.32639 | 0.0125 | 0.33889 | 98.72% |  |  | 0 | 99.67%
21 | 132 kV Chandaka - Bidanasi | 0.094444 |  | 0.094444 | 99.95% | 0.56111 |  | 0.56111 | 98.72% | 0.08125 |  | 0.08125 | 99.67%
22 | 132 kV Chandikhole - Kendrapara |  | 3:39 | 0.15208 | 99.92% | 1899-12-31 01:23 |  | 1899-12-31 01:23 | 98.72% | 0.97014 |  | 0.97014 | 99.67%
23 | 132 kV Choudwar - Bidanasi |  |  | 0 | 100% | 0.0055556 |  | 0.0055556 | 98.72% | 0.10903 |  | 0.10903 | 99.67%
24 | 132 kV Choudwar - Kendrapara Rd Trac. | 0.079167 | 0.24653 | 0.32569 | 99.82% |  | 0.038194 | 0.038194 | 98.72% | 0.038194 |  | 0.038194 | 99.67%
25 | 132 kV Arati - Choudwar Ckt-I | 0.84236 | 0.80972 | 1899-12-31 15:39 | 99.09% | 0.66875 | 0.32292 | 0.99167 | 98.72% |  | 0.49375 | 0.49375 | 99.67%
26 | 132 kV ICCL - Choudwar Ckt-II | 0.090278 | 0.125 | 0.21528 | 99.88% | 0.11667 | 1900-01-01 19:22 | 1900-01-01 22:10 | 98.72% | 1900-01-06 06:20 | 0.051389 | 1900-01-06 07:34 | 99.67%
27 | 132 kV Maheswari - ICCL Ckt-II | 2:00 |  | 0.083333 | 99.95% |  |  | 0 | 98.72% |  |  | 0 | 99.67%
28 | 132 kV Dhenkanal - Nuapatna | 0.86944 | 1899-12-31 09:02 | 1900-01-01 05:54 | 98.77% | 1899-12-31 04:17 | 1899-12-31 10:51 | 1900-01-01 15:08 | 98.72% | 1900-01-01 13:31 | 0.22986 | 1900-01-01 19:02 | 99.67%
29 | 132 kV ICCL - OCL - Salipur | 0.065278 | 0.54792 | 0.61319 | 99.66% | 1899-12-31 14:41 | 0.26042 | 1899-12-31 20:56 | 98.72% | 0.86806 | 1899-12-31 06:51 | 1900-01-01 03:41 | 99.67%
30 | 132 kV Mancheswar - Phulnakhara | 0.56806 | 0.026389 | 0.59444 | 99.67% | 0.50486 | 0.13472 | 0.63958 | 98.72% |  | 0.10903 | 0.10903 | 99.67%
31 | 132 kV Phulnakhara - Cuttack |  |  | 0 | 100% | 0.096528 | 0.43194 | 0.52847 | 98.72% |  |  | 0 | 99.67%
32 | 132 kV Cuttack - Jagatsinghpur |  |  | 0 | 100% | 0.35 | 0.10486 | 0.45486 | 98.72% | 0.49375 | 0.5 | 0.99375 | 99.67%
33 | 132 kV Jajpur Road - Chandikhole |  |  | 0 | 100% | 0.16944 |  | 0.16944 | 98.72% | 0.39097 |  | 0.39097 | 99.67%
34 | 132 kV Jajpur Road - Kendrapara - II |  | 0.15208 | 0.15208 | 99.92% |  |  | 0 | 98.72% |  |  | 0 | 99.67%
35 | 132 kV Kendarapara - Paradeep DC | 1899-12-31 07:30 |  | 1899-12-31 07:30 | 99.28% | 1899-12-31 09:40 | 1899-12-31 18:24 | 1900-01-02 04:04 | 98.72% | 0.57847 | 0.15417 | 0.73264 | 99.67%
36 | 132 kV Kendrapara - Pattamundai |  | 0.03125 | 0.03125 | 99.98% | 0.75486 | 0.86042 | 1899-12-31 14:46 | 98.72% |  | 0.1375 | 0.1375 | 99.67%
37 | 132 kV Paradeep - Jagatsinghpur |  |  |  |  | 1899-12-31 04:52 | 0.42361 | 1899-12-31 15:02 | 98.72% | 0.04375 | 0.46667 | 0.51042 | 99.67%
38 | 132 kV Paradeep - PPT DC |  |  | 0 | 100% | 1899-12-31 01:36 | 0.25208 | 1899-12-31 07:39 | 98.72% | 0.38472 | 0.81806 | 1899-12-31 04:52 | 99.67%
39 | 132 kV Paradeep - PPL DC |  |  | 0 | 100% | 0.46181 | 0.61319 | 1899-12-31 01:48 | 98.72% | 1900-01-01 17:10 | 1900-01-05 00:35 | 1900-01-07 17:45 | 99.67%
40 | 132 kV Paradeep - IFFCO DC |  |  | 0 | 100% | 0.65417 | 1900-01-03 01:18 | 1900-01-03 17:00 | 98.72% |  | 0.19931 | 0.19931 | 99.67%
41 | 132 kV Ranasinghpur Kesura | 0.35 | 25.96 | 26.31 | 99.4% | 0.3125 | 0.097222 | 0.40972 | 98.72% | 0.086806 | 0.24028 | 0.32708 | 99.67%

## JAJPUR ROAD
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2013-14 04/13 to 09/13 |  |  |  | Last six months of the previous year 2013-14 10/13 to 03/14 |  |  |  | First six months of the current year 2014-15 04/14 to 09/14
| JAJPUR ROAD CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Meramundali - Duburi - I |  | 0.75486 | 0.75486 | 99.59% |  | 0.0027778 | 0.0027778 | 100% |  | 0.0625 | 0.0625 | 99.97%
2 | 220 kV Meramundali - Duburi - II | 0.32847 | 0.10069 | 0.42917 | 99.76% |  | 0.0027778 | 0.0027778 | 100% |  | 0.067361 | 0.067361 | 99.96%
3 | 220 kV Duburi - New Duburi-I |  | 1899-12-31 02:53 | 1899-12-31 02:53 | 99.39% |  | 0.46319 | 0.46319 | 99.75% |  | 0.88889 | 0.88889 | 99.51%
4 | 220 kV Duburi - New Duburi-II |  | 0.26528 | 0.26528 | 99.85% |  | 1899-12-31 08:57 | 1899-12-31 08:57 | 99.25% |  | 0.56806 | 0.56806 | 99.69%
5 | 220 kV Duburi - NINL |  | 0.11042 | 0.11042 | 99.94% |  | 0.65694 | 0.65694 | 99.64% |  |  | 0 | 100%
6 | 220 kV New Duburi - Paradeep - l | 1900-01-02 05:44 | 0.20972 | 1900-01-02 10:46 | 98.11% | 1900-01-11 16:34 | 0.29444 | 1900-01-11 23:38 | 92.89% | 1900-01-04 01:01 | 1899-12-31 10:04 | 1900-01-05 11:05 | 96.46%
7 | 220 kV New Duburi - Paradeep - ll | 1899-12-31 08:45 | 1899-12-31 11:47 | 1900-01-01 20:32 | 98.44% | 1900-01-16 01:15 | 1899-12-31 17:51 | 1900-01-17 19:06 | 89.7% | 1900-01-01 03:15 | 1900-01-01 02:06 | 1900-01-03 05:21 | 97.69%
8 | 220 kV New Duburi - Balasore - I | 1899-12-31 04:28 | 1900-01-12 00:55 | 1900-01-13 05:23 | 92.21% | 1900-01-02 00:20 | 0.68125 | 1900-01-02 16:41 | 97.98% | 0.84028 | 1900-01-06 15:17 | 1900-01-07 11:27 | 95.36%
9 | 220 kV Balasore - Bhadrak | 1900-01-01 13:06 | 0.92222 | 1900-01-02 11:14 | 98.1% | 0.63194 | 0.5125 | 1899-12-31 03:28 | 99.37% | 0.92708 | 1900-01-04 14:03 | 1900-01-05 12:18 | 96.43%
10 | 220 kV Balasore - PGCIL - 1 | 1899-12-31 08:22 | 0.59722 | 1899-12-31 22:42 | 98.93% | 0.29514 | 0.17361 | 0.46875 | 99.74% | 0.42708 | 1900-01-02 13:22 | 1900-01-02 23:37 | 97.82%
11 | 220 kV Balasore - PGCIL - 2 | 0.91806 | 0.33681 | 1899-12-31 06:07 | 99.31% | 0.33403 | 0.96042 | 1899-12-31 07:04 | 99.29% | 0.18056 | 0.31111 | 0.49167 | 99.73%
12 | 220 kV TTPS - Joda - I | 0.18194 | 0.63542 | 0.81736 | 99.55% | 0.41667 | 1900-01-01 18:50 | 1900-01-02 04:50 | 98.25% | 1900-01-04 15:30 | 1899-12-31 14:12 | 1900-01-06 05:42 | 96.03%
13 | 220 kV TTPS - Joda - II | 0.63403 | 1900-01-02 08:02 | 1900-01-02 23:15 | 97.83% | 0.32083 | 1900-01-05 05:20 | 1900-01-05 13:02 | 96.41% | 1900-01-04 11:25 | 1900-01-01 20:00 | 1900-01-07 07:25 | 95.45%
14 | 220 kV Joda - Jamshedpur | 0.49236 | 0 | 0.49236 | 99.73% | 0.09375 | 1899-12-31 11:50 | 1899-12-31 14:05 | 99.13% | 0.47222 | 0.38889 | 0.86111 | 99.53%
15 | 220 kV Joda - Ramchandrapur | 1900-01-07 11:02 | 0.33333 | 1900-01-07 19:02 | 95.18% | 1899-12-31 15:42 | 1900-01-01 07:15 | 1900-01-02 22:57 | 97.83% |  | 1899-12-31 18:35 | 1899-12-31 18:35 | 99.03%
16 | 220 kV Joda - TSIL | 0 | 0 | 0 | 100% | 1899-12-31 14:00 | 0.11111 | 1899-12-31 16:40 | 99.07% |  | 0.32639 | 0.32639 | 99.82%
17 | 132 kV Balasore - Baripada | 1899-12-31 19:24 | 0.34375 | 1900-01-01 03:39 | 98.82% | 1899-12-31 06:20 | 1900-01-06 02:28 | 1900-01-07 08:48 | 95.42% | 0.43056 | 1899-12-31 02:31 | 1899-12-31 12:51 | 99.16%
18 | 132 kV Balasore - Soro | 0.59236 | 0.26042 | 0.85278 | 99.53% | 0.875 | 1899-12-31 08:01 | 1900-01-01 05:01 | 98.79% | 0.41875 | 0.62708 | 1899-12-31 01:06 | 99.43%
19 | 132 kV Balasore - Balasore Alloys | 0.29306 | 0.090278 | 0.38333 | 99.79% | 0.60069 | 0.4375 | 1899-12-31 00:55 | 99.43% | 0.26736 | 0.175 | 0.44236 | 99.76%
20 | 132 kV Balasore - Birla Tyres | 0.21042 | 0.1375 | 0.34792 | 99.81% | 0.43056 | 0.26528 | 0.69583 | 99.62% | 0.15417 | 0.30208 | 0.45625 | 99.75%
21 | 132 kV Balasore - Traction | 0.10347 |  | 0.10347 | 99.94% | 0.17361 | 0.23403 | 0.40764 | 99.78% | 0.13889 | 0.10347 | 0.24236 | 99.87%
22 | 132 kV Balasore - Emami | 0.26736 |  | 0.26736 | 99.85% | 0.22222 | 0.0875 | 0.30972 | 99.83% | 0.67361 | 0.28056 | 0.95417 | 99.48%
23 | 132 kV Balasore - Basta |  | 0.97778 | 0.97778 | 99.46% | 0.84028 | 0.67639 | 1899-12-31 12:24 | 99.17% | 0.37639 | 0.21319 | 0.58958 | 99.68%
24 | 132 kV Basta - Jaleswar |  | 1899-12-31 09:25 | 1899-12-31 09:25 | 99.24% | 0.68333 | 0.28681 | 0.97014 | 99.47% |  | 0.55278 | 0.55278 | 99.7%
25 | 132 kV Jaleswar - Rly Traction |  | 0.12708 | 0.12708 | 99.93% | 0.68611 | 0.25625 | 0.94236 | 99.48% |  | 0.55486 | 0.55486 | 99.7%
26 | 132 kV Bhadrak - DPCL - I |  |  | 0 | 100% | 0.59167 |  | 0.59167 | 99.68% | 0.38333 |  | 0.38333 | 99.79%
27 | 132 kV Bhadrak - DPCL - II |  |  | 0 | 100% | 0.33403 |  | 0.33403 | 99.82% | 0.38611 |  | 0.38611 | 99.79%
28 | 132 kV Bhadrak - Soro |  |  | 0 | 100% | 0.33403 | 0.08125 | 0.41528 | 99.77% |  | 0.083333 | 0.083333 | 99.95%
29 | 132 kV Bhadrak - FACOR |  |  | 0 | 100% | 0 |  | 0 | 100% |  |  | 0 | 100%
30 | 132 kV Bhdrak - Traction |  |  | 0 | 100% | 0.67083 |  | 0.67083 | 99.63% | 0.10069 | 0.038194 | 0.13889 | 99.92%
31 | 132 kV Kuchei PGCIL - Baripada |  |  | 0 | 100% | 1900-01-01 15:28 |  | 1900-01-01 15:28 | 98.55% |  | 0.15903 | 0.15903 | 99.91%
32 | 132 kV Kuchei PGCIL - Rairangpur |  | 0.5875 | 0.5875 | 99.68% | 0.34792 |  | 0.34792 | 99.81% |  | 1899-12-31 10:10 | 1899-12-31 10:10 | 99.22%
33 | 132 kV Rairangpur - Karanjia |  |  | 0 | 100% | 1899-12-31 01:14 | 0.21181 | 1899-12-31 06:19 | 99.31% |  | 0.47986 | 0.47986 | 99.74%
34 | 132 kV Palasponga - Karanjia |  | 04:21 | 0.18125 | 99.9% | 0.72014 | 0.045139 | 0.76528 | 99.58% |  | 0.88333 | 0.88333 | 99.52%
35 | 132 kV Kamkhyanagar – Duburi - I |  | 0.77569 | 0.77569 | 99.57% | 1899-12-31 03:33 | 1899-12-31 08:32 | 1900-01-01 12:05 | 98.63% |  | 0.9 | 0.9 | 99.51%
36 | 132 kV TTPS - Duburi Ckt - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
37 | 132 kV Duburi - Jajpur Rd. Ckt - I |  | 1900-01-01 15:42 | 1900-01-01 15:42 | 98.55% | 0.83056 | 0.82153 | 1899-12-31 15:39 | 99.09% |  | 0.083333 | 0.083333 | 99.95%
38 | 132 kV Duburi - Jajpur Rd. Ckt - II |  | 1900-01-01 04:36 | 1900-01-01 04:36 | 98.8% | 0.82708 | 0.125 | 0.95208 | 99.48% |  | 0.077778 | 0.077778 | 99.96%
39 | 132 kV Duburi - Mesco - Bhadrak - Jajpur Town |  | 1900-01-01 23:18 | 1900-01-01 23:18 | 98.37% |  |  | 0 | 100% |  |  | 0 | 100%
40 | 132 kV Duburi - Baminipal (TISCO) |  | 0.36528 | 0.36528 | 99.8% | 0.87222 | 0.036111 | 0.90833 | 99.5% |  | 0.14653 | 0.14653 | 99.92%
41 | 132 kV Duburi - Mesco Fdr-II | 10:15 | 2:50 | 0.54514 | 99.7% | 1899-12-31 04:33 | 0.24444 | 1899-12-31 10:25 | 99.21% |  | 0.10417 | 0.10417 | 99.94%
42 | 132 kV Duburi - Jakhapura Traction |  | 1899-12-31 00:14 | 1899-12-31 00:14 | 99.45% | 0.73403 | 0.027778 | 0.76181 | 99.58% |  | 0.10347 | 0.10347 | 99.94%
43 | 132 kV Jajpur Road – Kendrapara-II |  | 0.35417 | 0.35417 | 99.81% | 0.68403 | 0.19653 | 0.88056 | 99.52% |  |  | 0 | 100%
44 | 132 kV Jajpur Road – Chandikhol - I |  | 1899-12-31 03:10 | 1899-12-31 03:10 | 99.38% | 0.70833 | 0.93333 | 1899-12-31 15:24 | 99.1% |  |  | 0 | 100%
45 | 132 kV Jajpur Road - Jajpur Town . |  | 0.20208 | 0.20208 | 99.89% | 0.72917 | 0.62361 | 1899-12-31 08:28 | 99.26% |  | 0.35417 | 0.35417 | 99.81%
46 | 132 kV J.Road - Anandapur fdr | 0.57153 | 0 | 0.57153 | 99.69% | 0.33333 | 0.33333 | 0.66667 | 99.63% |  |  | 0 | 100%
47 | 132 kV Kalarangi Incomer | 0.15625 |  | 0.15625 | 99.91% | 0.48958 | 1899-12-31 03:55 | 1899-12-31 15:40 | 99.09% | 0.57292 | 0.40278 | 0.97569 | 99.47%
48 | 132 kV Joda - Rourkela | 0.23819 | 0.44097 | 0.67917 | 99.63% | 0.23958 | 1899-12-31 04:50 | 1899-12-31 10:35 | 99.21% |  | 0.46528 | 0.46528 | 99.75%
49 | 132 kV Joda - Polasponga | 1900-01-01 06:33 | 0.63403 | 1900-01-01 21:46 | 98.41% | 1899-12-31 11:26 | 1900-01-01 09:12 | 1900-01-02 20:38 | 97.89% | 0.25972 | 1899-12-31 10:45 | 1899-12-31 16:59 | 99.06%
50 | 132 kV Joda - FAP | 0.18403 | 0.50208 | 0.68611 | 99.62% | 0.47569 | 0.525 | 1899-12-31 00:01 | 99.45% | 0.13611 | 0.43403 | 0.57014 | 99.69%
51 | 132 kV Joda - Kenduposi |  |  | 0 | 100% |  |  | 0 |  |  |  | 0 | 100%

## JEYPORE
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2013-14 04/13 to 09/13 |  |  |  | Last six months of the previous year 2013-14 10/13 to 03/14 |  |  |  | First six months of the current year 2014-15 04/14 to 09/14
| JEYPORE CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Jayanagar - Balimela - I | 0.57986 | 1900-01-02 01:30 | 1900-01-02 15:25 | 98% | 1900-01-01 21:12 |  | 1900-01-01 21:12 | 98.42% | 0.50486 |  | 0.50486 | 99.72%
2 | 220 kV Jayanagar - Balimela - II | 1899-12-31 01:57 |  | 1899-12-31 01:57 | 99.41% | 1899-12-31 13:19 |  | 1899-12-31 13:19 | 99.15% | 1899-12-31 03:06 | 1900-01-04 03:34 | 1900-01-05 06:40 | 96.56%
3 | 220 kV Jayanagar - Balimela - III | 1900-01-01 10:40 |  | 1900-01-01 10:40 | 98.66% | 1899-12-31 21:25 |  | 1899-12-31 21:25 | 98.96% | 0.86389 |  | 0.86389 | 99.53%
4 | 220 kV Jayanagar - Upper Kolab-I | 0.40556 |  | 0.40556 | 99.78% | 0.83611 | 0.54792 | 1899-12-31 09:13 | 99.24% | 0.30972 |  | 0.30972 | 99.83%
5 | 220 kV Jayanagar - Upper Kolab-II | 0.38681 | 1899-12-31 01:55 | 1899-12-31 11:12 | 99.2% | 0.87083 |  | 0.87083 | 99.52% | 0.73056 |  | 0.73056 | 99.6%
6 | 220 kV Jayanagar - PGCIL - I | 0.26806 | 0.55972 | 0.82778 | 99.55% | 0.45347 | 0.033333 | 0.48681 | 99.73% | 1899-12-31 00:20 | 1899-12-31 12:08 | 1900-01-01 12:28 | 98.62%
7 | 220 kV Jayanagar - PGCIL-II | 0.60833 |  | 0.60833 | 99.67% | 0.43264 | 0.013889 | 0.44653 | 99.76% | 1899-12-31 00:20 | 0.33681 | 1899-12-31 08:25 | 99.26%
8 | 220 kV Therubali - Jayanagar - I | 0.54306 | 1900-01-02 01:23 | 1900-01-02 14:25 | 98.03% | 0.62986 | 1899-12-31 18:03 | 1900-01-01 09:10 | 98.69% | 0.3875 |  | 0.3875 | 99.79%
9 | 220 kV Therubali - Jayanagar - II | 1899-12-31 15:57 | 0.4625 | 1900-01-01 03:03 | 98.83% | 1900-01-01 00:07 | 0.049306 | 1900-01-01 01:18 | 98.87% |  | 0.30556 | 0.30556 | 99.83%
10 | 220 kV Therubali - Jayanagar - III |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
11 | 220 kV Therubali - Bhanjanagar - I | 1899-12-31 08:33 | 0.34375 | 1899-12-31 16:48 | 99.07% |  | 1900-01-01 02:12 | 1900-01-01 02:12 | 98.85% |  | 0.16667 | 0.16667 | 99.91%
12 | 220 kV Therubali - Bhanjanagar - II | 1899-12-31 08:34 | 0.175 | 1899-12-31 12:46 | 99.16% | 0.54514 | 1900-01-01 23:30 | 1900-01-02 12:35 | 98.07% |  | 1899-12-31 22:34 | 1899-12-31 22:34 | 98.94%
13 | 220 kV Therubali - Indravati - I | 1899-12-31 04:43 |  | 1899-12-31 04:43 | 99.34% | 0.69097 |  | 0.69097 | 99.62% |  | 0.14236 | 0.14236 | 99.92%
14 | 220 kV Therubali - Indravati - II | 1899-12-31 04:44 |  | 1899-12-31 04:44 | 99.34% |  |  | 0 | 100% |  |  | 0 | 100%
15 | 220 kV Therubali - Indravati - III |  | 0.14236 | 0.14236 | 99.92% | 1899-12-31 02:05 | 0.017361 | 1899-12-31 02:30 | 99.39% |  | 1900-01-03 10:25 | 1900-01-03 10:25 | 97.57%
16 | 220 kV Therubali - Indravati - IV |  | 0.30347 | 0.30347 | 99.83% | 0.79236 | 1900-01-02 05:25 | 1900-01-03 00:26 | 97.8% |  | 0.0625 | 0.0625 | 99.97%
17 | 220 kV Therubali - Narendrapur - I |  |  | 0 | 100% |  | 0.020833 | 0.020833 | 99.99% | 0.64931 | 1900-01-02 10:18 | 1900-01-03 01:53 | 97.77%
18 | 220 kV Therubali - Narendrapur - II |  |  | 0 | 100% |  | 1900-01-04 14:10 | 1900-01-04 14:10 | 96.94% | 1900-01-01 12:29 | 1899-12-31 07:00 | 1900-01-02 19:29 | 97.91%
19 | 132 kV Jayanagar - Rayagada |  |  | 0 | 100% | 0.85486 | 0.0097222 | 0.86458 | 99.53% |  | 0.35694 | 0.35694 | 99.8%
20 | 132 kV Jayanagar - Sunabeda |  | 2:22 | 0.098611 | 99.95% | 0.96736 | 0.05 | 1899-12-31 00:25 | 99.44% | 0.30347 | 0.64097 | 0.94444 | 99.48%
21 | 132 kV Jayanagar - Damonjodi |  |  | 0 | 100% | 0.29722 | 0.20278 | 0.5 | 99.73% | 1899-12-31 19:44 | 0.063889 | 1899-12-31 21:16 | 98.97%
22 | 132 kV Sunabeda - Damonjodi |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
23 | 132 kV Machkund - Jayanagar | 1:08 |  | 0.047222 | 99.97% | 1899-12-31 05:26 |  | 1899-12-31 05:26 | 99.33% |  | 1899-12-31 09:05 | 1899-12-31 09:05 | 99.24%
24 | 132 kV Jayanagar -Tentulikhunti | 4:59 |  | 0.20764 | 99.89% | 0.85833 |  | 0.85833 | 99.53% | 0.12153 | 0.14653 | 0.26806 | 99.85%
25 | 132 kV Jayanagar - Traction | 0:31 | 2:53 | 0.14167 | 99.92% |  | 0.064583 | 0.064583 | 99.96% |  | 0.063889 | 0.063889 | 99.96%
26 | 132 kV Therubali - Kesinga |  |  | 0 | 100% | 0.6875 |  | 0.6875 | 99.62% | 0.18611 |  | 0.18611 | 99.9%
27 | 132 kV Kesinga - Bolangir |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
28 | 132 kV Kesinga - Junagarh |  | 14:03 | 0.58542 | 99.68% | 1899-12-31 13:17 |  | 1899-12-31 13:17 | 99.15% | 0.35764 | 1899-12-31 18:25 | 1900-01-01 03:00 | 98.84%
29 | 132 kV Kesinga - Khariar | 10:35 |  | 0.44097 | 99.76% | 1899-12-31 05:00 |  | 1899-12-31 05:00 | 99.34% | 0.083333 |  | 0.083333 | 99.95%
30 | 132 kV Kesinga - Powmax |  |  | 0 | 100% | 0.6875 |  | 0.6875 | 99.62% | 0.18611 |  | 0.18611 | 99.9%
31 | 132 kV Therubali - Rayagada |  |  | 0 | 100% |  | 0.13 | 0.13 | 99.93% | 0.09375 |  | 0.09375 | 99.95%
32 | 132 kV Therubali - J.K.Paper | 0.22222 | 0.27222 | 0.49444 | 99.73% |  | 0.26667 | 0.26667 | 99.85% |  |  | 0 | 100%
33 | 132 kV Therubali - IMFA | 0.22292 |  | 0.22292 | 99.88% |  | 0 | 0 | 100% | 0.64931 |  | 0.64931 | 99.64%
34 | 132 kV Akhusingi - Parlakhemundi |  | 0.3 | 0.3 | 99.84% | 0.33958 | 0.6875 | 1899-12-31 00:39 | 99.44% | 0.55833 |  | 0.55833 | 99.69%
35 | 132 kV Rayagada - Akhusingh |  |  | 0 | 100% | 0.50833 | 1900-01-01 02:45 | 1900-01-01 14:57 | 98.56% | 1899-12-31 14:35 | 1899-12-31 22:30 | 1900-01-02 13:05 | 98.06%