## 132 kV UG cables
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 1 - Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Country of Origin | Unit | Qty. | Unit Price1 |  | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency | CIF or CIP | Foreign Currency | Local Currency
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. |  | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. |  | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. |  | Nos | 168
1.4 | Supply of Straight joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. |  | Nos | 132
1.5 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification |  | Nos | 12
1.6 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification |  | Nos | 12
1.7 | Supply of High Density Polyethylene(HDPE) pipe 315mm diameter for Road/Railway crossing as per specification |  | Kms | 10
1.8 | Supply of 132 kV Cable trench Slab/Tiles of Size 1000mm X 300mm X 50mm RCC type as per drawing |  | Kms | 47
1.9 | Supply of materials for 132KV Bay Extension
1.9.1 | Supply of 132kV SF6 CB as per Tech. Spec |  | Nos | 4
1.9.2 | Supply of 132kV LA as per Tech. Spec |  | Nos | 4
1.9.3 | Supply of 132kV CT as per Tech. Spec |  | Nos | 4
1.9.4 | Supply of 132kV CVT as per Tech. Spec |  | Nos | 4
1.9.5 | Supply of 132kV CR Panel as per Tech. Spec |  | Nos | 4
1.9.6 | Supply of 132kV D.I with earth switch as per Tech. Spec |  | Nos | 4
1.9.7 | Supply of 132kV S.I without E/S as per Tech. Spec |  | Nos | 4
1.9.8 | Supply of materials for GI Structures for bay |  | MT | 36
1.9.9 | Supply of materials for GI Nuts & bolts for bay |  | MT | 4
1.9.10 | Supply of materials ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. |  | Lot | 4
1.9.11 | Supply of materials for Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. |  | Lot | 4
1.1 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification |  | Nos | 2
TOTAL Column 8 to be carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Country of Origin Declaration Form
Item | Description |  |  |  |  | Country
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Item | Description | Unit | Qty | EXW Unit Price1 | Total EXW Price1 | Sales Tax | Total Sales Tax | Entry | Total Entry Tax | Total Price
[6 empty] | (CST/VAT) | (CST/VAT) | Tax
1 | 2 | 3 | 4 | 5 | 6=4X5 | 7 | 8=5x7 | 9 | 10=4x9 | 11=6+8+10
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. | Nos | 168
1.4 | Supply of Straight joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. | Nos | 132
1.5 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification | Nos | 12
1.6 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification | Nos | 12
1.7 | Supply of High Density Polyethylene(HDPE) pipe 315mm diameter for Road/Railway crossing as per specification | Kms | 10
1.8 | Supply of materials for 132 kV Cable trench Slab/Tiles of Size 1000mm X 300mm X 50mm RCC type as per drawing | Kms | 47
1.9 | Supply of materials for 132KV Bay Extension
1.9.1 | Supply of 132kV SF6 CB as per Tech. Spec | Nos | 4
1.9.2 | Supply of 132kV LA as per Tech. Spec | Nos | 4
1.9.3 | Supply of 132kV CT as per Tech. Spec | Nos | 4
1.9.4 | Supply of 132kV CVT as per Tech. Spec | Nos | 4
1.9.5 | Supply of 132kV CR Panel as per Tech. Spec | Nos | 4
1.9.6 | Supply of 132kV D.I with earth switch as per Tech. Spec | Nos | 4
1.9.7 | Supply of 132kV S.I without E/S as per Tech. Spec | Nos | 4
1.9.8 | Supply of materials for GI Structures for bay | MT | 36
1.9.9 | Supply of materials for GI Nuts & bolts for bay | MT | 4
1.9.10 | Supply of materials ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. | Lot | 4
1.9.11 | Supply of materials for Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. | Lot | 4
1.1 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
TOTAL Column 6 tobe carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 4 - Installation and Other Services
Item | Description | Unit | Qty. | Unit Price1 |  | Total Price1 |  | Unit Service Tax | Total Service Tax
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Local Currency Portion
1 | 2 | 2 | 3 | 4 | 5 | 6=3x4 | 7=3x5 | 8 | 9
1 | Transporting, Storing, Laying, Testing and Commissioning of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm and Single Core 630 sq.mm Copper.
1.1 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Cable laying through open trench method 132 kV Single Core Cable 800 Sq mm and 630 Sq mm Copper | Kms | 46.8
1.2 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Underground Cable laying through HDD method for 315mm dia HDPE Pipe | Kms | 10
1.3 | Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 800 sq. mm. Copper Cable | Set | 56
1.4 | Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 630 sq. mm. Copper Cable | Set | 44
1.5 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 800 sq. mm. Copper Cable | Set | 2
1.6 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 630 sq. mm. Copper Cable | Set | 2
1.7 | Making, Transporting, Storing, and laying of RCC slab/tile Size 1000mm X 300mm X 50mm RCC type covering over Cable trench | Kms | 47
1.8 | Reconstruction of damaged Road and other utilities to bring it's original shape after laying of cable in open trench. | Kms | 30
1.9 | Marking of Underground Cable route including Civil works (As per requirement) | Kms | 52
1.9 | Transporting, Storing, Erection, Testing and Commissioning of materials for 132KV Bay Extension
1.9.1 | Transporting, Storing, Erection, Testing and Commissioning of 132kV SF6 CB | Nos | 4
1.9.2 | Transporting, Storing, Erection, Testing and Commissioning of 132kV LA | Nos | 4
1.9.3 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CT | Nos | 4
1.9.4 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CVT | Nos | 4
1.9.5 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CR Panel | Nos | 4
1.9.6 | Transporting, Storing, Erection, Testing and Commissioning of 132kV D.I with earth switch | Nos | 4
1.9.7 | Transporting, Storing, Erection, Testing and Commissioning of 132kV S.I without E/S | Nos | 4
1.9.8 | Transporting, Storing, Erection, Testing and Commissioning of GI Structures for bay | MT | 36
1.9.9 | Transporting, Storing, Erection, Testing and Commissioning of ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. | lot | 4
1.9.10 | Transporting, Storing, Construction of Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. | lot | 4
1.11 | Transporting, Storing, Erection, Testing and Commissioning of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
TOTAL Columns 6 and 7 tobe carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 5 - Grand Summary
Schedule No. | Title | Total 1
|  | Foreign | Local
1 | Plant and Mandatory Spare Parts Supplied from Abroad
2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
3 | Design Services
4 | Installation and Other Services
GRAND TOTAL to be carried forward to Letter of Bid