ODISHA POWER TRANSMISSION CORPORATION LIMITED

VOL-II

(PART-II)

- PACKAGE: 11/2013-14 - “CONSTRUCTION OF 1 NO. 220 KV TRANSFORMER BAY WITH INSTALLATION OF ONE NO. 20MVA 220/33 KV TRANSFORMER ALONGWITH 3 NOS 33 KV FEEDER BAY AT 220/33 KV GRID SUB-STATION, LAXMIPUR ON TURNKEY BASIS”.

GUARANTEED TECHNICAL PARTICULARS

NOTICE INVITING TENDER-NIT NO. 11 / 2013-14

TENDER SPECIFICATION NO Sr.GM-CPC-TENDER-LAXMIPUR PACKAGE-11 / 2013-14.

GUARANTEED TECHNICAL PARTICULARS

(TO BE FILLED AND SUBMITTED BY BIDDERS WITH THE TECHNICAL BID)

GUARANTEED TECHNICAL PARTICULARS

IVT AND CVT

GUARANTEED TECHNICAL PARTICULARS.

| Sl. No | Description. | 220KV IVT | 132KV IVT | 33KV IVT | 400 KV /220KV CVT | 132KV CVT |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3P/0.2 Accuracy Class | 3P/0.2 Accuracy Class | 0.2 Accuracy Class | 3P/3P/0.2 Accuracy Class. | 3P/3P/0.2 Accuracy Class. |
| 1 | Bidder’s name and address. |  |  |  |  |  |
| 2 | Name and address of the Manufacturer. |  |  |  |  |  |
| 3 | Manufacturer’s type and designation. |  |  |  |  |  |
| 4 | Standards applicable. |  |  |  |  |  |
| 5 | Type of IVT/CVT |  |  |  |  |  |
| 6 | Rated primary voltage (kv). |  |  |  |  |  |
| 7 | Rated secondary voltage (volts). |  |  |  |  |  |
| 7.1 | Winding-I. |  |  |  |  |  |
| 7.2 | Winding-II. |  |  |  |  |  |
| 7.3 | Winding-III. |  |  |  |  |  |
| 8 | Rated frequency [HZ]. |  |  |  |  |  |
| 9 | Rated burden:- Protection Winding Protection Winding Metering Winding |  |  |  |  |  |
| 10 | Number of secondary windings. |  |  |  |  |  |
| 11 | Accuracy class. |  |  |  |  |  |
| [I] | [protection] Winding |  |  |  |  |  |
| [II] | [metering] Winding |  |  |  |  |  |
| 12 | Rated voltage factor for continuous operation at rated frequency. |  |  |  |  |  |
| 13 | Rated voltage factor for 30 seconds at rated frequency. |  |  |  |  |  |
| 14 | One minute dry and wet power frequency withstand voltage for primary side [kv] rms. |  |  |  |  |  |
| 15 | One minute power frequency withstand voltage for secondary winding [kv] rms. |  |  |  |  |  |
| 16 | 1.2/50 micro- second impulse withstand test voltage for primary side |  |  |  |  |  |
| 17 | Temperature rise over an ambient temperature of 50C |  |  |  |  |  |
| [a] | With 1.2 times rated primary voltage at rated frequency and at rated burdens. [I] Winding [C] [II] Oil [C] [III] Other parts [C] |  |  |  |  |  |
| [b] | With 1.5 times rated primary voltage for 30 seconds at rated frequency and at rated burdens. [I] Winding [C] [II] Oil [C] [III] Other parts [C] |  |  |  |  |  |
| 18 | Class of insulation. |  |  |  |  |  |
| 19 | Total creepage distance in (mm) |  |  |  |  |  |
| 20 | Maximum radio interference voltage at 1.1 times maximum line to ground voltage (micro volts) |  |  |  |  |  |
| 21 | Corona inception and extinction voltage (kv) rms |  |  |  |  |  |
| 22 | Partial discharge level (piccocoulombs) |  |  |  |  |  |
| 23 | Primary.[For 220KV, 132KV & 33KV IVT] - No. of primary turns - Material of primary - Size of the primary conductor bare/insulated. - Cross sectional area of primary conductor (sq.mm) - Current density adopted for primary winding(A/sq.mm) - Type of primary winding. - Name of the insulating materials used for primary conductor. - Weight of primary winding. |  |  |  |  |  |
| 24 | Secondary. [For 220KV, 132KV & 33KV IVT] (a)No. of secondary turns (b) Material of secondary © Size of the secondary conductor bare /insulated. (d)Cross sectional area of secondary conductor (mm) (e)Current density adopted for secondary winding(A/mm) (f)Type of secondary winding (g)Name of the insulating materials used for secondary conductor. (h)Weight of secondary winding. |  |  |  |  |  |
| 25. | Core. [For 220KV, 132KV & 33KV IVT] (a)Shape of the core (b)Material and grade of the core laminations (c)Thickness of the core lamination (mm) (d)Maximum flux density adopted (Tesla) (e)Net iron area of the core (f)Watt loss/kg. for the core materials at the operating flux density(W/kg) (g) Total weight of the core(kg) (h)Whether B-H curve for core material enclosed? (i)Whether specific loss vrs. Flux density curve enclosed ? |  |  |  |  |  |
| 26 | INSULATION. .[For 220KV, 132KV & 33KV IVT] (a) Insulation between core and secondaries. (b) Insulation between secondaries. © Insulation between secondary and primary. (d) Insulation between primary .and core. |  |  |  |  |  |
| 27 | DIMENSIONS OF CORE AND WINDINGS. .[For 220KV, 132KV & 33KV IVT] (a)Diameter of the core (mm) (b)Inner diameter of the secondary windings(mm) (c) Outer diameter of the secondary windings (mm) (d) Inner diameter of the primary winding(mm) (e) Outer diameter of the primary winding(mm) (f) Minimum clearance from primary winding to tank(mm) (g) Minimum clearance from secondary winding to tank(mm) |  |  |  |  |  |
| 28. | Percentage voltage ratio (error)/phase displacement (min.)at 100% rated burden at 0.8PF lagging for measuring winding. - 80% of rated voltage at frequency:- - 120% of rated voltage at frequency:- - Accuracy of standard PT to be used. during determination of errors (0.05 or better. | , . |  |  |  |  |
| 29. | Percentage Voltage ratio /phase displacement (min.)at 25% rated burden at 0.8PF lagging for measuring winding. - 80% of rated voltage at rated frequency:- - 120% of rated voltage at rated frequency:- | . |  |  |  |  |
| 30. | Percentage voltage (ratio)error /phase displacement (min.) at 100% rated burden at 0.8PF lagging for protection winding (a)5% of rated voltage. (b)1.2 times rated voltage ( c)1.5 times rated voltage - 2% of rated voltage.. |  |  |  |  |  |
| 31. | Percentage voltage (ratio) error /phase displacement (min) at 25% of rated burden at 0.8PF lagging for protection winding (a)5% of rated voltage (b)1.2 times rated voltage. ©1.5 times rated voltage. (d) 2% of rated voltage. |  |  |  |  |  |
| 32. | Whether IVT/CVT is suitable for horizontal transportation. |  |  |  |  |  |
| 33. | Quantity of oil per IVT/ CVT (Ltrs/kg) |  |  |  |  |  |
| 34. | Standard to which oil conforms. |  |  |  |  |  |
| 35. | Characteristic of oil(Prior to filling) |  |  |  |  |  |
| 35.1. | Breakdown voltage (kv-rms) |  |  |  |  |  |
| 35.2. | Dielectric dissipation constant tan delta) |  |  |  |  |  |
| 35.3 | Water content(PPM) |  |  |  |  |  |
| 35.4 | Gas content(PPM) |  |  |  |  |  |
| 35.5 | Interfacial tension at 27 degree C(N/m) |  |  |  |  |  |
| 35.6 | Specific resistance. |  |  |  |  |  |
| 35.6.1 | At 90 deg.C(ohm-cm) |  |  |  |  |  |
| 35.6.2 | At 27 deg.C(ohm-cm) |  |  |  |  |  |
| 36. | Whether IVTS are hermetically sealed ? If so how ? |  |  |  |  |  |
| 37. | Total Weight (kg) |  |  |  |  |  |
| 38. | Transport weight (kg) |  |  |  |  |  |
| 39. | Dimensional details. |  |  |  |  |  |
| 40 | Whether IVT characteristic curves enclosed? |  |  |  |  |  |
| 41. | TANK AND SECONDARY TERMINAL BOX. |  |  |  |  |  |
| 41.1 | Material of the IVT/ CVT tank |  |  |  |  |  |
| 41.2 | Material of the secondary terminal box. |  |  |  |  |  |
| 41.3 | Thickness of the IVT/ CVT tank material. |  |  |  |  |  |
| 41.4 | Thickness of the secondary terminal box material. |  |  |  |  |  |
| 41.5 | Zinc coating of IVT/ CVT tank(g/sq.m) |  |  |  |  |  |
| 41.6 | Zinc coating of the secondary terminal box (g/sq.m) |  |  |  |  |  |
| 41.7 | Weather proof rating of secondary terminal box. |  |  |  |  |  |
| 41.8 | Weight of tank fitting and other accessories. |  |  |  |  |  |
|  | TERMINAL CONNECTORS |  |  |  |  |  |
| 01. | Manufacturer’s name |  |  |  |  |  |
| 02. | Applicable standards., |  |  |  |  |  |
| 03. | Type. |  |  |  |  |  |
| 04. | Material of connector. (a)Clamp body. (b)Bolts and Nuts. (c ) Spring Washers |  |  |  |  |  |
| 05. | Rated current. |  |  |  |  |  |
| 06. | - Rated terminal load(kg) - Factor of safety. |  |  |  |  |  |
| 07. | Minimum thickness of any part(mm) |  |  |  |  |  |
| 08. | Weight of connector complete with hardware. |  |  |  |  |  |
| 09. | Type test reports as per IS enclosed. |  |  |  |  |  |
| 10. | OGA drawing enclosed. |  |  |  |  |  |
|  | BUSHING/SUPPORT INSULATOR |  |  |  |  |  |
| 01 | Manufacturer’s name |  |  |  |  |  |
| 02. | Type. |  |  |  |  |  |
| 03. | Applicable standards. |  |  |  |  |  |
| 04 | Dimensions: (i)Height(mm) (ii)Diameter(top)(mm) (iii)Diameter( bottom)(mm) |  |  |  |  |  |
| 05 | Total creepage distance (mm). |  |  |  |  |  |
| 06. | Rated voltage(KV)(rms) |  |  |  |  |  |
| 07. | Power frequency withstand voltage for (1 minute dry and wet(KV/rms) |  |  |  |  |  |
| 08. | 1.2/50 micro-second Impulse withstand voltage (KVP) |  |  |  |  |  |
| 09. | Corona Extinction voltage(kv) |  |  |  |  |  |
| 10. | Weight(kg) |  |  |  |  |  |
| 11. | Maximum allowable span (mm) |  |  |  |  |  |
| 12. | Cantilever strength(kg) |  |  |  |  |  |
| 13. | OGA drawing enclosed. |  |  |  |  |  |

ADDITIONAL TECHNICAL REQUIREMENT FOR 400 KV,220KV & 132KV CVT

1.	Rated capacitance of the CVT

2.	High frequency capacitance for entire

carrier frequency range.

3.	Equivalent series resistance over the entire

frequency.

4.	Stray capacitance and stray conductance of the

LV terminal over entire carrier frequency range.

5.	Capacitance (PF) /Tan delta between:-

- HV-HF point

- HF point-Ground point of

International Transformer.

- HV-Ground point of Intermediate

Transformer winding.

6.	Capacitive reactance of the two parts of

the divider i.e. High voltage capacitor,

and Intermediate voltage capacitor,

connected in parallel.

7.	Total Inductive reactance, offered by CVT.

8.	Voltage ratio of the capacitor divider.

9.	Open circuit Intermediate voltage.

- Rated open circuit Intermediate voltage.

11.	Reference range of temperatures within

which the CVT complies with the relevant

accuracy requirements.

12.	Protective device, in-corporate in the CVT

for limiting over voltages and/or to prevent

sustained Ferro resonance.

13.	Rated voltage of Surge Arrester, connected

at the secondary of CVT.

14.	Natural frequency of coupling (KHZ).

15.	Self tuning frequency of CVT (KHZ).

16.	Bandwidth (KHZ).

17.	Temperature rise over ambient.

18.	One minute power frequency test voltage

of secondary winding (KV).

19.	One minute power frequency test voltage

of H.F. terminal (KV).

20.	One minute power frequency test voltage

of capacitor (dry & wet) (KV).

21.	1.2/50/micro second Impulse withstand test voltage

of capacitor (KVP).

22.	250/2500 micro second switching surge

withstand voltage of capacitor (dry & wet).

23.	Literature

Whether the followings are enclosed?

  - Type Test reports as per IEC 186.

23.2	OGA drawing of CVT and terminal

connector.

23.3	Characteristic curves.

23.4	Drawing showing clearance from

earthed object.

23.5	Details of Surge Arrester, connected

at secondary winding of CVT.

24.	ELECTROMAGNENIC UNIT:-

  - CORE:-

- Core diameter (mm)

- Window Weight (mm)

- Leg centre (mm)

- Net cross sectional area of iron

In the core (mm² )

- Core lamination thickness (mm)

- Type & grade of core.

- Design flux density at rated voltage.

And rated frequency (Tesla)

- Design flux density at highest system voltage

& lowest system frequency (Tesla).

- Minimum knee point voltage (volts).

24.2	PRIMARY WINDING:-

- No. of turns.

- Bare size of conductor

- Insulated size of conductor.

- Area of cross section.

- Current  density (A/ mm²).

- Conductor material.

- Class of insulation.

- Power frequency withstand level.

(KV-rms).

- Impulse withstand level (KVP).

24.3	Secondary Winding				Protection		Protection	Metering

Winding		Winding	Winding.

- No.of turns

- Bare conductor size (mm)

- Insulated conductor size (mm)

- Cross-sectional area (sq.mm)

- Current density (A/ mm²)

- Conductor material.

- Class of Insulation.’

- Power frequency withstand

Level (KV-rms).

Signature of the Tenderer

with seal and date.

### ANNEXURE –B.

CALIBRATION STATUS OF TESTING EQUIPMENTS AND INSTRUMENTS/METERS.

| Name of the test. | Meters and equipments required for the correspondi-ng test with range, accuracy, make and Sl. No. | Date of Calibra- tion. | Due date of Cali- bration. | Name of the Cali- brating Agency. | Whether Calibrat- ing Agency is Govt. Approv- ed. | Whether documents relating to Govt. Approval of the cali-brating Agency furnished ? | Whether the meters/ equipment fulfill the accuracy class as per calibration report | Whether the calibra ting agency has put any limitation towards the use of the particular meter/equipment. If yes, state the limitations. | Whether green sticker or blue sticker or yellow sticker has been affixed on the body of the particular equipment/meter. State the colour of the affixed sticker. | Inspite of imposed limitations,, whether the particular meter/equipment can still be used ? Justify its use for corresponding test(s). | Rema rks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |

Signature of the tenderer with seal and date.

ANNEXURE-C

CHECK LIST TOWARDS TYPE TEST REPORTS.

| Name of the Type Test. | Date of Test. | Name of the Laboratory where the Test has been conducted. | Whether the Laboratory is Government Approved. | Whether the Test reports are valid as per Clause No.8.1 of T.S. | Whether the copy of Test Report in complete shape alongwith drawings etc. furnished or not ? | Whether the Tested I.V.T. fulfills the technical require-ments as per TS. | # If the type tested I.V.T does not fulfill the technical requirements as per this specification, whether the bidder agrees to conduct the particular test(s) again at their own cost without any financial liability to OPTCL in the presence of OPTCL’s representative within the specified delivery period. | # Re mark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Signature of the Tenderer with seal   and date.

GUARANTEED TECHNICAL PARTICULARS

BATTERY AND BATTERY CHARGER

ANNEXURE – I

SCHEDULE OF GUARANTEED TECHNICAL PARTICULARS

FOR 220V LEAD ACID PLANTE  STORAGE BATTERY.

[To be filled in by the bidder]

350AH/550AH

Values/Others

| 1. | Manufacturer’s Name and address alongwith Fax No. & Tele phone No. |  |
| --- | --- | --- |
| 2. | Conforming to standards |  |
| 3. | Type and designation as per ISS |  |
| 4. | Manufacturer’s type and designation |  |
| 5. | AH capacity and voltage of the battery at 27 deg.C. |  |
| [a] | At 10 hour rate of discharge. |  |
| [b] | At 5 hours rate of discharge. |  |
| [c] | At 1 hour rate of discharge |  |
| [d] | At 1 minute rate of discharge. |  |
| [e] | At ½ hour rate of discharge. |  |
| 6. | Open circuit voltage of each battery cell. |  |
| [a] | Fully charged |  |
| [b] | Floating condition. |  |
| [c] | When completely discharged at. |  |
| [i]. | 10hr. rate. |  |
| [ii]. | 5 hour rate |  |
| [iii] | 1 hour rate |  |
| [iv] | ½ hr. rate |  |
| [v]. | 1 minute rate |  |
| [vi] | 1-second rate. |  |
| 7. | Recommended float charging voltage [volts] across the battery terminals. |  |
| 8. | Recommended boost charging voltage [volts]. |  |
| 9. | Time required for boost charging from discharged conditions [in hours] |  |
| 10. | Trickle charging Current range/cell |  |
| 11. | AH capacity at 10 hour rate at 10 hour rate at room temperatures of : |  |
| [a] | 15 deg C. |  |
| [b] | 27 deg C. |  |
| [c] | 50 deg C. |  |
| 12. | CELL DETAILS |  |
| [i]. | No. of cells per battery |  |
| [ii]. | Total nos. of plates per cell. |  |
| [iii] | No. of positive plates per cell. |  |

| (iv) | Type of positive plate |  |
| --- | --- | --- |
| (v) | No. of negative plates per cell |  |
| (vi) | Type of negative plate |  |
| (vii) | Surface area of plates in sq. mm. |  |
| (viii) | CONSTRUCTIONAL DETAILS AND DIMENSIONS OF |  |
| (a) | Positive plate |  |
| (b) | Negative plate |  |
| (c) | Material of the container |  |
| (d) | Thickness of the container |  |
| (e) | Overall dimensions of each cell (LxBxH) |  |
| ix. | Weight per Cell (Kg) |  |
| (a) | Active elements-positive |  |
| (b) | Active elements-Negative |  |
| (c) | Container |  |
| (d) | Net dry weight |  |
| (e) | Weight with electrolyte |  |
| x. | Distance between centre of cells where erected. |  |
| xi. | Nominal cell voltage. |  |
| xii. | Internal resistance of each cell at |  |
| (a) | Fully charged condition |  |
| (b) | Fully discharged condition |  |
| (c) | Floating condition |  |
| 13. | Type, Thickness and materials of the separators |  |
| 14. | Containers |  |
| (a) | Type |  |
| (b) | Material |  |
| (c) | Outside dimensions (LxBxH) |  |
| 15. | Cover and its type and material |  |
| 16. | Clearance in mm between |  |
| (a) | Top of plates and top of container |  |
| (b) | Bottom of plates and bottom of container |  |
| (c) | Edges of plates and inner surface of container. |  |
| 17. | Sediment space (depth) in mm |  |
| 18. | ELECTROLYTE |  |
| (a) | Amount of electrolyte and specific gravity at 27 deg. C for first filling. |  |
| (b) | First filling per set with 10% of extra furnished. |  |
| (c) | Electrolyte conforms to standard |  |
| (d) | Rated specific gravity of electrolyte when fully charged at room’s temperature of |  |
| (i) | 15 deg. C |  |
| (ii) | 27 deg. C |  |
| (iii) | 50 deg C. |  |
| (e) | Specific gravity of electrolyte at the end of discharge at 10 hour discharge rate. |  |
| (f) | Maximum electrolyte temp. that the cells can withstand without injurious effect. |  |
| (i) | Continuously |  |
| (ii) | For short period |  |
| 19. | INTER CELL CONNECTOR |  |
| (a) | Whether Inter-cell connector to be furnished ? (Yes / No) |  |
| (b) | Type of inter-cell connector (bolted or others) |  |
| (c) | Materials of inter cell connector |  |
| 20. (a) | Inter row, inter-tier connectors and end take-off furnished ? (Yes / No) |  |
| (b) | Description, size, current rating, type and material. |  |
| 21. | RACKS |  |
| (a) | No. of racks per battery |  |
| (b) | No. of cells per rack |  |
| (c) | Type of racks (rows and tiers) |  |
| (d) | Material of the rack |  |
| (e) | Racks provided with |  |
| (i) | Numbering tags for cell |  |
| (ii) | Teak wood clamps for cables |  |
| (f) | Whether anti-acid coating provided ? |  |
| (g) | Description of rack insulators |  |
| (h) | Outline dimensions of racks |  |
| (i) | Net weight of racks |  |
| (j) | Shipping weight |  |
| 22. | Recommended rate for charging the battery in 8 hours. | Start Finish |
| (a) | Current |  |
| (b) | Voltage |  |
| 23. | Recommended float charge rate |  |
| 24. | Resistance of the battery including inter-connector between the cells in ohms. |  |
| 25. (a) | Maximum short circuit current per battery |  |
| (b) | Allowable duration of short circuit |  |
| 26. | Short circuit current for a dead short across the battery terminals when |  |
| (a) | Float at 2.1 volts per cell. |  |
| (b) | Boost charge to 2.75 volts per cell. |  |
| 27.(a) | Time to full charge at finishing rate only |  |
| (b) | Time to full charge at higher starting rate |  |
| (c) | Time for full charge to charge by two step charging at starting up and finishing rates |  |
| 28. | Guaranteed AH efficiency at 10 hour rate of discharge in percent. |  |
| 29. | Guaranteed WH efficiency at 10 hour rate of discharge in percent. |  |
| 30. | Instructions for filling and initial charging of the battery with finishing and two step charging rates. |  |
| 31. | Recommended interval at which battery should be discharged at 10 hour rate and quick charged. |  |
| 32. | Recommended floating voltage per cell and the minimum variation. |  |
| 33. | Recommended maximum period of storage before the first charge. |  |
| 34. | Average life in years |  |
| 35. | Guaranteed life of battery in years. |  |
| 36. | Estimated life of battery in years. |  |
| 37. | Total shipping weight of battery units |  |
| 38. | Dimensioned lay-out drawings of the rack and battery to be attached with the tender. (Whether furnished ? Yes / No) |  |
| 39. | The following characteristic curves, to be furnished alongwith the tender (whether furnished) |  |
| (a) | Battery discharge curves at various rates between one minute and 10 hour rate. (Yes / No.) |  |
| (b) | Curves showing the relation between the specific gravity and amount of charge in the battery for both charging and discharging conditions. (Yes / No) |  |
| (c) | Curves showing the relation between cell voltage and charging current when charged at |  |
| (i) | Finishing rate (Yes/ No) |  |
| (ii) | High starting rate (Yes/ No) |  |
| (iii) | Two step charging by starting and finishing rate (Yes / No) |  |
| (d) | Curve of internal resistance at the end of various discharge rates (Whether furnished (Yes / No) |  |

ANNEXURE – II

GUARANTEED TECHNICAL PARTICULARS FOR

BATTERY CHARGER (220 V D.C. SYSTEM) SUITABLE

FOR SPECIFIED LEAD ACID PLANTE STORAGE BATTERY

(To be filled in by the Bidder)

Values/ Others

- Manufacturer’s Name

- Rated output of the charger

  - Voltage (volts)

  - Current (amps)

  - Power factor

- Short time rating

- Type of cooling

- Hottest stack temperature (0C)

- Charger dimensions

  - Height (mm)

  - Depth (mm)

  - Width (mm)

  - Sheet thickness (mm)

- Charger weight

- Charger rated output current

  - Float charging mode

  - Boost charging mode

- Load limiter current setting range (Trickle mode)

- RECTIFIER TRANSFORMER 	Float 		Boost

Charger 	Charger

  - Make

  - Type

  - Rated KVA

  - Over current impedance (ohms)

  - Input line winding connection

in vector representation

  - Rated primary voltage (volts)

  - Rated secondary voltage (volts)

  - Rated frequency (Hertz.)

  - Rated output (amps)

  - Turn ratio

  - Insulation level

  - Impulse withstand test voltage (KVP)

  - One minute power frequency over voltage.

- Primary winding (KV-rms).

- Secondary winding (KV-rms)

  - Material of primary winding conductor

  - Material of secondary winding conductor

  - Size, Cross-sectional area and current density of primary winding conductor.

  - Size, cross-sectional area and current density of secondary winding conductor

  - No. of turns of primary / phase

  - No. of turns of secondary / phase

  - Name of the insulating materials used and class

  - Core

    - Name of the core material

    - Grade of the core

    - Thickness of core material (mm)

  - Maximum temperature rise over an ambient temperature of 500C

- Primary Winding (0C)

- Secondary Winding (0C)

- Core (0C)

  - standards applicable

- RECTIFIER ASSEMBLY :

11.1	Make

  - Type of semi conductor material

  - Rated direct current per cell (A)

  - Rated direct voltage (V)

  - Rated input voltage (V)

  - Type of connections of rectifier elements.

  - Forward power loss and reverse power loss (watts).

  - Forward voltage drop and reverse voltage drop (volts)

  - Conversion efficiency (%)

  - Rated DC output voltage (V)

  - Rated AC input voltage (V)

  - Rated output current (A)

  - Ripple factor

  - Voltage factor

  - Current factor

  - Maximum temperature rise over an ambient temperature of 500C (0C)

  - Maximum permissible ambient temperature for guaranteed rating (0C)

  - Maximum and minimum permissible humidity rating (%)

  - Life expectancy (years)

  - Standard(s) applicable

  - Characteristic curve of DC output plotted against output current (Whether submitted ?) Yes / No.

- AUTOMATIC VOLTAGE REGULATOR

12.1	manufacturer’s name

  - Manufacturer’s type

  - Percentage stabilisation of the rectifier with the help of AVR when

- Input voltage changes with  of its nominal value.

- DC output of the rectifier varies from no-load to full load.

  - Rated output voltage

  - Allowable AC frequency fluctuations

  - Voltage setting range

  - Response time of automatic voltage regulator

- Manual voltage regular (float mode)

  - Type

  - Voltage setting range

- Boost charging current setting range

- Boost charging limit setting range

- DIODES

16.1	Manufacturer’s name

  - Type of circuit

  - Method of construction

  - Continuous current rating (Amps.)

  - Short time current rating (Amps)

  - Type of cooling

  - Forward power loss and reverse power less (W)

  - Life expectancy

  - Forward voltage drop on rated current

  - Resistance offered for reverse current flow

  - Maximum temperature rise over an ambient temperature of 500 C.

- CONTACTORS / MOULDED CASE CIRCUIT BREAKERS

17.1	Type

  - Make

  - Rated voltage (V)

  - Rated continuous currents (A)

  - Contact material

  - Operating coil

    - Voltage (V)

    - Voltage range and power for closing and holding

    - Voltage range and power for drop off.

  - Thermal trip rating

  - Thermal trip time

  - Details of CT if any

  - Auxiliary contacts

    - Number

    - Current rating

  - Characteristics of back-up HRC fuse

- RELAYS :

18.1	Make and type of protective and alarm relays

- Thermal overload relay

- Input under voltage relay

- Single phasing alarm relay

- Phase reversal relay

- D.C. output over-voltage relay

- D.C. output under voltage relay

- Charger failure relay

- Battery earth fault relay

- A.C. input failure relay (for connecting the D.C. load)

- Fuse failure relay

- Alarm accept relay

  - Rated voltage of each of the above

- AC/DC

- Permissible variation

- Frequency

  - VA burden of each of the above

  - Operating time of each of the above

  - Time vs current curves of each of the above.

(to be enclosed alongwith the offer)

  - Reset time

  - Accuracy

  - Setting range

  - Reset factor

  - Number of contacts

- Normally open

- Normally closed

  - Rating of contacts

- Rated Voltage (V)

- Rated making and breaking

- Continuous rating

  - No. of operations

  - Operation indicator

- INDICATING LAMPS

19.1	Manufacturer’s name

  - Type and designation

  - Permissible voltage variation

  - Rated power consumption (watts).

  - Series resistance, if any

- SWITCHES:

20.1	Manufacturer’s name

  - Ratings

- Continuous current

- Short circuit – making capacity

- Breaking capacity

- Voltage

  - Operating mechanism details

  - Type of visual indication

- OFF and ON position

- Fuse blow out

- FUSES

- Make

- Type

- Rating (Amps)

- Interrupting rating (KA)

- INSTRUMENTS

22.1	Manufacturer’s Name

- Ammeter

- Voltmeter

  - Type

- Ammeter

- Voltmeter

  - Standard

- Ammeter

- Voltmeter

  - Scale range

    - Ammeter

- Float charger

- Boost charger

- Battery float

- Battery boost

    - Volt meter

- Input supply

- Charger output

- Load

  - Size of dial

- Volt meter

- Ammeter

  - Accuracy class

- Volt meter

- Ammeter

  - Temperature at which calibrated

  - Limit of errors

  - Out line dimensions

  - Type of mounting

  - Selector switch for volt meter (AC & DC)

- Make

- Rating

- CAPACITOR

23.1	Manufacturer’s name

  - Type

  - Capacitance (Farad)

  - Maximum temperature rise over an ambient temperature of 500C.

- Reference float voltage at ambient temperature of 270C

- Whether protection is given for float voltage to Avoid low battery voltage due to sensor or circuit Malfunction. (Yes/ No).

ANNEXURE – IV-A

(For Testing of Battery)

(To be filled in by the bidder)

CALIBRATION STATUS OF TESTING EQUIPMENTS AND INSTRUMENTS/ METERS

| Name of the Test | Meters & Equipments required for the corresponding test with range, accuracy, make & Sl. No. | Date of Calibr-ation | Due date of Calibration | Name of the Calibratig Agency | Whether Calibrating Agency is Govt. approved | Whether documents relating to Govt. approval of the calibrating Agency furnished | Whether the meters/ equipments fulfil the accuracy class as per calibration report. | Whether the calibrating agency has put any limitation towards the use of the particular meter/ equipment. If yes, state the limitations | Whether the calibrating agency has put any limitation towards the use of the particular meter/equip-ment/ meter. State the colour of the affixed sticker | Inspite of imposed limitations. Whether the particular meter / equipment can still be used ? Justify its use for corresponding test(s) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |

Signature of the tenderer with seal & date

ANNEXURE – IV-B

(For Testing of Battery Charger)

CALIBRATION STATUS OF TESTING EQUIPMENTS AND INSTRUMENTS/ METERS

| Name of the Test | Meters & Equipments required for the corresponding test with range, accuracy, make & Sl. No. | Date of Calibr-ation | Due date of Calibration | Name of the Calibratig Agency | Whether Calibrating Agency is Govt. approved | Whether documents relating to Govt. approval of the calibrating Agency furnished | Whether the meters/ equipments fulfil the accuracy class as per calibration report. | Whether the calibrating agency has put any limitation towards the use of the particular meter/ equipment. If yes state the limitations | Whether the calibrating agency has put any limitation towards the use of the particular meter/equip-ment/ meter. State the colour of the affixed sticker | Inspite of imposed limitations. Whether the particular meter / equipment can still be used ? Justify its use for corresponding test(s) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |

Signature of the tenderer with seal & date

ANNEXURE  V – A

CHECK LIST TOWARDS TYPE TEST REPORTS FOR BATTERY

| Name of the Type Test | Date of Test | Name of the Laboratory where the Test has been conducted | Whether the Laboratory is Government approved | Whether the Test report is valid as per Spn. | Whether the Test report in complete shape alongwith drawings etc. furnished or not ? | Whether the type tested Plante lead acid battery fulfills the technical requirements as per TS | If the type tested battery does not fulfill the technical requirements as per this specification, whether the bidder agrees to conduct he particular type test again at their own cost without any financial liability to OPTCL in the presence of OPTCL’s representative within the specified delivery period | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Signature of the tenderer with seal & date

ANNEXURE  V – B

CHECK LIST TOWARDS TYPE TEST REPORTS FOR BATTERY CHARGER

| Name of the Type Test | Date of Test | Name of the Laboratory where the Test has been conducted | Whether the Laboratory is Government approved | Whether the Test report is valid as per Spn. | Whether the Test report in complete shape alongwith drawings etc. furnished or not ? | Whether the type tested battery charger fulfills the technical requirements as per TS | If the type tested battery charger does not fulfill the technical requirements as per this specification, whether the bidder agrees to conduct he particular type test again at their own cost without any financial liability to OPTCL in the presence of OPTCL’s representative within the specified delivery period | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Signature of the tenderer with seal & date.

GUARANTEED TECHNICAL PARTICULARS

FOR

SF6 AND VACUUM CIRCUIT BREAKERS

GUARANTEED TECHNICAL PARTICULARS FOR CIRCUIT BREAKERS

For     420 KV,245 KV & 145 KV SF6 CB

1.	(a)	Maker’s name and country of manufacture

(b) Manufacturer’s type  Designation

  - Applicable technical standards

  - (a)	Rated voltage(kV)

      - Rated frequency(Hz)

4.	Number of Poles

5.	Class

6.	Rated normal current

(a)	Under site conditions(Amps)

(b)	Rated (Amps)

7.	(a)	Rated short circuit breaking current

(i)	Rms value of AC component of rated

short circuit current (KA)

        - Percentage DC component

        - Assymetrical Breaking Current at Highest System Voltage

(iv)	Certificate or report no

  - Oscillogram no.

(b)	Rated short circuit making current (KA peak)

- At Higher rated Voltage

- At Lower rated Voltage

(c)	(i)	Maximum Breaking capacity Under Phase Opposition(KAP)

- Max Pole discrepancy(ms)

- Max arc duration & Corresponding current under lockout pressure

8.	First pole to clear factor

9.	Rated transient recovery voltage for terminal faults

(kV peak)

10.	Rated characteristics for short line faults.

11.	Rated operating sequence

12.	Rated duration of short circuit(Sec.)

13.	Rated out of phase making & breaking current (kA)

14.	(a)	Opening time (ms)

- Maximum Opening time under any condition

(ii)       With limiting Voltage & Pressure.

(b)	Arcing time (ms)

(i)	At 100% rated breaking current (ms)

(ii)	At 50% rated breaking current (ms)

(iii)	At 25% rated breaking current (ms)

(iv)	At 10% rated breaking current (ms)

(v)	Maximum arcing time at lowest

fault current (ms).

(c)	Break Time (ms)

(i)	At 100% rated breaking current (ms)

(ii)	At 50% rated breaking current (ms)

(iii)	At 25% rated breaking current (ms)

(iv)	At 10% rated breaking current (ms)

(v)	Maximum break time at lowest

fault current (ms).

- Maximum Total Break Time under any duty condition

For any current up to rated breaking current with limiting condition of Voltage & Pressure(ms)

(d)	Closing time (ms)

(e)	Minimum dead time for 3 phase reclosing

(f)	Maximum Close Open Time under any condition

With limiting Voltage & Pressure.

(g)	Minimum Time Interval between each make/ Break Operation.

15.	Rated line charging breaking current (kA)

16.	Rated small inductive breaking current (kA)

17.	(i)Max. rise of temperature over ambient for

current rating under sl. 6.

(ii)Max. rise of temperature for

Main contacts over design ambient temperature of 50deg C.

18.	Interrupting capacity based on duty cycle as per sl. 11.

(a)	AC ;component (kA)

(b)	Percentage DC component.

19.	Latching current (kA)

20.	No. of breaks in series per pole.

21.	Length of contact travel (mm)

22.	Total length of break per pole (mm)

23.	Rate of contact travel:

(a)	At tripping (metres/sec.)

(b)	At closing (metres/sec.)

24.	Type of devices, if any, used to obtain

uniform voltage distribution between breaks.

25.	Recovery voltage distribution between

breaks in percent of rated voltage.

(a)	Single line to ground fault

(b)	Interruption on short lines.

(c )	Switching off an unloaded, transformer

26.	(i) Type of main contact.

- Number of auxiliary contacts per pole for normal operation(NO & NC)

- Number of auxiliary contacts per pole provided for Owner’s use(NO & NC)

- Current rating of Auxiliary contacts

27.	Type of arcing-contacts and/or arc

control device

28.	Material of contacts:

    - Main

    - Arcing

iii.     Whether contacts are silver plated

iv.    Thickness of silver coating mm

v.	  Contact pressure, kg/sq. mm.

29.	Insulation level of the breaker:

      - 1 minute power frequency withstand

voltage kV rms(Dry & Wet)

- Between live terminals & Ground

(ii) Between terminals with Breaker contacts open

      - Switching surge withstand test

Voltage kV (peak)

- To earth

        - Across open contacts

(c )	Lightning impulse withstand test								voltage, kV(peak)

- To earth

- Across open contacts

(d) 	Max. dynamic power frequency over voltage

withstand kV (peak)

30.	i)	RIV level (Max)

  - Corona inception voltage (kV rms)

  - Corona extinction voltage (kV rms)

31.	Minimum clearances

(a)	Between phases (live parts)(mm)

(b)	Between live parts and earth (mm)

( c)	Total Creepage Distance (i) To ground

(ii) Between Terminals

32.	Whether the circuit breaker is fixed trip or trip free

33.	Method of closing

    - Normal

    - Emergency

34.	Type of closing mechanism

35.	(a)	Normal voltage of closing

(b)	Pick up range (volts DC)

- (a)	Power at normal voltage of closing

mechanism (watts)

(b)       Power at 85% of normal voltage of closing mechanism(watts)

(c)	No of closing coils in operation

37.	Type of tripping mechanism

Number of Tripping Coil

38.	(A) Normal voltage of tripping coils(volts)

- Power at normal voltage for

Tripping coils (watts)

- Power at 70% normal voltage for

Tripping coils (watts).

- No. of tripping coils in operation

- Pick up range (V  DC)

(B) Number of close open operation

- possible after failure of AC supply to motor

(ii) Time required for motor to charge the closing spring(Sec)

(iii) Wheather indication of spring charged condition will be provided in control cabinet.

39.	Arc duration at 100% (ms)

40.	Interruption capacity:

- Opening

Arcing time no. of loops and time including resistor current duration (cycle)

Resistor current duration (cycle)

Total length of the arc (mm)

Max. length of the arc (mm)

Total interrupting time measured from instant of trip coil energisation to arc extinction of resistor current (cycles)

- Closing time measured from instant of application of power to closing device upto arcing contacts touchings (cycles)

41.	Critical current (current giving the longest arc

when a break takes place) (kA)

- Recovery voltage when circuit breaker tested at 100% rated breaking capacity (kV inst.)

- Rate of rise of restriking voltage at breaking

i)	for 30% breaking capacity (kV/microsecs.)

ii)	for 100% breaking capacity (kV/microsecs.)

c)	Maximum over-voltage factor of the circuit breaker when switching off.

i)  Unloaded transformers

ii) Loaded transformer

iii)Open circuited lines

- When switching of synchronous systems:

  - Max. current (kA)

  - Max. contacts of 1 pole (kV)

- No. of openings the circuit breaker is capable of performing without inspection, replacement of contacts or other main parts.

  - at 50% rated current

  - at 100% rated current

(c )	at current corresponding to 50% rated breaking capacity.

(d )	at current corresponding to 100% rated breaking capacity.

44.    (A)a)	W  eight of complete circuit breaker (Kg).

b)	Impact loading for foundation design, to include deed load plus impact value on opening at maximum interrupting ratings, in terms of equivalent static load (Kg.)

c )	Overall dimensions:

Height (mm)

Width (mm)

Length (mm)

(B)- Type & Material of Gasket used to ensure gas    tight joints for

(i)Metal to Metal Joint

(ii) Metal to Porcelain Joints

(C ) Type & Make of

a) Density Monitor

b)Pressure Gauge

(D) Density Monitor Setting

  - Lock Out

  - Alarm

45.	Porcelain:

- Make

- Type

- Descriptive pamphlet no.

- Weight (kg.)

- Transport dimensions (mm)

- Height above floor, required to remove porcelain (mm).

- Insulation class

- One minute power frequency withstand, kV (rms) (dry & wet)

- Flash over voltage (kV)

- Lightning impulse withstand voltage kV (peak) (dry & wet)

- Switching surge withstand voltage kV (peak) (wet)

- Corona discharge voltage (kV rms)

- Creepage distance, total protected (mm)

- Permissible safe cantilever loading on installed porcelain (Kg.m)

46.	(i)Rated pressure of SF6 gas in the circuit breaker (Kg/sq.cm )

(ii) Rated Pressure of  SF6 in operating   Chamber(kg/cm2) at 20deg C

(iii) Limits of Pressure of extinguishing medium

47.	Rated pressure of SF6 gas in the gas cylinders (Kg/sq.cm )

48.	(i)Quantity of SF6 gas required per single pole unit (Kg.) at rated Pressure & at 20 deg C

(ii) Guaranteed  Maximum Leakage rate per Year.

49.	Quantity of SF6 gas per cylinder (Kg.)

Standard to which SF6 Gas Complies.

- (i) Weight of empty cylinder (Kg.)

(ii) Wheather Breakers are dispatched  filled with SF6 Gas or filled at site.

- Quantity of absorbent required per pole (Kg.)

52.      Recommended interval for renewal of absorbent       in case of outdoor circuit breakers operating in tropical conditions.

- Chemical composition of absorbent

- Quantity of absorbent covered in the scope of supply

(including spare quantities)

- Limits of gas pressure for pressure operation of circuit breaker – (Kg/sq.cm )

- Pressure and temperature at which the temperature compensated gas pressure switch will

  - give alarm (Kg/sq.cm., deg. C)

  - cut off (Kg/sq.cm. deg. C)

- Name of SF6 supplier and country of origin.

- Quantity of SF6 gas supplied for

  - Actual use in breakers (Kg.)

  - As spare (Kg.)

- Chemical composition of gas:

  - Qty. of air by weight (ppm)

  - Qty. of H20 by weight (ppm)

  - Qty. of CF4 by weight (ppm)

  - Qty. of free acid by weight (ppm)

  - Density

  - Oil Content

  - Resistivity

- Motor For Circuit Breaker

    - Manufacture’s name & address

    - Eqipment driven by motor or not.

    - Motor Type

    - Country of Origin

    - Type of Duty

    - Type of Enclosure & Method of Cooling

    - Applicable Standard to which motor confirms

    - Type of mounting

    - Direction of rotations as viewed from non driving end.

    - Standard Continuous rating at 50deg C

    - Rated Voltage

    - Rated Speed at rated Voltage & Frequency(rpm).

    - Full Load current at rated voltage & frequency.

    - Power Factor at rated load.

    - Rating of the Motor.

    - Time for fully charging the closing spring

- Control Cabinet

    - Material of enclosure

    - Thickness of sheet steel

    - Painting for control cubicle

    - Paint shade

    - Degree of protection

    - Dimension

    - Material of gasket

SCHEDULE OF GUARANTEED TECHNICAL PARTICULARS FOR 36 KV

CIRCUIT BREAKERS

    - Name of Manufacturer.

    - Manufacturer’s type designation.

    - Rated Voltage.	-	KV

    - Maximum (continuous) service rated Voltage 	-       KV

    - Normal current rating.

- Under normal conditions.

- Under site conditions.

    - Short time current rating for seconds (rms)

    - Maximum temperature rise over ambient.	-°C

    - Breaking capacity.

a) 	Symmetrical.						KVA

b) 	Assymmetrical. 					MVA

9.    Making capacity.					KA

10.  Total break time in ms.

a) at 10% rated interrupting capacity	-		MS

b) at rated interrupting capacity		-		MS

11.Arcing time.				-		M.S.

12.	Make time.			-			M.S.

13.	Minimum reclosing   time at full rated	-	M.S.			Interrupting MVA from the instant ofTrip coil energisation.

14.	Minimum dead time for 3 phase reclosing.-	M.S.

15.	Whether restricting free.			-	Yes/No

16.      One minute dry power frequency

Withstanding test voltage (KV rms)

Between line terminal and ground objects.	- KV rms.

Between terminal with breaker contacts open.	-KV rms.

17. 	1.2/50micros full wave impulse withstand test voltage for the two cases above.

i) 	Between line terminal & grounded objects.	-KV(Peak)

ii)	Between terminal with breaker  Contacts open.	-

18. Busing or Insulators :

i) 	Type of bushing.		-

ii) 	Dry 1 minute power frequency		-	KV rms

withstand test voltage.

iii)	 Dry flashover value.		-		KV rms.

iv) 	Wet flashover value.		-		KV rms.

V) 	1.2/50 impulse withstand		-		KV(Peak)

vi) 	Creepage distance.		-			mm

vii) 	Puncture value of bushing.		-	KV

viii) 	Weight of bushing.		-		Kg.

19.   Minimum clearance in air.

i) 	Between phases.		-		mm

ii) 	Live parts to earth.		-		mm

iii) 	Live parts to ground level                   -     mm

iv) 	Between live parts & grounded object. -   mm

- Number of poles of circuit breaker.

- Number of breaks per phase.

- Total length of break per phase.

- Type of main contacts.

- Type of Aux. Contacts.

- Materials of auxiliary contacts.

- Contacts silver plated or not.

- Thickness of silver plating.

- Contact pressure.

- Voltage distribution between breaker.

- Type of device if any, used to limit

the rate of rise or restricting voltage.

- Voltage grading device if any used.

- Number of auxiliary contacts provided.

i) 	Those closed when breaker is closed.

        - These open when breaker is closed.

        - Those adjustable with respect  to

the position of main contacts.

33.	Type of operating mechanism.

i) Operning

ii) Closing.

34.	Control circuit voltage.

35.	Power required for trip coil		-	Watts

at 220V D.C.

- Power required for close coil

At 220V D.C.		-			Watts

- Frequency at which contacts are

To be replaced.

- Nos. of terminal connector.

- Steel support structure galvanized	-	Whether

With foundation – Nuts & Bolts to be provided	yes or no

- Type test certificate Furnished		-	Yes/No

- Circuit Breaker weight.		-	Kg.

- Quantity.			- 	Nos.

GUARANTEED TECHNICAL PARTICULARS

FOR

CURRENT TRANSFORMER

GUARANTEED TECHNICAL PARTICULARS FOR CURRENT TRANSFORMER TO BE FILLED BY THE BIDDER.

| Sl. No. | Description | 33KV |  | 132KV |  |  |  | 220 KV | 400 KV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | a)400-200-100A /1-1-1A | b) 800-400-200A/ 1-1-1A | a) 800-400- 200A/ 1-1-1-1A | b)600-300- 150A/ 1-1-1-1A | c) 400-200-100A / 1-1-1-1A | d)400-200A/ 1-1-1-1A | 1200-600-300A/ 1-1-1-1-1A | 2000-1000-500A/ 1-1-1-1-1 A |
| 1. | Bidder’s name and address |  |  |  |  |  |  |  |  |
| 2. | Name and address of the Manufacturer |  |  |  |  |  |  |  |  |
| 3. | Manufacture’s type designation |  |  |  |  |  |  |  |  |
| 4. | Standards applicable |  |  |  |  |  |  |  |  |
| 5. | Rated frequency (HZ) |  |  |  |  |  |  |  |  |
| 6. | Rated Voltage (KV) |  |  |  |  |  |  |  |  |
| 7.0 | Rated current (A) |  |  |  |  |  |  |  |  |
| 7.1 | Rated continuous current (A) |  |  |  |  |  |  |  |  |
| 7.2 | Rated extended primary current (A) |  |  |  |  |  |  |  |  |
| 8. | Short time thermal current withstand for stipulated time duration (KA) |  |  |  |  |  |  |  |  |
| 9. | Dynamic current withstand (KAP) |  |  |  |  |  |  |  |  |
| 10. | 1.2/50 µs impulse withstand voltage (KVP) |  |  |  |  |  |  |  |  |
| 11. | One minute dry and wet power frequency withstand voltage (KV-rms) |  |  |  |  |  |  |  |  |
| 12. | No. of cores per CT |  |  |  |  |  |  |  |  |
| 13. | Transformation Ratio |  |  |  |  |  |  |  |  |
| 14. | No. of secondary turns |  |  |  |  |  |  |  |  |
| 15. | Rated output at all ratios for metering core (VA) |  |  |  |  |  |  |  |  |
| 16. | Accuracy class |  |  |  |  |  |  |  |  |
| 17. | Minimum Knee point voltage at different taps for all ‘PS’ class cores (V) |  |  |  |  |  |  |  |  |
| 18. | Secondary winding resistance at different taps for all cores () (750C) |  |  |  |  |  |  |  |  |
| 19.0 | Maximum exciting current at all ratios (for all PS class cores) |  |  |  |  |  |  |  |  |
| 19.1 | 100% KPV (Knee point voltage) (mA) |  |  |  |  |  |  |  |  |
| 19.2 | 25% KPV (Knee point voltage) (mA) |  |  |  |  |  |  |  |  |
| 19.3 | 20% KPV (Knee point voltage) (mA) |  |  |  |  |  |  |  |  |
| 19.4 | 10% KPV (Knee point voltage)(mA) |  |  |  |  |  |  |  |  |
| 20. | Instrument security factor at different ratios. |  |  |  |  |  |  |  |  |
| 21. | Radio interference voltage at 1.1 Vr / 31/2 at 1.0 MHZ (Micro volts) |  |  |  |  |  |  |  |  |
| 22. | Whether auxiliary CT provided for metering winding |  |  |  |  |  |  |  |  |
| 23. | Corona extinction voltage (KV rms) |  |  |  |  |  |  |  |  |
| 24. | Partal discharge level (PC) |  |  |  |  |  |  |  |  |
| 25. | Total creepage distance (mm) |  |  |  |  |  |  |  |  |
| 26. | Primary |  |  |  |  |  |  |  |  |
| 26.1 | No. of primary turns |  |  |  |  |  |  |  |  |
| 26.2 | Material and cross-section of primary (mm2) |  |  |  |  |  |  |  |  |
| 26.3 | Type of primary |  |  |  |  |  |  |  |  |
| 27. | Whether CT is suitable for transportation horizontally. |  |  |  |  |  |  |  |  |
| 28. | Percentage current (ratio) error and phase displacement in minutes at rated burden and at |  |  |  |  |  |  |  |  |
| 28.1 | 5% rated current |  |  |  |  |  |  |  |  |
| 28.2 | 10% rated current |  |  |  |  |  |  |  |  |
| 28.3 | 20% rated current |  |  |  |  |  |  |  |  |
| 28.4 | 120% rated current |  |  |  |  |  |  |  |  |
| 29. | Percentage current (ratio) error and phase displacement in minutes at 25% rated burden and |  |  |  |  |  |  |  |  |
| 29.1 | At 5% rated current |  |  |  |  |  |  |  |  |
| 29.2 | At 10% rated current |  |  |  |  |  |  |  |  |
| 29.3 | At 20% rated current |  |  |  |  |  |  |  |  |
| 29.4 | At 120% rated current |  |  |  |  |  |  |  |  |
| 30. | Quantity of oil per CT (Litres) |  |  |  |  |  |  |  |  |
| 31. | Standard to which oil conforms generally. |  |  |  |  |  |  |  |  |
| 32. | Characteristics of oil (prior to filling) |  |  |  |  |  |  |  |  |
| 32.1 | Breakdown voltage (KVrms) |  |  |  |  |  |  |  |  |
| 32.2 | Dielectric dissipation constant (tan delta) |  |  |  |  |  |  |  |  |
| 32.3 | Water content (ppm) |  |  |  |  |  |  |  |  |
| 32.4 | Gas content |  |  |  |  |  |  |  |  |
| 32.5 | Interfacial tension at 270C (N/m) |  |  |  |  |  |  |  |  |
| 32.6 | Specific resistance |  |  |  |  |  |  |  |  |
| 32.6.1 | At 900C (cm) |  |  |  |  |  |  |  |  |
| 32.6.2 | At 270 C (cm) |  |  |  |  |  |  |  |  |
| 33. | Whether current transformers are hermetically sealed. If so, how ? |  |  |  |  |  |  |  |  |
| 34. | Total weight (Kg) |  |  |  |  |  |  |  |  |
| 35. | Transport weight (Kg) |  |  |  |  |  |  |  |  |
| 36.1 | Temperature rise over an ambient temperature of 500C for continuous operation at rated continuous thermal current. |  |  |  |  |  |  |  |  |
| 36.1 | Winding |  |  |  |  |  |  |  |  |
| 36.2 | Oil |  |  |  |  |  |  |  |  |
| 36.3 | External surface of the core, metallic parts in contact with or adjacent to insulation. |  |  |  |  |  |  |  |  |
| 37 | Whether CT characteristic curves enclosed. |  |  |  |  |  |  |  |  |
| 37.1 | Ratio and phase angle curve |  |  |  |  |  |  |  |  |
| 37.2 | Magnetisation curves |  |  |  |  |  |  |  |  |
| 37.3 | Ratio correction factor curves. |  |  |  |  |  |  |  |  |
| 38. | DATA ON PRIMARY WINDING |  |  |  |  |  |  |  |  |
| 38.1 | Rated primary current (A) |  |  |  |  |  |  |  |  |
| 38.2 | No. of conductors in one turn |  |  |  |  |  |  |  |  |
| 38.3 | No. of turns of primary |  |  |  |  |  |  |  |  |
| 38.4 | Material of the primary conductors |  |  |  |  |  |  |  |  |
| 38.5 | Size of the primary conductor (Bare/ Insulated (mm x mm) |  |  |  |  |  |  |  |  |
| 38.6 | Cross-sectional area of each conductor (mm2) |  |  |  |  |  |  |  |  |
| 38.7 | Total cross-sectional area of primary winding (mm2) conductors |  |  |  |  |  |  |  |  |
| 38.8 | Current density(A/mm2) |  |  |  |  |  |  |  |  |
|  | (i) At highest ratio |  |  |  |  |  |  |  |  |
|  | (ii) At intermediate ratio |  |  |  |  |  |  |  |  |
|  | (iii) At lowest ratio |  |  |  |  |  |  |  |  |
| 38.9 | Short circuit current densiry (A/mm2) |  |  |  |  |  |  |  |  |
|  | (i) At highest ratio |  |  |  |  |  |  |  |  |
|  | (ii) At intermediate ratio |  |  |  |  |  |  |  |  |
|  | (iii) At lowest ratio |  |  |  |  |  |  |  |  |
| 38.10 | Ampere-turn of Primary (AT) |  |  |  |  |  |  |  |  |
|  | (i) At highest ratio |  |  |  |  |  |  |  |  |
|  | (ii)At intermediate ratio |  |  |  |  |  |  |  |  |
|  | (iii) At lowest ratio |  |  |  |  |  |  |  |  |
| 38.11 | Length of primary conductor (m) |  |  |  |  |  |  |  |  |
| 38.12 | Weight of primary winding (kg.) |  |  |  |  |  |  |  |  |
| 39. | CORE |  |  |  |  |  |  |  |  |
| 39.1 | Material and grade of the core |  |  |  |  |  |  |  |  |
| 39.2 | Thickness of core (mm) |  |  |  |  |  |  |  |  |
| 39.3 | Net Iron cross-sectional area of core (mm2) |  |  |  |  |  |  |  |  |
| 39.3.1 | Core-1 |  |  |  |  |  |  |  |  |
| 39.3.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 39.3.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 39.3.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 39.3.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 39.4 | Mean magnetic path length (cm) |  |  |  |  |  |  |  |  |
| 39.4.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 39.4.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 39.4.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 39.4.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 39.4.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 39.5 | Whether B-H curve for the core material, used, furnished ? (B-wb/m2, H-AT/cm) |  |  |  |  |  |  |  |  |
| 39.6 | Whether specific loss vs. flux density graph for the core material used furnished ? |  |  |  |  |  |  |  |  |
| 39.7 | Axial length of core (mm) |  |  |  |  |  |  |  |  |
| 39.7.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 39.7.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 39.7.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 39.7.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 39.7.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 39.8 | Inside diameter / outside diameter of the cores (mm) |  |  |  |  |  |  |  |  |
| 39.8.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 39.8.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 39.8.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 39.8.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 39.8.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 39.9 | Weight of the core (kg) |  |  |  |  |  |  |  |  |
| 39.9.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 39.9.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 39.9.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 39.9.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 39.9.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40. | SECONDARY WINDINGS |  |  |  |  |  |  |  |  |
| 40.1 | Rated secondary current (A) |  |  |  |  |  |  |  |  |
| 40.2 | Material of the secondary windings |  |  |  |  |  |  |  |  |
| 40.3. | Size of the secondary conductor [Bare / Insulated] [mm] |  |  |  |  |  |  |  |  |
| 40.3.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.3.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.3.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.3.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.3.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.4 | Cross sectional area of the secondary conductor (mm2) |  |  |  |  |  |  |  |  |
| 40.4.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.4.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.4.3 | Core –3 |  |  |  |  |  |  |  |  |
| 40.4.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.4.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.5 | Current density of secondary windings (A/mm2) |  |  |  |  |  |  |  |  |
| 40.5.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.5.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.5.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.5.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.5.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.6 | No. of secondary turns |  |  |  |  |  |  |  |  |
| 40.6.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.6.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.6.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.6.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.6.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.7 | No. of layers |  |  |  |  |  |  |  |  |
| 40.7.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.7.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.7.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.7.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.7.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.8 | No. of turns / layer |  |  |  |  |  |  |  |  |
| 40.8.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.8.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.8.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.8.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.8.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.9 | Average length / turn of secondary windings (mm) |  |  |  |  |  |  |  |  |
| 40.9.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.9.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.9.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.9.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.9.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 40.10 | Resistance of the conductor used for secondary winding per meter length at 750C (Ω/M) |  |  |  |  |  |  |  |  |
| 40.11 | Weight of secondary windings (kg) |  |  |  |  |  |  |  |  |
| 40.11.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 40.11.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 40.11.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 40.11.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 40.11.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 41 | INSULATION |  |  |  |  |  |  |  |  |
| 41.1 | Name and class of insulating material between core and secondary winding. |  |  |  |  |  |  |  |  |
| 41.2 | Name/s of Insulating materials between secondary winding and primary windings. |  |  |  |  |  |  |  |  |
| 41.3 | Insulating materials used to achieve grading of capacitance. |  |  |  |  |  |  |  |  |
| 42. | DIAMETER OF WINDINGS |  |  |  |  |  |  |  |  |
| 42.1 | Inside / outside diameter of secondary windings (mm) |  |  |  |  |  |  |  |  |
| 42.1.1 | Inside / outside diameter of secondary windings (mm) |  |  |  |  |  |  |  |  |
| 42.1.1 | Core – 1 |  |  |  |  |  |  |  |  |
| 42.1.2 | Core – 2 |  |  |  |  |  |  |  |  |
| 42.1.3 | Core – 3 |  |  |  |  |  |  |  |  |
| 42.1.4 | Core – 4 |  |  |  |  |  |  |  |  |
| 42.1.5 | Core – 5 |  |  |  |  |  |  |  |  |
| 42.2 | Inside / outsde diameters of primary winding (mm) |  |  |  |  |  |  |  |  |
| 42.3 | Minimum clearance from tank (mm) |  |  |  |  |  |  |  |  |
| 42.4 | Minimum clearance from secondary to tank (mm) |  |  |  |  |  |  |  |  |
| 43. | TANK AND SECONDARY TERMINAL BOX |  |  |  |  |  |  |  |  |
| 43.1 | Material of the CT tank |  |  |  |  |  |  |  |  |
| 43.2 | Material of the CT secondary terminal box |  |  |  |  |  |  |  |  |
| 43.3 | Thickness of CT tank material (mm) |  |  |  |  |  |  |  |  |
| 43.4 | Thickness of CT secondary terminal box material (mm) |  |  |  |  |  |  |  |  |
| 43.5 | Zinc coating of the CT tank (gm/m2) as per relevant upto date ISS |  |  |  |  |  |  |  |  |
| 43.6 | Zinc coating of the CT secondary terminal box (gm/m2) as per the relevant upto date ISS. |  |  |  |  |  |  |  |  |
| 43.7 | Ingress protection rating of the secondary terminal box. |  |  |  |  |  |  |  |  |
| 43.8 | Weight of the tank, fittings and other accessories (kg) |  |  |  |  |  |  |  |  |
| 44. | TERMINAL CONNECTOR |  |  |  |  |  |  |  |  |
| 44.1 | Manufacturer’s name |  |  |  |  |  |  |  |  |
| 44.2 | Applicable standard |  |  |  |  |  |  |  |  |
| 44.3 | Type |  |  |  |  |  |  |  |  |
| 44.4 | Material of connector |  |  |  |  |  |  |  |  |
| 44.4.1 | Clamp body |  |  |  |  |  |  |  |  |
| 44.4.2 | Bolts and Nuts |  |  |  |  |  |  |  |  |
| 44.4.3 | Spring washers |  |  |  |  |  |  |  |  |
| 44.5 | Rated current (Amp) |  |  |  |  |  |  |  |  |
| 44.6 | Rated terminal load (Kg) |  |  |  |  |  |  |  |  |
| 44.7 | Factor of safety |  |  |  |  |  |  |  |  |
| 44.8 | Minimum thickness of any part (mm) |  |  |  |  |  |  |  |  |
| 44.9 | Weight of clamp complete with hardwares (kg) |  |  |  |  |  |  |  |  |
| 44.10 | Type test reports as per IS enclosed |  |  |  |  |  |  |  |  |
| 44.11 | OGA drawing enclosed |  |  |  |  |  |  |  |  |
| 45. | INSULATOR |  |  |  |  |  |  |  |  |
| 45.1 | Manufacturer’s name |  |  |  |  |  |  |  |  |
| 45.2 | Type |  |  |  |  |  |  |  |  |
| 45.3 | Applicable standards |  |  |  |  |  |  |  |  |
| 45.4 | Height (mm) |  |  |  |  |  |  |  |  |
| 45.5 | Diameter (top) (mm) |  |  |  |  |  |  |  |  |
| 45.7 | Total creepage distance (mm) |  |  |  |  |  |  |  |  |
| 45.8. | Rated voltage (KV) |  |  |  |  |  |  |  |  |
| 45.9 | Power frequency withstand voltage for 1 min. dry and wet. (KV – rms) |  |  |  |  |  |  |  |  |
| 45.10 | 1.2/50 micro-sec impulse withstand voltage (KVP) |  |  |  |  |  |  |  |  |
| 45.11 | Corona extinction vollage (KV) |  |  |  |  |  |  |  |  |
| 45.12 | Weight (Kg) |  |  |  |  |  |  |  |  |
| 45.13 | Maximum allowable span (mm) |  |  |  |  |  |  |  |  |
| 45.14 | Cantilever strength (Kg) |  |  |  |  |  |  |  |  |
| 45.15 | The drawing enclosed. |  |  |  |  |  |  |  |  |
| 46. | Dielectric dissipation factor at 245/1.732KV (for 220KV C.T) and 145/1.732 KV (for 132 kv C.T.) at ambient temperature. |  |  |  |  |  |  |  |  |
| 47. | Accuracy class of standard C.T. to be used towards determination of ratio errors and phase angle errors for metering cores. |  |  |  |  |  |  |  |  |

GUARANTEED TECHNICAL PARTICULARS

FOR

CONTROL CABLE & POWER CABLE

1100V Cable (PVC & XLPE CONTROL & POWER CABLE)

The Contractor must complete a schedule for each size of cable supplied

| ITEM NO. | DESCRIPTION | UNITS | BIDDERS OFFER |
| --- | --- | --- | --- |
| 1 | Standards to which the cable conforms | IS-1554/IEC 502 |  |
| 2 | Catalogue Number | - |  |
| 3 | Conductor Material | - |  |
| 4 | Conductor Strands | Number |  |
| 5 | Conductor Shape | - |  |
| 6 | Conductor cross sectional area | mm2 |  |
| 7 | Outer Diameter of Conductor | mm |  |
| 8 | Number of Cores | — |  |
| 9 | Reduced neutral conductor cross sectional area | mm2 |  |
| 10 | Insulation Material | - |  |
| 11 | Minimum thickness of insulation | mm |  |
| 12 | Nominal thickness of insulation | mm |  |
| 13 | Outer Diameter over insulation | mm |  |
| 14 | Nominal thickness of inner sheathing | mm |  |
| 15 | Sheath Material | - |  |
| 16 | Type of armouring | — |  |
| 17 | Number and diameter/size of armour wires/strips | No/mm |  |
| 18 | Minimum outersheath thickness | mm |  |
| 19 | Nominal outersheath thickness | mm |  |
| 20 | Overall diameter of cable | mm |  |
| 21 | Minimum Bending Radius | mm |  |

| ITEM NO. | DESCRIPTION | UNITS | BIDDERS OFFER |
| --- | --- | --- | --- |
| 22 | Cable identification per Clause 9 | - |  |
| 23 | Rated Voltage per IEC 502/IS - 1554 | kV |  |
| 24 | Conductor DC resistance per km at 20°C | ohm/km |  |
| 25 | Conductor AC resistance per km at 20°C and 50Hz | ohm/km |  |
| 26 | Maximum continuous rating of cable in the conditions outlined in Clause 4: System Conditions | A |  |
| 27 | Minimum insulation resistance per km at 90°C | Mohm/km |  |
| 28 | Maximum permissible continuous conductor temperature | °C |  |
| 29 | Maximum permissible continuous outersheath temperature | °C |  |
| 30 | DC test voltage for 15 mins. after installation | kV |  |
| 31 | Delivery length per drum | m |  |
| 32 | Weight of conductor per km | kg/km |  |
| 33 | Weight of cable per km | kg/km |  |
| 34 | Gross weight of full cable drum | kg |  |
| 35 | Outer diameter of the cable drum | mm |  |
| 36 | Width of cable drum | mm |  |
| 37 | Maximum permissible cable pulling tension | kg |  |
| 38 | Maximum permissible cable side wall pressure | kg |  |
| 39 | Manufacturers Name | - |  |
| 40 | Country of Origin | - |  |

GUARANTEED TECHNICAL PARTICULARS

FOR

CONDUCTOR, EARTH WIRE, INSULATORS

#### GUARANTEED TECHNICAL PARTICULARS OF CONDUCTOR

ACSR CONDUCTOR:	MOOSE	ZEBRA	PANTHOR

Sl. No.	Description

- Code Word

2.	Maker’s name address and

Country.

a)	Aluminum rods

b)	Steel Wire/rods

- Complete conductor

3.	Stranding and wire diameter

a)	Aluminum.

- Steel.

4.	Standard nominal copper

area in sq. mm

5.	Calculated equivalent

aluminum area in sq. mm

6.	Actual aluminum area

in sq. mm.

7.	Standard area of cross

section in sq. mm.

a)	Aluminum strand

b)	Steel strand

- Conductor

8.	Diameter of complete

conductor in mm.

9.	Minimum ultimate tensile

stress of strand, in Kg/sq. mm.

Before stranding and after stranding for

a)	Aluminum strand.

- Steel strand

10.	Guaranteed ultimate tensile

strength of conductor in Kg.

11.	Minimum breaking load in Kg.

Before stranding and after

stranding for

a)	Aluminum strand.

- Steel strand.

- Purity of aluminum rods.

- Zinc coating of steel strand.

a)	Uniformity of coating

number and/duration of dips.

- Minimum weight of coating gm/sq. mm.

14.	Weight in Kg. per K.M.

a)	Aluminum.

b)	Steel.

- Conductor.

15.    Resistance in ohms per Km. at 20° c.

16.	Continuous maximum current

rating of conductor in still

air at 45° C ambient temperature,

considering temp. rise of 50°C.

17.	Modulus of elasticity of :

Conductor.

- Co-efficient of linear expansion

per degree centigrade of.

a)	Aluminum strand.

b)	Steel Strand.

- Conductor.

19.	Percentage of carbon in

steel wire.

20.	Standard length of each

peace in Km.

21.	Initial and final sags and

tension and stringing charts,

whether furnished.

22. Tolerance, if any on standard length.

23.	Number of standard length

in one reel.

24.	Dimensions of the reel in cms.

25.	Weight of the Conductor

in one reel in Kg.

- Weight of the reel in Kg.

27.	Gross weight of the reel

including weight of the conductor.

- Wheather the conductor will be manufactured

as per the relevant Indian Standard Specification

&  as per  Section-IV ‘Technical specification’ of this specification.

- Wheather the conductor will be Tested

as per the relevant Indian Standard Specification

&  as per  Section-IV ‘Technical specification’ of this specification.

( Cause-12 of Section –IV of Technical Specification)

- Other particulars, if any.

GUARANTEED TECHNICAL PARTICULARS OF THE GALVANIZED STEEL G.I. EARTH WIRE

| SL No. | DESCRIPTION |  | '7/3.15 mm | '7/3.66 mm |
| --- | --- | --- | --- | --- |
| 1. | Maker’s name, address and country |  |  |  |
| 2. | Percentage of carbon content of the steel wire. |  |  |  |
| 3. | Particular of steel strands - Number of strands. - Diameter - Standard sectional area - Minimum ultimate tensile strength. - Minimum breaking land - Final stress in steel wires | Mm Sq.mm N/mm2 N/mm2 KN/mm2 |  |  |
| 4. | (a) Uniformity of coating of number and duration of dips. | Minutes Number of dips. |  |  |
|  | 1. 2. |  |  |  |
|  | b) Minimum weight of coating | GM/m2 |  |  |
| 5. | Standard overall diameter of ground wire. | Sq.mm |  |  |
| 6. | Area of cross section of ground wire. | Mm |  |  |
| 7. | Guaranteed ultimate tensile strength of ground wire. | N/mm2 |  |  |
| 8. | Maximum working tension | N/mm2 |  |  |
| 9. | Resistance in ohms per KM at 200C. |  |  |  |
| 10. | Standard length of ground wire. | Km. |  |  |
| 11. | Modulus of elasticity of ground wire. | Kg / cm2 Final Initial |  |  |
| 12. | Co-efficient of linear expansion. |  |  |  |
| 13. | Zinc coating :- |  |  |  |
|  | a) Number of one minute dip |  |  |  |
|  | b) Number of half minute dip. |  |  |  |
|  | c) Quality of zinc |  |  |  |
| 14. | Weight of coating on wire |  |  |  |
| 15. | Process of galvanising |  |  |  |

GUARANTEED TECHNICAL PARTICULARS FOR INSULATORS

(SEPARATE SHEETS MAY BE FILLED IN FOR EACH VOLTAGE RATING & DIFFERENT KN RATING)

| Sl. No. | Description. | Single Suspension | Double suspension | Single Tension | Double Tension. |
| --- | --- | --- | --- | --- | --- |
| 1. | 2. | 3. | 4. | 5. | 6. |
| 1. | Makers name and address and country. |  |  |  |  |
| 2. | Size and designation of Ball and socket and standard to which if will conform mm. |  |  |  |  |
| 3. | No. of insulator discs per string. |  |  |  |  |
| 4. | Outside dia of the disc. Mm |  |  |  |  |
| 5. | Spacing – mm |  |  |  |  |
| 6. | Creepage distance of the single disc –mm |  |  |  |  |
| 7. | Electro-mechanical strength of single disc. Kg. |  |  |  |  |
| 8. | Withstand voltage of single disc. |  |  |  |  |
| 8.1 | Power frequency: a) Dry-kV (rms) b) Wet-kV (rms |  |  |  |  |
| 8.2 | Impulse voltage 1.2/50 micro second. a) Positive-kV (peak) b) Negative-kV (peak) |  |  |  |  |
| 9. | Withstand voltage for the complete string. |  |  |  |  |
| 9.1 | Power frequency: a) Dry-kV (rms) b) Wet kV (rms) | With and without corona ang. |  |  |  |
| 9.2 | Lighting impulse voltage 1.2/50 micro second. a) Positive kV(peak) b) Negative Kv(Peak) | -do- |  |  |  |
| 9.3 | Switching surge voltage 250/2500 micro second (for 400KV only) a) Dry-kV (rms) b) Wet kV (rms) | -do- |  |  |  |
| 10. | Flashover voltage for the disc. |  |  |  |  |
| 10.1 | Power frequency: a) Dry-kV (rms) b) Wet kV (rms) |  |  |  |  |
| 10.2 | Lighting impulse voltage 1.2/50 micro second. a) Positive kV(peak) b) Negative Kv(Peak) |  |  |  |  |
| 11. | Flashover voltage for the complete string. |  |  |  |  |
| 11.1 | Power frequency: a) Dry-kV (rms) b) Wet kV (rms) | With and without corona ring. |  |  |  |
| 11.2 | Lighting impulse voltage 1.2/50 micro second. a) Positive kV(peak) b) Negative Kv(Peak) |  |  |  |  |

GUARANTEED TECHNICAL PARTICULARS

FOR

ISOLATORS

GUARANTEED TECHNICAL PARTICULARS FOR DISCONNECTOR

(ISOLATORS)

(To be filled in separately for Disconnectors of different voltage classes and types)

| 400 KV | 220 KV | 132 KV | 33 KV |
| --- | --- | --- | --- |

- Type / installation

- Manufacturer’s Name and

Country of manufacure

- standard/s according to which

the isolator are manufactured

- Maximum design voltage at which

the isolator can operate (kv)

- frequency (Hz)

- Rated Voltage (kv)

- Max. current that can be safely interrupted by the isolator

Inductive (A & % PF)

Capacitive (A & % PF)

8.	Continuous current rating (Amps)

- Rated short time current

- For 3 second (KA rms)

- Rated peak short time current (kVp)

10.	Current density at the minimum cross-section of

- Moving blade (Amps/Sq.mm)

- Terminal pad

- Contacts

- Terminal Connector

11.	Max. temp rise of current carrying parts when carrying rated current          continuously. (deg. C)

12.	factor for specified site conditions.

13.     Derating Insulation levels.

i)	Impulse withstand voltage (kV peak)

- Phase  to Earth

- Across isolating Distance

- Switching surge withstand voltage (kV peak)

- Phase to Earth

- Across isolating Distance

- Power frequency  withstand voltage (kV rms)

- Phase to Earth

- Across isolating distance

- Radio interference voltage at 1.1 times maximum line to ground voltage (micro volts)

- Corona inception voltage (kV rms)

- Corona extinction voltage (KV rms)

14.    Minimum clearance in air:

i)	Between poles (mm)

- Between live parts and earth (mm)

- Between live part when switch is open

- On the same pole (mm)

- Between adjacent poles (mm)

- Rated mechanical terminal  load

- Load along the terminal  connector side (kg)

ii)     Load across the terminal connector side(kg)

16.	Torque required to operate the switch in Kg. m.

- Contact zone

- Horizontal deflection (mm)

- Vertical deflection (mm)

- Total amplitude of longitudinal movement w.r.t. conductor supporting fixing contact (mm)

- Design and Construction

i)	No. of Insulators per pole

  - Contacts

- Material and grade

- Cross-sectional area in sq.mm

- Moving Blades

- Material and grade

- Cross sectional area

- Contact Support

- Material and size of channel / block

- Material and size of plate

- Rain hood – Material grade and size

- Turn and twist mechanism

- Material and size of clamps

- Material and size of springs

- Whether springs are encased

- Nuts and Bolts.

- Size, material and grade in live parts.

b)	Size material and grade in other parts

viii)	Insulator base plate

Material and size of plate below insulators

- Bearings.

- Material and size of housing

- No. of bearings, location and size

- Tandem pipe

- Size class and no. of pipes

- Size of shackle, screw

- No. of bearings / bush and its material and size

- Type of inter lock

- Down pipe size and class

- Type of universal / swivel joint

- Between bearing and down pipe

- Between down pipe and operating mechanism

xiv)  Operating mechanism

- Control cabinet

Material and thickness

Degree of protection

Type size and no. of cable glands

Whether removable gland plate provided.

b) Make type, rating and qty. of motors per isolator

Gears

Limit switches

Contactors

Over load relay

Single phase preventor

Auxiliary switch

Terminal blocks

Insuiator wires

HRC fuses

Pole discrepancy relay

Timer

Space Heater

Interlocks

- Insulators

- Type

- No. of units per insulator stack.

- Rating of insulator (kV)

- Height of each insulator stack (mm)

- Bolt circle diameter (mm)

- Tensile strength (kg)

- Compressive strengh

- Torsional strength (kg. m)

- Cantilver strength upright (kg)

- Power frequency dry flash over voltage (kV) rms

- Power frequency wet flash over voltage (kV) rms

- Power frequency puncture voltage (kV) rms

- Impulse flash over voltage (positive wave) (kV) peak

- Impulse withstand voltage (kV) peak

- Power frequency withstand voltage (kV) rms

- Visual discharge voltage level (kV) rms

- Creepage distance

Total (mm)

Protected (mm)

- Dry arcing distance (mm)

xvi)	Base

- Size of steel sections used

- Overall size

- Total weight

xvii)	Terminal connectors

- Clamp Body

Alloy Composition

Plating if any

Area at min. cross section

b)Bolts and nuts size

Alloy composition

Tensile strength

c)Type of washers used

d)Materials of braids

e)Temperature rise when carrying rated current at 50 deg. C ambient (deg.C)

f)Weight of each type of clamp (kg)

List of bought out items.

| Sl. No. | Particulars of components | Qty. | Rating | Make | Type |
| --- | --- | --- | --- | --- | --- |

- List of test certificates (Type and routine)

- List of drawings furnished.

GUARANTEED TECHNICAL PARTICULARS

FOR

SURGE ARRESTORS

GUARANTEED TECHNICAL PARTICULARS

| Sl No. | Description | 390 KV | 216 KV | 120 KV | 30 KV |
| --- | --- | --- | --- | --- | --- |
| 1 | Bidder’s Name and Address. |  |  |  |  |
| 2 | Manufacturer’s Name. |  |  |  |  |
| 3 | Manufacturer’s type designation. |  |  |  |  |
| 4 | Applicable standards. |  |  |  |  |
| 5 | Arrester class and type. |  |  |  |  |
| 6 | Rated Arrester Voltage (KV rms). |  |  |  |  |
| 7 | Maximum continuous operating voltages (MCOV) at design ambient temperature (KV-rms). |  |  |  |  |
| 8 | Nominal discharge current (8/20 micro second wave) (KA). |  |  |  |  |
| 9 | Minimum discharge capability referred to rated voltage at minimum of discharge characteristics (KJ/KV). |  |  |  |  |
| 10 | Line discharge class as per IEC. |  |  |  |  |
| 11 | Maximum switching surge residual voltage at 1 KA (KVP) for 390KV,216KV, 120KV and for 30KV at 500A. |  |  |  |  |
| 12 | Maximum switching surge residual voltage at 1 KA for 216 KV. |  |  |  |  |
| 13 | Maximum residual voltage for 8/20 micro-second current wave. |  |  |  |  |
|  | (a) At 50 % nominal discharge current. |  |  |  |  |
|  | (b) At 100 % nominal discharge current. |  |  |  |  |
|  | (c) At 200 % nominal discharge current. |  |  |  |  |
| 14 | Maximum residual voltage with 1 micro-second current wave at 10 KAP (KVP). |  |  |  |  |
| 15 | One minute power frequency (dry) & (wet) withstand voltage of arrester (KV-rms). |  |  |  |  |
| 16 | Impulse withstand test voltage of arrester housing with 1.2/50 micro-second wave (KVP). |  |  |  |  |
| 17 | High current short duration (4/10 micro-second impulse wave) (KAP). |  |  |  |  |
| 18 | Low current long duration (KAP). |  |  |  |  |
| 19 | Reference voltage and corresponding reference current of arrester (KV)(mA). |  |  |  |  |
| 20 | Maximum internal leakage current by its rms or peak value and both resistive and capacitive component separately at |  |  |  |  |
|  | (a) COV (resistive/capacitive) (mA). |  |  |  |  |
|  | (b) 1.1 COV (resistive/capacitive) (mA). |  |  |  |  |
|  | (c) COV at 150C (resistive/capacitive) (mA). |  |  |  |  |
|  | (d) Reference voltage (resistive/capacitive)(mA). |  |  |  |  |
| 21 | Pressure relief class. |  |  |  |  |
| 22 | Are the protection levels affected by pollution of external insulation. |  |  |  |  |
| 23 | Energy absorption capability per operation of the arrester, during a switching surge discharge (KJ). |  |  |  |  |
| 24 | Maximum amount of energy that may be despatched into the arrester during discharge assuming that discharge takes place within 1 minute period and state the switching surge current (KJ/KA). |  |  |  |  |
| 25 | Internal pressure required to operate pressure relief device as a percentage of burst pressure of porcelain (KJ) & %. |  |  |  |  |
| 26 | Dynamic over-voltage withstand capability (KV-rms). |  |  |  |  |
|  | (a) For 0.1 Second. |  |  |  |  |
|  | (b) For 1 Second. |  |  |  |  |
|  | (c) For 10 Seconds. |  |  |  |  |
|  | (d) For 100 Seconds. |  |  |  |  |
| 27 | Minimum prospective symmetrical fault current (KA). |  |  |  |  |
| 28 | Rejection rate of ZnO blocks during manufacturing and operation for the past three years (%) separately. |  |  |  |  |
|  | (a) 2004-2005. |  |  |  |  |
|  | (b) 2005-2006. |  |  |  |  |
|  | (c) 2006-2007. |  |  |  |  |
| 29 | ZnO DISC DATA. |  |  |  |  |
|  | (a) Rated voltage of ZnO disc. (KV-rms). |  |  |  |  |
|  | (b) No. of ZnO discs in a unit (Nos.) |  |  |  |  |
|  | (c) No. of units of arrester (Nos.) |  |  |  |  |
|  | (d) Height/thickness of ZnO discs (mm). |  |  |  |  |
|  | (e) Diameter of ZnO disc (mm). |  |  |  |  |
| 30 | EXTERNAL INSULATION. |  |  |  |  |
|  | (a) Type. |  |  |  |  |
|  | (b) Applicable standard. |  |  |  |  |
|  | (c)(i) Lightning Impulse withstand test voltage of housing with 1.2/50 micro sec. Wave (KVP). |  |  |  |  |
|  | (ii) Wet switching impulse test voltage (KVP) |  |  |  |  |
|  | (d) One minute power frequency withstand voltage of arrester housing KV rms. |  |  |  |  |
|  | [i] Dry. |  |  |  |  |
|  | [ii] Wet. |  |  |  |  |
|  | (e) Total creepage distance of arrester housing (mm). |  |  |  |  |
|  | (f) Cantilever strength of complete arrester (Kg-m). |  |  |  |  |
| 31 | OVER ALL DIMENSIONS. |  |  |  |  |
|  | (a) Overall Height (mm). |  |  |  |  |
|  | (b) Height upto top of terminal pad from mounting plane (mm). |  |  |  |  |
|  | (c) Material of terminal pad. |  |  |  |  |
|  | (d) Size of terminal pad (mm). |  |  |  |  |
|  | (e) Mounting dimensions and diameter of mounting holes (mm). |  |  |  |  |
|  | (f) Diameter of insulator (mm). |  |  |  |  |
|  | (g) Total weight of complete arrester (Kg.) |  |  |  |  |
| 32 | TERMINAL CONNECTOR. |  |  |  |  |
|  | (a) Manufacturer’s Name. |  |  |  |  |
|  | (b) Applicable standards. |  |  |  |  |
|  | (c) Type. |  |  |  |  |
|  | (d) Material of connector. |  |  |  |  |
|  | [i] Clamp body. |  |  |  |  |
|  | [ii] Bolts and Nuts. |  |  |  |  |
|  | [iii] Spring washers. |  |  |  |  |
|  | (e) Rated current (Amps.) |  |  |  |  |
|  | (f) Rated terminal load (kg.) |  |  |  |  |
|  | (g) Factor of safety. |  |  |  |  |
|  | (h) Minimum thickness of any part (mm). |  |  |  |  |
|  | (i) Weight of clamp complete with hard ware (kg.) |  |  |  |  |
|  | (j) Type test report as per IS enclosed. |  |  |  |  |
|  | (k) OGA Drawing enclosed. |  |  |  |  |
| 33 | INSULATORS. |  |  |  |  |
|  | (a) Manufacturers Name. |  |  |  |  |
|  | (b) Type. |  |  |  |  |
|  | (c) Applicable standards. |  |  |  |  |
|  | (d) Height (mm). |  |  |  |  |
|  | (e) Diameter (top)(mm). |  |  |  |  |
|  | (f) Diameter (bottom) (mm). |  |  |  |  |
|  | (g) Total creepage distance (mm). |  |  |  |  |
|  | (h) Rated voltage (KV – rms). |  |  |  |  |
|  | (i) Power frequency withstand voltage for 1 min. dry and wet (KV – rms). |  |  |  |  |
|  | (j) 1.2/50 micro - second impulse withstand voltage (KVP) |  |  |  |  |
|  | (k) Corona Extinction voltage (KV-rms) |  |  |  |  |
|  | (l) Weight (kg.) |  |  |  |  |
|  | (m) Maximum allowable span (mm). |  |  |  |  |
|  | (n) Cantilever strength (Kg – m). |  |  |  |  |

GUARANTEED TECHNICAL PARTICULARS

FOR

33/0.433 KV, 315 KVA STATION TRANSFORMER

GUARANTEED TECHNICAL PARTICULARS FOR 33/0.433 KV ,STATION TRANSFORMER:-

1.	Name of the manufacturer.

2.	Service.

3.	KVA Rating:-

a)	H.V. Winding.					KVA

b)	L.V. Winding.					           KVA

4.	Highest system voltage/Nominal voltage.

a)	H.V. Winding.					KV

b)	L.V.Winding						KV

5.	Rated frequency.						Hz

6.	Number of phases.

7.	Connections:-

a)	H.V. Winding.

b)	L.V. Winding.

8.	Connection symbol (See IS: 2026 (Part-IV-1977).

9.	Tappings:-

a)	Range

b)	Number of steps for high

voltages variation.

10.	Reference ambient temperature:-

a)	Maximum ambient air/temperature.		ºC.

b)	Maximum daily average ambient air		ºC.

temperature.

c)	Maximum yearly average ambient			ºC.

air temperature.

d)	Minimum ambient air temperature.		ºC.

e)	Maximum cooling water temperature.		ºC.

11.	Type of cooling (See IS-2026 (Part-II)/1977.)

12.	Temperature rise (See 2026 (Part-II)/1977)

a)	Temperature of oil					ºC.

b)	Winding.						ºC.

13.	i)	Total loss at rated nominal voltage			KW

at normal tap & rated frequency.

ii)	Stray loss at 75ºC.

iii)	% Regulation.

14.	(A) Component losses.

a)	No-load loss at rated nominal voltage		KW

and normal frequency.

  - Load loss at rated current and rated frequency

at normal tapping at 75ºC. & at extreme taps.

(B)	Resistance at normal tap & at 75ºC.

i)	H.V.

ii)	L.V.

15.	Impedance voltage & percentage Impedance

at full rated current at 75ºC. for the

a)  Normal tap.

b)  Lowest tap position

  - Highest tap position.

16.	Reactance at rated current and 				Percentage.

rated frequency.

- No load current at rated nominal voltage and rated

frequency and at 50%, 75%, 100%, 110% & 121%

voltage & at rated frequency.

18.	Insulation level (See IS-2026 (Part-III/1977).

- Separate source power frequency voltage withstand

i)	H.V. Winding							KV rms.

ii)	L.V. Winding.						KV rms.

- Induced over voltage withstand.

i)	H.V. Winding.						KV rms.

ii)	L.V. Winding.						KV rms.

- Full wave lighting impulse withstand voltage

with time vrs. peak voltage characteristic curves.

i)	H.V. Winding.						KV Peak.

ii)	L.V. Winding.						KV Peak.

- P.I. value.

19.	Efficiencies at 75ºC at unity power factor.

- At full load.						Percent

- At ¾ full load						-do-

- At ½ full load						-do-

- At 120% of full load.

20.	Regulation at full load at 75ºC

- At unity power factor.					-do-

- At 0.8 power factor loading & lagging.			-do-

21.	Equipment for ONAN cooling.

- State.

- No.of Radiators on main tank.

    - Make & type

    - Total radiating surface

    - Thickness of radiator fins

    - Clear distance between fins

    - Width of radiator fins

22.	Number of coolers or cooler banks per transformer

23.	Rating of each cooler or cooler bank.

24.	Terminal arrangement.

- High voltage.

- Low voltage.

- Neutral.

25.	Approximate masses:-

- Core     						Kg.

- Winding.						Kg.

- Tank, fittings & accessories. (Name of		Kg.

accessories to be mentioned).

- Oil.							Kg.

- Core coil assembly					Kg.

f)          radiators							Kg.

g)         Total mass							Kg.

26.	a)Approximate quantity of oil required				Ltrs.

for first filling.

b)Name of the manufacturer of oil used

27.	Approximate tank dimensions for

over all dimensions.

- Length						mm

- Breadth.						mm

- Height.						mm

- Thickness of main tank cover plate,		mm

side & bottom plate.

- Tank inside & outside dimension.			mm

Length/breadth/height. No. of tubes in each

rediator. Tube length in copper, thickness

& dia. Each side tubes (Nos.).

28.	Despatch details.

a)	Approximate mass of heaviest package.			Kg.

b)	Approximate dimensions of largest package.

- Length.						mm

ii)	Breadth.							mm

iii)	Height.							mm

29.	Un-tanking height.							mm

30.	Additional technical particulars.

i) (a) i.	Maximum flux density at highest system		Tesla or Wo/m².

voltage & 48.5 c/s frequency.

ii) Maximum flux density at rated system

voltage & rated frequency.

(b)   Maximum current density in windings.		Amps/Sq.Cm

(c)    Size of conductor used. 				HV/LV

High voltage.

Low voltage.

ii)	Efficiency at 75ºC and 0.8 P.F. lagging

At full load.						Percent.

At ¾ full load						-do-

At ½ full load						-do-

Over loading capacity & efficiency.

iii)	Load at which maximum efficiency occurs.	-do-

iv)	Maximum efficiency.					Percent.

- Impulse level with 1/50 Micro.S. Wave.

High voltage							KV

Low voltage							KV

vi)	No-load loss at 110% rated nominal

voltage and rated frequency.			KV

vii)	No load current at 110% & 121% of nominal

voltage & rated frequency.				Percentage.

viii)	Type of winding.

High voltage.

Low voltage.

No. of turns of H.V.

No. of turns of L.V.

ix)	Insulation materials.

Turn insulation high voltage.

Turn insulation low voltage.

Insulation core to low voltage.

Insulation high voltage to low voltage.

x)	Clearance:-

Minimum clearance between phases.

- In oil.						mm

- Out of oil.						mm

Maximum clearance high voltage to

tank in oil.								mm

Minimum clearance high voltage to

earth in oil.								mm

xi)	Minimum clearance height for lifting

core & windings from rank.					mm.

31.	CORE	 :-

(i)	Core materials used. (grade & thickness).

(ii)	Loss in watts/Kg. of core materials corres-	(Watts/Kg. curve to be

ponding to desired flux densities.			furnished along with

the bid.).

(iii)	EMF per turn

(iv)	Core circumcircle dia (d).

(v)	No. of core bolt holes per phase.

(vi)	Dia of each core bolt holes in mm.

(vii)	Net iron  section (cm²).				Limb/Yoke.

(viii)	Weight (Kg.)

(ix)	Total GI (Kg.)

(X) Total (KW).

No. of steps.				1		2		3			4

Stack in mm.

Width of core in mm.

Stacking factor of core.

------------------------------------------------------------------------------------------------------------------------

32.(a)	WINDING :-

Current per phase (Amp.)		LV		HV		HV regulating.

conductor bare (mm) No. of

conductor insulation (mm).

Conductor section (mm²)

Current density (A/mm²)

Turns per phase (T).

Coils per limb.

Arranged.

Turns per coil.

Turns per layer.

Layers per coil.

Winding depth.

Coil dia inside.

Coil dia outside.

Length of mean turns.

Resistance at 75ºC,

Total 1² R including stray at 75ºC,

Weight of copper with/without

insulations.

(b)	Radiators provided (Nos.).

No. of fins provided.

Radiator size in mm (Length x wide x fin Nos.)

Loss to be dissipated by Radiators in KW.

Dissipation per fin at 50ºC.

Thermal head in mm.

Radiator area.

33.	Oil data:-

1.	Quantity for first filling.				Ltr.

2.	Grade of oil used.

3.	Maker’s name.

4.	BOV at the time of filling.

5.	Type of oil.

34.	Make of breather and type with capacity

of silica gal filled in grams.

35.	Inter layer insulation provided in design for:-

1.	Top and bottom layer.				mm

2.	In between all layers.				mm

3.	Details of insulation.					mm

4.	Whether wedges are provided at

50% turns of the coil.

36.	Insulation materials.

a)	For conductors.					H.V.

b)	For core.						L.V.

37.	Particulars of bushings:-

1.	Maker’s name.

2.	Type IS-3347/IS-1180.

3.	Rating as per I.S.

4.	Dry flash over voltage

KV

5.	We flash over voltage

KV.

38.	I.R. value at 30ºC.

HV/E

LV/E

HV/LV

39.	Polarisation Index :-

Measurement of Insulation resistance at

10 minutes/1 minute.

HV/E.

LV/E.

HV/LV.

GUARANTEED TECHNICAL PARTICULARS

FOR

CONTROL & RELAY PANEL

TECHNICAL DATA REQUIREMENTS

CONTROL AND RELAY PANELS

(Bidder’s Name )                       -----------------------

1.	Name and address of Manufacturer of panels 1. …………………….

2.	Manufacturer’s type and designation	2. …………………….

3.	Type of construction (Simplex /duplex)	3. ……………………

4.	Thickness of sheet steel			4.

(i)	Front					i) ………………………

(ii)	Back					ii) ……………………..

(iii)	Sides					iii) ……………………..

5.	Degree of protection				5. ……………………..

6.	Name of the manufacturer of relays.	6. ……………………..

7.	DC voltage of the relays			7. …………………….

8.	Make and Model of static (o.2 accuracy class) 8. …………………….

Type ) energy meters

9.	Confirm whether offered manufacturer of C&R	9………………………

Panels and protective relays have tested

Commissioned & they are in successful operation

For at least two years in 400 /220/132/33 kV system.

For 400/220/132 KV Sub-Station

1).

(A) TYRANSMISSION LINE PROTECTION

Numerical Distance protection Scheme (Main-1)

1.	Name and address of Manufacturer of Relay/panels 1. …………………….

2.	Manufacturer’s type and designation 2. …………………….

3.	Switched or Non-switched type (is  3. …………………….

It with separate measurements for

Single/three phase faults)

4.	Setting range of off set feature	4………………………

5.	Whether the relay is having self	5. ……………………..

Monitoring feature.

6.	Whether relays is compatible for  	6. ………………………

PLCC equipment and can be used

for Permissive Under  reach/over

reach /Blocking scheme etc.

7.	Suitable for single and three phase Trip?7. ……………………..

8.	Type of shaped characteristic		8. ……………………..

9. 	Whether it is communicable to other relays 9...............................

of different manufacturer. Also mention the

communicating protocol.

10.	Features like broken conductor,SOTF,Distance	10............................

to fault locater & other features as per Tech Spec

are available or not.

11.	No of tripping contacts with making		11. ……………………

Capacity of 30 amp for 0.2 seconds.

12.	In case 16 contacts as per above			12. …………………..

Clause are not available with the distance relay

Offered, type tripping relays being offered.

13.	Maximum operating time for at 50% of the	13. …………………..

Reach setting of 2 ohms and 10/20 ohms

(with CVT) including all trip relays, if any

(Bidder is required to enclose isochronic

Curve with CVT on line)

- at SIR=4			a) …………………….

b)	at SIR=15, (3 phase faults)		b) …………………..

c)	at SIR=15 (other faults)	c) …………………….

14.	IDMT earthy fault relay meeting Normal	14.................

Inverse Characteristics as per IEC 60253

Is being offered as built in feature for 400/220/132 KV lines.

15.	If no, type of IDMT relay being offered	15.......................

16.	Built in feature offered with the relay (YES/NO)	16........

a)	Disturbance recorder			a) ……………………

b)	Fault locater					b) ……………………

c) 	Over voltage (one stage only)		c) ……………………

d)	Auto recluse along with Dead line		d) ………………….

e)	Charging and check synchronizing.	e) ………………….

17. Indicate the no. of Binary Input & Out put contacts	17........................

(B)  Numerical Distance protection Scheme (Main-2)

1.	Name and address of Manufacturer	1. …………………….

2.	Manufacturer’s type and designation	2. …………………….

3.	Switched or Non-switched type (is 	3. …………………….

it with separate measurements for

Single/three phase faults)

4.	Setting range of off set feature.		4………………………

5.	Whether the relay is compatible for PLCC	5. …………………….

Equipment and can be used for permissive

Under reach/over reach/Blocking scheme etc.

6.	Suitable for single  and three phase Trip  		6. ………………………

7.	Type of shaped characteristic			7. ………………….

8.	No of tripping contacts with making		8. ……………………

Capacity of 30 amp for 0.2 seconds.

9.	In case 16 contacts as per above			9. …………………..

Clause are not Available with the distance relay

Offered, type of tripping relays being offered.

10.	Maximum operating time for at 50% of the	10. …………………..

Reach setting of 2 ohms and 10/20 ohms

(with CVT) including all trip relays, if any

(Bidder is required to enclose isochronic

Curve with CVT on line)

- at SIR=4				a) …………………….

b)	at SIR=15, (3 phase faults)		           b) …………………..

c)	at SIR=15 (other faults)		c) ………………….

11.	Built in feature offered with the relay (YES/NO)

a)	Disturbance recorder		a) ……………………

b)	Fault locator				b) ……………………

c) 	Over voltage (one stage only)	c) ……………………

d)	Auto recluse along with Dead line	d) ………………….

Charging and check synchronizing.

(C) BACKUP DIRECTIONAL OVER CURRENT

AND EARTH FAULT PROTECTION SCHEME( Numerical)

1.	Name and address of Manufacturer	1. …………………….

2.	Manufacturer’s type and designation	2. …………………….

3.	Three over current and one E/F elements	3. …………………..

Are whether independent or composite unit

4.	Type of relay (Numerical)			4. ………………….

5.	Directional sensitivity.                             5. …………………..

6.	Whether characteristics conform to IEC 255-3	6. …………………..

7.	Over current unit setting range inverse time	7……………………

8.	Earth fault unit setting range inverse time		 8. ………………..

9.	VT Fuse failure relay/ feature included		9. ………………….

For alarm.

10.     Whether it is communicable to other relays   10...............................

of different manufacturer. Also mention the

communicating protocol.

(D) LINE OVER VOLOTAGE PROTECTION RELAY

1.	Name and address of Manufacturer.          	1. …………………….

2.	Manufacturer’s type and designation		2. …………………….

3.	Type of relay (Electromechanical/static/Numerical)3. …………………..

4.	Operation indicator provided?			4. ………………….

5.	Operating time					5. ………………….

6.	Resetting time					6. ……………….

7.	Whether monitors all three phases?		7. ………………..

8.	Built in feature of Main/Main 2 distance		8. ………………….

Relay is offered. If so, which stage is

Offered as built in

(E) DISTANCE  TO FAUALT LOCATOR

1.	Name and address of Manufacturer of panels	1. …………………….

2.	Manufacturer’s type and designation		2. …………………….

3. 	Built in feature of Main/Main 2 distance		3. ………………….

Relay is offered

4.	Maximum registering time			4. ………………….

5.	Whether direct display unit provided?	5. ………………….

6.	Whether both phase to phase fault and	6. …………………..

Phase to earth fault measuring units included?

7.	Whether-On-Line type			7. ………….....

8.	Accuracy for the typical conditions defined 8. ………………..

Under technical specification.

(F) DISTURBANCE RECORDER

a. Acquisition unit.

1.	Name and address of Manufacturer .         1. …………………….

2.	Manufacturer’s type and designation	2. …………………….

3.	No. of analogue channels			3. …………………..

4.	No. of digital recording channels.		4. ……………………

5.	Built in feature of Main 1/ Main 2 distances.5. …………………..

Relay is offered.

6.	Pre-fault  memory (milli seconds)			6. ……………….

7.	Post fault memory (seconds)		7. …………….

8.	Total storage memory is seconds.	         8. …………….

9.	Sampling Frequency.				9. …………….

10.	Resolution of the event channels (ms)		10. …………….

11.	Time display present?			11. ………………

12.	Data out put in COMTRADE  is available. 	12. ………………

b. Evaluation Unit.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	No. of acquisition unit that can be connected`		3.

To one evaluation unit.

- Technical parameters of evaluation unit			4.

A.  Processor and speed.			A.

B. RAM and hard disk capacity.				B.

C. Additional facilities.				C.

D. Details of printer.					           D.

5.	Details of power supply arrangement for			5.

Acquisition unit (including printer).

(G) AUTO RECLOSE RELAY

1.	Name and address of Manufacturer.			1……………

2.	Manufacturer’s type and designation.			2. ……….

3.	Electromechanical/ static /numerical.			3……………

4.	Auto re closure relay along with Dead line charging	4.

And check synchronizing relay (For 132 KV

Lines) offered as a part of distance relay.

5.	Built in feature of Main 1/ Main 2 distances.		5. …………………..

Relay is offered.

6.	Suitable for single and three phase?			5. …………..

7.	Single phase dead time setting Range.				6. ……………

8.	Three phase dead time setting range.			7. ………….

9.	Reclaim time setting range. 				8……………

2.)

TRANSFORMER PROTECTION

a) Differential relay.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Second harmonic restraint provided.			3. ………….

4.	Whether three instantaneous units provided		4. ………….

5.	Operating current setting range.				5…………..

6.	Bias setting range,.						6. ………..

7.	Operating time at 5X setting current.			7. ………..

8.	Resetting time.						8. ……….

9.	How ratio / phase angle corrections are being		9. ……………

done (inter posting transformer/ internal feature

in the relay)

10. 	Whether numerical or not					10.................

11.	Fifth Harmonic restraint feature.				11................

12.	Communication protocol					12..............

b) Restricted Earth Fault Protection

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Operating time at 2 x setting.				3. ……………..

4.	Whether numerical    					4.................

5.	Whether suitable for all type of transformer		5.............

windings or not.

c) Over Fluxing relays.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Whether inverse time operating characteristics		5. ………….

4.	Maximum operating time.					6. …………….

5.	Accuracy of operating time.					7. ………….

6.	Resetting time.  						8. ………….

d) Directional O/C and E/F relays.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Whether Characteristic will confirm to IEC 255-3	3…………….

4.	Directional sensitivity.					4………………

5.	Over current unit setting range				5. …………..

a)	Inverse time						a) ……

b)	High set						b) ………….

6.	Earth fault unit setting range.				7. ……………

a)	Inverse time						a) ……………

b) 	High set						b) …………..

7. 	Whether numerical						7................

8. 	Features of disturbance recording				8..............

3)

GENERAL PROTECTION / MONITORING EQUIPMENT

a) Trip Circuit Supervision relay.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Whether pre-closing and post closing			3. ……………

Supervision provided?

4.	Time delay.							4. ……………

b) High Speed Trip Relays.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Contact rating.						3. ……………

a) 	Making and carry continuously			a) ………….

b)	Make and carry for 0.5 sec.			b)………….

c)	Break.							c) …………..

i)	Resistive load.						I) ……………

ii)	Inductive load.						Ii) ……………

(With L/R= 40 milli sec.).

4.	Operating time at rated voltage (maximum)		4. ……………

5.	Resetting time ..						5. ………….

6.	Whether supervisory relays included. 			6. ……………

c) Local breaker back-up protection.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Operating time						3. …………….

4.	Resetting time.						4. ……………

5.	Setting ranges						5. ……………

a) 	Current						a) …………..

b) 	Time.								b) …………..

4)

BUS BAR PROTECTION

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Type of relay

(Numerical)								3. ……………

4.	Principle of operation (Biased.High/Low impedance)	4. ………….

5.	Operating time						5. …………….

6.	Resetting time.								6. …………..

7.	Resetting ranges.								7. …………..

(i)	Current.								(i) ………..

(ii)	Time.									(ii) ……………

8.	Whether will it cause tripping for the differential		8. ……………..

Current below the load current of heavily

Loaded feeder (Bidder shall submit application

Check of the same).

9.	Whether LBB protection features available.		9......................

10.	Features of disturbance recording				10..................

- Communication protocol					11..............

5)

Meters and Instruments Indicating meters.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Operating principle or type of movement.		3. …………..

4.	Range:							4. …………….

(i)	Voltage.						(i) ……………

(ii)	Current						(ii) ………….

(iii)	Frequency						(iii) ……………

- Megawatt								(iv) …………….

- Megavar								(v) ……………..

5.	Accuracy class.								5. ……………….

6.	Total deflection angle					6. ………………

7.	Overall dimensions in mm.					7. ………………

8.	Burden							8. …………….

(i) 	Current coil								(i) ……………

(ii)	Voltage coil.							(ii) …………..

9.	Digital type									9...............

a) Recording Meter for voltage

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Accuracy class.						3. ……………

4.	Full span response time					4. …………..

5.	Is it strip type recorder/ digital type			5. ……………

6.	If it is digital type						6……………

i)	No of channels beings used.			I) ………………..

ii)	Whether time tagged information is available	ii) ……………..

iii)	Whether EMNC./EMI compatibility is tested	iii) …………….

b) Recording Meter for Current

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Accuracy class.						3. ……………

4.	Full span response time					4. …………..

5.	Is it strip type recorder/ digital type			5. ……………

6.	If it is digital type						6……………

i)	No of channels beings used.			I) ………………..

ii)	Whether time tagged information is available	ii) ……………..

iii)	Whether EMNC./EMI compatibility is tested	iii) …………….

c) Recording Meter for MW

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Accuracy class.						3. ……………

4.	Full span response time					4. …………..

5.	Is it strip type recorder/ digital type			5. ……………

6.	If it is digital type						6……………

i)	No of channels beings used.			I) ………………..

ii)	Whether time tagged information is available	ii) ……………..

iii)Whether EMC./EMI compatibility is tested	i         ii) …………….

d) Recording Meter for MVAR

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Accuracy class.						3. ……………

4.	Full span response time					4. …………..

5.	Is it strip type recorder/ digital type			5. ……………

6.	If it is digital type						6……………

i)	No of channels beings used.			I) ………………..

ii)	Whether time tagged information is available	ii) ……………..

iii)Whether EMC./EMI compatibility is tested	        iii) …………….

e) Recording Meter for frequency.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Accuracy class						3. …………..

4.	Full span response time.					4. …………..

5.	Is it strip type recorder/ digital type			5. …………..

6.	If it is digital type						6……………

i)	No of channels beings used.			I) ………………..

ii)	Whether time tagged information is available	ii) ……………..

iii)	Whether EMC./EMI compatibility is tested	iii) …………….

6) OTHERS:

a) Terminal Block

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Rated current.						3. ……………

4.	Rated voltage.						4. ……………

5.	Minimum no. of conductors of area			5.

2.5mm² suitable for connection.

(i)	All circuits except CT./P.TCircuits.			(i)……………

(ii)	C.T. Circuits.						(ii) ………….

b) Switches.

i) Control Switches.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	No.of contacts.						3. ……………

4.	Type of handle.						4. ……………..

5.	Rating of handle.						5. …………….

6.	Rating of contacts.						6. ……….. …….

a)	Make and carry continuously.			a) …………..

b)	Make & carry for 0.5 sec.		b) …………….

c)	Break resistive load, in Amps (d.c)		c) ………..

d)	Break inductive load with L/R=40 m.sec		d) …………..

inn Amps. (d.c)

7.	Life of switch in terms of million mechanical 		7.

operations

ii) Synchronizing switch

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Contact ratings.						3. …………..

4.	No.of positions.						4. ……………

5.	Removable handle type?					5. ……………

6.	No.of contacts							6.  ……………

iii) Indicating Lamps.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Ratings

(i)	Current						(i) …….

(ii)	Voltage						(ii) …………

(iii) 	Wattage						(iii) …………

4.	Whether series resistors are provided?			4. ……………

5.	If series resistors provided, give 				5. ……………

(i)	Ohmic value						(i) ……..

(ii)	Wattage						(ii) …………..

6.	Life of Lamps in burning hours.				6. ……………

7.	Permissible voltage variation				7. …………..

8.	Whether LED type						8...............

iv) Push Buttons.

1.	Name of Manufacturer.					1. …………………….

2.	Manufacturer’s type and designation			2………………

3.	Contact ratings.						3. …………..

4.	No.of contacts						4. ……………

v) Semaphore Indicators.

1.	Name and address of Manufacturer			1. …………….

2.	Manufacturer’s type and designation			2………………

3.	Is colour similar to mimic?					3. ………….

4.	No.of positions						4. …………….

5.	Burden DC							5. …………..

6.	Is the coil continuously rated?				6. …………..

vi) Trransducers.

1.	 Make								1. …………….

2.	type & Model No.						2. ……………..

3.	Nominal AC input voltage.					3. …………….

4.	Frequency.							4. ……………..

5.	Input measuring Range					5. ………………

6.	Output current range.					6. ……………..

7.	Accuracy range.						7.

8.	Response time.						8……………….

9.	A.C. ripple on output					9. ……………….

10.	Load Resistance (Maxm.)					10. ……………….

11.	Auxiliary supply voltage..					11. ……………….

vii) Annunciators.

1.	Make								1. ………………

2.	Type & Model No.						2. ………………

3.	Static/electromechanical					3. ……………….

4.	No. of lamps per window					4. ………………

5.	Lamps								5. ……………….

a)	Voltage						a) ………………

b)	Wattage.						b) ……………..

6.	Minimum duration of impulse for initiating.		6. ……………

Contact in millisecond

7.	Type of reset self/manual.					7……………..

GTP FOR

LIGHTING

LIGHTING SYSTEM

A	Lighting System & Accessories			A

1.	Manufacturer’s Name and address	1…………………………………………..

a)	Fixture				a)………………………………………….

b)	Accessories			b)………………………………………….

2.	Applicable Standards for		2……………………………………………

a)	Fixture				a)………………………………………….

b)	Accessories			b)………………………………………….

3.	Manufacturer’s Name type and catalogue no. for 3. ………………………………………….

a)	Fixture				a)………………………………………….

b)	Accessories			b)………………………………………….

4.	maximum permissible supply voltage

Variation for satisfactory operation of

a)	Fixture				a)………………………………………….

b)	Accessories			b)………………………………………….

B.	Conduits & Accessories		B.

(For each type & size)

- Manufacturer’s Name and address	1. …………………………………………

- Manufacturer’s type, designation	2. ………………………………………….

- Applicable standard			3. …………………………………………

C.	Junction Boxes			C

(For each type & size)

- Manufacturer’s Name and address	1. …………………………………………

- Manufacturer’s type, designation	2. ………………………………………….

- Type of enclosure		3. …………………………………………

D.	Lighting panels		D.

(For each type & size)

- Manufacturer’s Name and address	1. …………………………………………

- Type					2. …………………………………………

- Degree of Protection			3. …………………………………………

E.	Lighting Transformer		E.

- Manufacturer’s Name and address	1. …………………………………………

- Type					2. …………………………………………

- Rating (KVA)				3. …………………………………………

- Standards Applicable			4. …………………………………………

- Degree of protection for enclosure	5. …………………………………………

F.	Lighting Ploes

- Manufacturer’s Name and address	1. …………………………………………

- Type					2. ………………………………………..

- Dimensions				3. ………………………………………..

G.	Lighting Wires.			G.

1.	Manufacturer’s Name & Address.	1. ………………………………………..

2.	Voltage grade				2. ………………………………………..

3.	Cross section of conductor.		3. ………………………………………..

4.	Insulation Thickness.			4. ………………………………………

GTP FOR

DISTRIBUTION BOARD

DISTRIBUTION BOARD

L.T. Switchgear

1.	Manufacturer’s Name				1. …………………………………

2.	Whether Manufacturer’s have supplied 	2.      	YES		NO

50 Nos. draw out Air circuit breaker

panel out of which 5 Nos. are with CT

and relaying scheme.

3. 		Whether manufacturer’s have supplied	3.	YES		NO

50 Nos. MC panels similar to the offered panels.

- Whether 100 nos. (at least ) circuit breakers of 4.	YES		NO

the make and type being offered are already

been operating satisfactorily.

- Rated short circuit current			5.

  - Symmetrical short circuit withstand 5.1 ………………………………………

Current at rated voltage of switchgear

cubicle.

5.2	Peak short circuit withstand current	5.2 …………………………………

- Degree of protection.			6. ………………………………………..

6.1	Breaker / MCC/ AC & DC		6.1. …………………………………..

6.2	Distribution Cubicles.		6.2 …………………………………..

6.3	Busbar Chamber			6.3 …………………………………..

- Standard height, width & depth of typical panel	7.

7.1	Circuit Breaker Panel			7.1 …………………………………..

7.2	MCC panel					7.2 …………………………………

7.3	AC/DC Distribution Board.			7.3 …………………………………

- Width of cable alley				8. ……………………………………

- Whether equipment are type tested as per IS	9.	YES		NO