## 132 kV UG cables
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 1 - Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Country of Origin | Unit | Qty. | Unit Price1 |  | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency | CIF or CIP | Foreign Currency | Local Currency
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. |  | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. |  | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. |  | Nos | 168
1.4 | Supply of Straight through joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. |  | Nos | 132
1.5 | Construction of 132kV Cable jointing bay of Size 8.25 m (L)X 1.75 m (W) X 2m (D) suitable for Single Circuit |  | Nos. | 82
1.6 | Supply of material for jointing chamber at Straight through joint for Single Core XLPE insulated 800 & 630 sq. mm. Copper Cable as per Technical specification. |  | Nos | 82
1.7 | Supply of Outdoor pre-moulded termination jointing kit for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification |  | Nos | 12
1.8 | Supply of Outdoor pre-moulded termination jointing kit for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification |  | Nos | 12
1.9 | Supply of PVC pipe 100mm diameter for pilot wire/control and monitoring cables |  | Kms | 56
1.1 | Fibre Optic cable run along with EHV cable route |  | Kms | 52
1.11 | Supply of High Density Polyethylene(HDPE) pipe 160 mm diameter for Road/Railway crossing as per specification |  | Kms | 10
1.12 | EHV Cable buried trench |  |  |  | -
1.12.1 | Direct buried, with the cables (3) of each circuit laid in trefoil formation and side by side in one trench, leaving at least a gap of 250mm |  | Kms | 38
1.12.2 | Laid in Trench less piping |  | Kms | 3.4
1.12.3 | Laid in Rail Track crossing(3 nos) |  | Kms | 0.6 |  |  | - | -
1.12.4 | Laid in Air, supported on piers/walls, for nallah-crossing |  | Kms | 5 |  |  |  | -
1.12.5 | Supply of 132 kV Cable trench RCC Slabs of Size 1000mm X 300mm X 50mm RCC type as per drawing |  | Kms | 40
1.13 | Supply of materials for 132KV Bay Extension
1.13.1 | Supply of 132kV SF6 CB as per Tech. Spec |  | set | 4
1.13.2 | Supply of 132kV LA as per Tech. Spec 1ph |  | Nos | 4
1.13.3 | Supply of 132kV CT as per Tech. Spec 1ph |  | Nos | 4
1.13.4 | Supply of 132kV CVT as per Tech. Spec 1ph |  | Nos | 4
1.13.5 | Supply of 132kV CR Panel as per Tech. Spec |  | set | 4
1.13.6 | Supply of 132kV D.I with earth switch as per Tech. Spec 3ph |  | set | 4
1.13.7 | Supply of 132kV S.I without E/S as per Tech. Spec 3ph |  | set | 4
1.13.8 | Supply of materials for GI Structures for bay |  | MT | 36
1.13.9 | Supply of materials for GI Nuts & bolts for bay |  | MT | 4
1.13.10 | Supply of materials ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. |  | Lot | 4
1.13.11 | Supply of materials for Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. |  | Lot | 4
1.14 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification |  | Nos | 2
Signature of Bidder
Country of Origin Declaration Form
Item | Description |  |  |  |  | Country
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Item | Description | Unit | Qty | EXW Unit Price1 | Total EXW Price1 | Sales Tax | Total Sales Tax | Entry
[6 empty] | (CST/VAT) | (CST/VAT) | Tax
1 | 2 | 3 | 4 | 5 | 6=4X5 | 7 | 8=5x7 | 9
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. | Nos | 168
1.4 | Supply of Straight through joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. | Nos | 132
1.5 | Construction of 132kV Cable jointing bay of Size 8.25 m (L)X 1.75 m (W) X 2m (D) suitable for Single Circuit | Nos. | 82
1.6 | Supply of material for jointing chamber at Straight through joint for Single Core XLPE insulated 800 & 630 sq. mm. Copper Cable as per Technical specification. | Nos | 82
1.7 | Supply of Outdoor pre-moulded termination jointing kit for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification | Nos | 12
1.8 | Supply of Outdoor pre-moulded termination jointing kit for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification | Nos | 12
1.9 | Supply of PVC pipe 100mm diameter for pilot wire/control and monitoring cables | Kms | 56
1.1 | Fibre Optic cable run along with EHV cable route | Kms | 52
1.11 | Supply of High Density Polyethylene(HDPE) pipe 160 mm diameter for Road/Railway crossing as per specification | Kms | 10
1.12 | EHV Cable buried trench |  |  |  | -
1.12.1 | Case-2, Direct buried, with the cables (3) of each circuit laid in trefoil formation and side by side in one trench, leaving at least a gap of 250mm | Kms | 38
1.12.2 | Laid in Trench less piping | Kms | 3.4
1.12.3 | Laid in Rail Track crossing(3 nos) | Kms | 0.6 |  |  |  | - | -
1.12.4 | Laid in Air, supported on piers/walls, for nallah-crossing | Kms | 5 |  |  |  |  | -
1.12.5 | Supply of 132 kV Cable trench RCC Slabs of Size 1000mm X 300mm X 50mm RCC type as per drawing | Kms | 40
1.13 | Supply of materials for 132KV Bay Extension
1.13.1 | Supply of 132kV SF6 CB as per Tech. Spec | set | 4
1.13.2 | Supply of 132kV LA as per Tech. Spec 1ph | Nos | 4
1.13.3 | Supply of 132kV CT as per Tech. Spec 1ph | Nos | 4
1.13.4 | Supply of 132kV CVT as per Tech. Spec 1ph | Nos | 4
1.13.5 | Supply of 132kV CR Panel as per Tech. Spec | set | 4
1.13.6 | Supply of 132kV D.I with earth switch as per Tech. Spec 3ph | set | 4
1.13.7 | Supply of 132kV S.I without E/S as per Tech. Spec 3ph | set | 4
1.13.8 | Supply of materials for GI Structures for bay | MT | 36
1.13.9 | Supply of materials for GI Nuts & bolts for bay | MT | 4
1.13.10 | Supply of materials ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. | Lot | 4
1.13.11 | Supply of materials for Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. | Lot | 4
1.14 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 4 - Installation and Other Services
Item | Description | Unit | Qty. | Unit Price1 |  | Total Price1 |  | Unit Service Tax
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion | Local Currency Portion
1 | 2 | 2 | 3 | 4 | 5 | 6=3x4 | 7=3x5 | 8
1 | Transporting, Storing, Laying, Testing and Commissioning of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm and Single Core 630 sq.mm Copper.
1.1 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Cable laying through open trench method 132 kV Single Core Cable 800 Sq mm and 630 Sq mm Copper | Kms | 46.8
1.2 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Underground Cable laying through HDD method for 315mm dia HDPE Pipe | Kms | 10
1.3 | Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 800 sq. mm. Copper Cable | Set | 168
| Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 630 sq. mm. Copper Cable | Set | 132
1.4 | Construction of 132kV Cable jointing bay of Size 8.25 m (L)X 1.75 m (W) X 2m (D) suitable for Single Circuit | Nos. | 82
1.5 | Transporting, Storing,making Testing and Commissioning of jointing chamber at Straight joint for Single Core XLPE insulated 800 & 630 sq. mm. Copper Cable as per Technical specification. | Nos | 82
1.6 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 800 sq. mm. Copper Cable | Set | 12
1.7 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 630 sq. mm. Copper Cable | Set | 12
1.8 | Supply of PVC pipe 100mm diameter for pilot wire/control and monitoring cables | Kms | 56
1.9 | Fibre Optic cable run along with EHV cable route | Kms | 52
1.1 | Making, Transporting, Storing, and laying of RCC slab/tile Size 1000mm X 300mm X 50mm RCC type covering over Cable trench | Kms | 47
1.11 | Reconstruction of damaged Road and other utilities to bring it's original shape after laying of cable in open trench. | Kms | 30
1.12 | Marking of Underground Cable route including Civil works (As per requirement) | Kms | 52
1.13 | Transporting, Storing, Erection, Testing and Commissioning of materials for 132KV Bay Extension
1.13.1 | Transporting, Storing, Erection, Testing and Commissioning of 132kV SF6 CB | set | 4
1.13.2 | Transporting, Storing, Erection, Testing and Commissioning of 132kV LA | Nos | 12
1.13.3 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CT | Nos | 12
1.13.4 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CVT | Nos | 12
1.13.5 | Transporting, Storing, Erection, Testing and Commissioning of 132kV CR Panel | set | 4
1.13.6 | Transporting, Storing, Erection, Testing and Commissioning of 132kV D.I with earth switch | set | 4
1.13.7 | Transporting, Storing, Erection, Testing and Commissioning of 132kV S.I without E/S | set | 4
1.13.8 | Transporting, Storing, Erection, Testing and Commissioning of GI Structures for bay | MT | 36
1.13.9 | Transporting, Storing, Erection, Testing and Commissioning of ACSR Conductor, 132kV Insulator, HW fittings & other accessories for one no of bays. | lot | 4
1.13.10 | Transporting, Storing, Construction of Civil Foundation for CB, LA, CT, CVT, CR Panel, DI & SI etc. | lot | 4
1.14 | Transporting, Storing, Erection, Testing and Commissioning of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
1.15 | CONTOUR SURVEY,AND LEVELING, BACK FILLING
1.16 | Contour survey and furnishing contour map including supply of all materials, Labour and T&P | SQ.MTRS. | 2400
1.17 | Soil investigation : Supply of labour,T&Pand other necessary arrangements for Soil investigation/testing of the Switchyard,control Room, Quarters area etc.as per the site requirement,Technical specification & instruction of Engineer-in-Charge. | per location | 4
1.18 | Cutting, Filling and Leveling of Sub-station area including supply of labour and T&P | lot
1.19 | LEVELLING OF S/S AREA:Providing, neatly dressing up and levelling of substation area including switchyard area to a required level as decided by the Engineer in Charge, the work includes removal, | lot
1.2 | Excavation for OPEN CAST foundation and back filling of columns,Equipmentsfoundations, including supply of all labours,T&P,and materials and as per the direction of the Engineer-in-Charge. | Lot
1.21 | OPEN CAST/SHALLOW FOUNDATION CONCRETE WORKS
1.21.1 | Foundations : Design, engineering, supply of all labour, material and construction(open cast foundation) of PCC, RCC footings of any depth, pedestal including the cost of soil investigation, concreting, cement, reinforcement steel, shuttering, grouting, underpinning and back filling of foundations etc complete for the switchyard gantry/ portal /column structures and equipment support as per the technical specification and | Lot
TOTAL Columns 6 and 7 tobe carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 5 - Grand Summary
Schedule No. | Title | Total 1
|  | Foreign | Local
1 | Plant and Mandatory Spare Parts Supplied from Abroad
2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
3 | Design Services
4 | Installation and Other Services
GRAND TOTAL to be carried forward to Letter of Bid